REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No:	22-G001-21

Specification

Background

Radiology is the medical discipline that uses medical imaging to diagnose diseases within human bodies. These imaging modalities includes Radiography (X-ray), Ultrasound Scan and Computed Tomography (CT) Scan.

Imaging consumables and accessories are vital component for optimal diagnosis, patient care and infection control.

Requirements

- The products must comply to the descriptions of the goods on the list

- If the specified product on the list is unavailable, the supplier is obliged to offer an identical product with label and description.

Installation services

None

Delivery Time

12-18 weeks (after Contract start date) by CIF Sea Freight to Kiribati

Description of the Goods

Here, list all items to be Tendered

(This part may be replaced by a proprietary Supplier description)

| Pos. | Description | Manufacturer | Quantity | Shelf life | Price (to be Tendered) |
| --- | --- | --- | --- | --- | --- |
| 1 | Aquasonic 100 Ultrasound Transmission Gel 5L - A coupling medium used for ultrasound scan |  | 80 Pails |  |  |
| 2 | Aquasonic 100 Ultrasound Transmission Gel (sterile) – A coupling medium used for ultrasound scan |  | 500 pkts |  |  |
| 3 | Sony UPP 110 HD Original 110 x 20 - A thermo printing paper for Ultrasound scan images. |  | 100 rolls |  |  |
| 4 | Sono Healthcare 50 Count Ultrasound Wipes (12/Case) – For infection control |  | 12 Cases |  |  |
| 5 | X-Opaque HD Barium Meal 300G – A Contrast Medium (dye) for x-raying Upper Digestive System |  | 60 Jars |  |  |
| 6 | Liquibar Pre-Filled Enema Bag 500ml – A Contrast Medium (dye) for x-raying Lower Digestive System |  | 48 bags |  |  |
| 7 | Omnipaque 300mg/ml 100 ml GE Healthcare- A Contrast Medium (dye) for x-raying hollow organs and blood vessels. |  | 720 Vials |  |  |
| 8 | X-ray Large Coated Positioning Sets - 8 pieces of large coated sponges for positioning support |  | 4 sets |  |  |
| 9 | Comfortwear Apron: X-ray Lightweight Lead Aprons Size: M /0.50 Pb - For radiation protection |  | 3 sets |  |  |
| 10 | Mobile Multiple Lead Apron Hanger - Storage Hanger for Radiation Lead Apron |  | 1 piece |  |  |
| 11 | Microshield Angle Blue Antimicrobial Hand Gel 500ml - For Infection Control |  | 120 Btls |  |  |
| 12 | Tuffie 5 Hospital Grade Disinfectant Wipe - For Infection Control |  | 52 Tubs |  |  |