REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No:	16-G006-21

Specification

Background

The Ministry of Environment, Land and Agricultural Development wish to seek quotes from potential suppliers of solar power components for setting up a solar power system for the outpost station in Kiritimati island.

The solar power components will be delivered to Kiritimati Island, and installed at the outpost. The system will provide efficient electricity for the tools and electrical appliances required at the outpost. The list of such tools and electric appliances are listed below including the design drawing of the outpost.  The supplier will be able to deliver the solar components and setup and install the system along with 2 street solar lights and a solar pump for the toilet and water requirements.

The Government of Kiribati, with support from the European Union and the ACP states through the BIOPAMA programme, is funding the project to strengthen the security and patrolling of the 6 land and 3 islets Protected Areas in Kiritimati Island

Requirements

The Supplier should be able to design the solar system, deliver and install the required solar components that will be able to deliver solar power to run electrical tools and hardware required at the outpost, refer to the list of appliances below.

The list of other tender requirements can be found in the instructions template on how to submit your tender.

Installation services

Supplying and installation of the solar components and system at the Outpost in Kiritimati

Delivery Time

July

Description of the Goods

Design Drawing of the outpost station

Below is the list of tools and electrical appliances required in the outpost. The tenderer will show the list(s) and quotes of all necessary system components required to set up the solar power system that will be able to produce efficient electricity to power and support usage of the tools and electrical appliances as listed. The design and components list needs checking and compliance approved by the Ministry for Infrastructure and Sustainable Energy prior submission.

| Appliances | Number |
| --- | --- |
| - VHF Radio Base | 1 |
| - Light | 3 |
| - Table fan | 2 |
| - Desktop computer and laptop | 1 |
| - Electric kettle | 1 |
| - High-power rechargeable Search lights | 2 |
| - Solar pump | 1 |
| - power points for appliances | 3 |
| - Solar streetlights plus installation components | 2 |