REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No:	22-G002-21

Specification

Background

Dental service is one of the highly needed hospital services from the public in Kiribati. All hospitals (TCH, Betio, Southern Kiribati Hospital and Ronton Hospital) in Kiribati are equipped with dental facilities to deliver this service. However, most of these dental facilities are not well equipped to effectively and safely deliver all the dental services when needed.

The followings are the dental services that are currently delivered in the different facilities due to the limited equipment:

- TCH – Dental extraction, filing, minor surgical cases, scaling, prosthetic and endodontics.

- RH – Dental extraction and filling only

- Betio Hospital – Same as TCH except no prosthetic and scaling

- SKH – None, hence most dental cases are referred to TCH.

From the above, the dental services are therefore very limited due to unavailability of proper equipment.

In addition, the dental unit within TCH is also not equipped with equipment for complicated surgical cases and facial fractures. Currently, the dentists are still using old methods when it comes to cases like these. This had poor outcome treatment and therefore the need to have equipment for open reduction and internal fixation (ORIF) for mandibular fracture

The procurement of the 5 dental chairs, 1 Paranomic x-ray (OPG) & 1 ORIF sets will ensure that the dentists and their teams are well equipped in order to deliver a safe and quality dental services to the public. Hence, eliminating ongoing complains from public in relate to poor treatment outcome as well as long waiting hours when requiring dental care. Also, well equipping dental facilities in the district hospital will assist the MHMS in minimizing unnecessary referral dental cases to Tarawa.

Requirements

All supporting documentation must be in English.

All quoted equipment should comply with AS/NZ 3551 or IEC 601,1 standards.

All quoted equipment should be able to operate with a 240 V, 50 Hz ±15%

Minimum acceptable warranty is 1 year.

Manuals should be provided: 2 Operator’s manual & 1 Service manual.

User’s training to be conducted, either onsite or virtually.

Technical training on operating principles of equipment as well as common maintenance procedures & basic fault-finding to be provided, either onsite or virtually.

Installation services

To be conducted onsite by supplier’s technician.

Under special circumstances (for instance, worldwide lockdown), installation can be conducted by Local Biomed technicians while under close remote guidance of supplier’s technicians.

Delivery Time

All items shall be delivered in a month’s time after contract launches.

Description of the Goods

Here, list all items to be Tendered

(This part may be replaced by a proprietary Supplier description)

| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- | --- |
| 1 | Dental chair - Dental chairs should have complete dental care delivery system designed for use with external compressed air system, water supply and drainage. - 4 air compressors (for each hospital) should also be included in the quotation. - Stool for dentist and assistant should be included. - Each chair should have spare hand pieces with tips - Dental chair should have dental light and dental suction | 5 |  |  |
| 2 | Panaromic x-ray (OPG) & Dental radiography - Designed for wide view x-ray of the lower face | 1 |  |  |
| 3 | - Open reduction & Internal Fixation sets - For complicated and facial fractures - Should come in a complete set (storage & sterilisation, instrumentation, twist drills, plates and screws) as per tables below: Storage & Sterilisation QTY; Description. 1; Universal container half size. 1; Mandible instrument tray. 1; Accessory tray. 1; Mandible fixation module. 1; Plate inlay for mandible fixation module. Instrumentation QTY; Description. 2; Screwdriver handle ratchet. 2; Screwdriver baldes 2.0/2.3. 1; Plate bender/cutter left. 1; Trocar with its handle and cannula. 1; Check retractor. 1; Drill guide 2.0/2.3. 1; Depth gauge. 1; Plate and screw forcep. Twist drills QTY; Description. 6; Twist drill 7mm W/L. 6; Twist drill 1.6 x 115 35 mm W/L. 2; Twist drill 1.6 x 85 35 mm W/L. 6; Twist drill 1.9 x 115 35 mm W/L. 1; Twist drill 1.9 x 115 35 mm W/L. Mini fracture plates 2.0mm QTY; Description. 20; Mini plate 4 hole full extended. 20; Mini plate 4 hole standard. 20; Mini plate 4 hole half extended. 10; Mini plate 6 hole standard. 10; Mini plate 6 hole extended. 6; Mini plate 16 hole standard. Mini fracture plates 2.3mm QTY; Description. 20; Fracture plate 4 hole. 20; Fracture plate 4 hole extended. 20; Fracture plate 14 hole. 10; Fracture plate 6 hole extended. 10; Fracture plate 6 hole curved. Screws 2.0 mm self Tapping/ Locking QTY; Description. 20; 2 x 5mm Bone screw. 20; 2 x 7mm Bone screw. 20; 2 x 8mm Bone screw. 20; 2 x 5mm Locking screw. 20; 2 x 7mm Locking screw. 20; 2 x 8mm Locking screw. Screws 2.3 mm self Tapping/ Locking QTY; Description. 20; 2.3 x 6mm Bone screw. 20; 2.3 x 8mm Bone screw. 10; 2.3 x 10mm Bone screw. 20; 2.3 x 6mm Locking screw. 20; 2.3 x 8mm Locking screw. 10; 2.3 x 10mm Locking screw. Screws 2.7 mm Emergency Screws QTY; Description. 5; 2.7 x 5mm Emergency Bone screw. 5; 2.7 x 8mm Emergency Bone screw. 2; 2.7 x 10mm Emergency Bone screw. 5; 2.7 x 5mm Emergency Locking screw. 5; 2.7 x 8mm Emergency Locking screw. 2; 2.7 x 10mm Emergency Locking screw. | 1 |  |  |