REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD SERVICES

Procurement No:	22-ss001-21

## Specification

### Background

Cooling systems are essential in health care services. Most facilities are equipped with air condition units to provide suitable environment for medications as well as providing proper ventilated environment for healthcare workers, especially in facilities that were designed to be closed areas (Operation theatre, Laboratory, Dental etc) for privacy of patients and to comply with regulations related to health care services.

Currently, there are 128 air condition units in TCH, MHMS. There are 63 out of all air condition units that are operated 24/7 and the remaining units are only operated during normal working hours. Maintenance and repair of these air conditions are very important to ensure that secondary issues that might arise from the non-functional of these aircons are prevented.

In addition, all wards in TCH are equipped with refrigerators for storing medications and other necessities that require cooling. Maintenance and repair of these are also very important to ensure that the quality of the stored items is well maintained.

### Requirements

Tenders should meet the requirements specified in Template No 2 (Instructions on how to submit quotations) of this tender.

### Delivery Time

<insert requested delivery time, if general, otherwise in the table below>

Maintenance service for cooling systems operated 24/7 to be scheduled every 3 months while the rest to be scheduled every 6 months.

## Description of the Services to be provided

Here, list all items to be Tendered

(This part may be replaced by a proprietary Service Provider description)

| Pos. | Description | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |