REQUEST FOR PROPOSAL
SPECIFICATION OF WORKS

Procurement No:	21-W001-21

## Specification

### Background

The Coastal Fisheries Division under the Ministry of Fisheries and Marine Resources Development established a new unit namely the Monitoring Control Surveillance and Enforcement Unit, and are planning to allocate them in to an office of their own. The proposed office in this project is the Old pearl building located within the compound of the Agriculture Tanaea Tarawa. Thus, the objective is to refurbish and renovate the building to suite and meet the required building standards/code.

### Requirements

All supporting documentation must be in English. The following supporting documents are required to be submitted in complete. Failure to provide will result in disqualifying the Tenderer.

Kindly note that the list of requirements can be found in the Instructions on how to submit a proposal, pg. 5.

### Related services

<insert related services>

### Project Time & Final Delivery

Based on the contractor

## Description of the Works

Here, list all items to be Tendered

(This part may be replaced by a Procuring Entity or proprietary Contractor description)

| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- | --- |
| 1 | ROOF • Remove defect truss from varander with webs and take down galv post 5nos • Remove fascia board & eave lining 1. Allow 100mm dia pipe with brackets 2. Replace fascia board (200x20mm timber) & eave lining (9mm mesonite) 3. Clean up roofing 4. Replace truss (a) from varander 1no (confirm onsite) |  |  |  |
| 2 | CEILING • Remove roofing sheets 6 sht • Remove all ceiling fan • Remove all fluorescent light & pendant light 1. Replace ceiling fan, fluorescent light and pendant light (follow the electrical plan) 2. Repainting all ceiling sheet |  |  |  |
| 3 | DOOR & WINDOW • Take down all window frames with louvers & glasses • Remove double door 1600x1900mm -: Repainting all window frames -: Install new double door -: Repainting all doors plus door frame |  |  |  |
| 4 | WALL Clean up walls & floor |  |  |  |
|  | FLOOR - Polish to ceramic tile 1no - Fix missing tile 1no |  |  |  |
|  | PLUMBING - Allow wash hand basin 2nos - Allow shower complete 1no - Allow W.C pan complete 1no |  |  |  |
|  | ELECTRICAL See electrical plan |  |  |  |
|  | FENCING See fencing plan |  |  |  |

## Tenderer’s References

### Relevant similar deliveries carried out in the last five years

Please, provide information on each delivery for which your firm/entity, either individually as a corporate entity or as one of the major companies within an association, was legally contracted.

| Works delivered | Reference | Contact details | Value |
| --- | --- | --- | --- |