REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No:	18-G003-21

## Specification

### Background

The Tab-South Island VCO Factory is one of the approved EIF-funded project activities in the 2021 Annual Work Plan which forms part of Activity 2.1.1 (Construction of processing centre and procurement of equipment to facilitate value addition in selected outer islands).  This activity is expected to complete at end of 2021 after which it will be officially opened by the Honourable Minister of MCIC.

VCO stands for Virgin Coconut Oil and it is oil extracted from coconut cream.  Downstream products are by-products made from VCO, for example, pig feed, soaps, body lotion, scented oil / perfume, coconut vinegar, charcoal powder and so on.

The factory will be built on Tab-South Island and will be operated and managed by at least two female VCO champions who will be recruited soon and who will undergo a 1-month training attachment with the Butaritari Virgin Coconut Oil in Butaritari Island, Kiribati, sometime in July or August 2021.

### Requirements

All supporting documentation must be in English.

Note that the list of requirements can be found in the Instructions on How to Submit a Quotation template, page 5.

### Installation services

The tenderer may bid for supply only if applying for goods only. Another tender regarding the construction of this factory consists of Build and supply.

### Delivery Time

If tenderer is applying for materials only, then the delivery of goods must complete before the construction begins. Note that the project of VCO factory must complete before end of November.

## Description of the Goods

Here, list all items to be Tendered

(This part may be replaced by a proprietary Supplier description)

| OUTER ISLAND VCO - BILL OF QUANTITIES |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule of Materials By Trade |  |  |  |  |  |
| 1.0 | Concrete Work |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 1.1 | Portland cement 40kg | bag | 164 |  |  |
| 1.2 | Sand | m3 | 9 |  |  |
| 1.3 | Aggregate | m3 | 18 |  |  |
|  |  |  |  |  | $ - |
| 2.0 | Formwork |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 2.1 | Formply 16mm x 2.4m x 1.2m | sheet | 9 |  |  |
| 2.2 | Nail galvanized 50mm jolthead | kg | 6 |  |  |
| 2.3 | Timber pine H3 treated 50x50x6m | length | 33 |  |  |
| 2.4 | Nail galvanized 100mm jolthead | kg | 5 |  |  |
|  |  |  |  |  | $ - |
| 3.0 | Damp-Proofing |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 3.1 | Polythene 0.9m wide x 60m | roll | 2 |  |  |
| 3.2 | Masking tape 50mm roll | roll | 5 |  |  |
|  |  |  |  |  | $ - |
| 4.0 | Reinforcing Steel |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 4.1 | D10 dia bar x 6m | length | 146 |  |  |
| 4.2 | D6 dia bar x 6m | length | 44 |  |  |
| 4.3 | Binding wire 5kg roll | kg | 7 |  |  |
| 4.4 | D12 dia bar x 6m | length | 10 |  |  |
| 4.5 | SL102 mesh wire 5m x 2m | sheet | 10 |  |  |
|  |  |  |  |  | $ - |
| 5.0 | Blockwork |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 5.1 | Concrete block 390x190x140mm | no | 2,222 |  |  |
| 5.2 | Portland cement 40kg | bag | 39 |  |  |
| 5.3 | Sand | m3 | 6 |  |  |
| 5.4 | Plasmor | ltr | 5 |  |  |
| 5.5 | Aggregate | m3 | 2 |  |  |
|  |  |  |  |  | $ - |
| 6.0 | Door Work |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 6.1 | Timber pine H3 treated 150x50x6m | length | 5 |  |  |
| 6.2 | Nail galvanized 100mm jolthead | kg | 9 |  |  |
| 6.3 | Timber dakua makadre 100x50x6m | length | 18 |  |  |
| 6.4 | Timber pine H3 treated 100x50x6m | length | 8 |  |  |
| 6.5 | Timber pine H3 treated 20x20x6m | length | 22 |  |  |
| 6.6 | Nail galvanized 50mm jolthead | kg | 6 |  |  |
| 6.7 | Exterior plywood 9.5mm 2.4mx1.2m | sheet | 4 |  |  |
| 6.8 | Butt hinges brass 100mm | pair | 9 |  |  |
| 6.9 | Security entrance lockset 54mm | no | 8 |  |  |
| 6.10 | Pad bolt 100mm galvanized | no | 2 |  |  |
| 6.11 | Pad bolt 150mm galvanized | no | 1 |  |  |
|  |  |  |  |  | $ - |
| 7.0 | Window Work |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 7.1 | Timber pine H3 treated 100x50x6m | length | 24 |  |  |
| 7.2 | Nail galvanized 100mm jolthead | kg | 6 |  |  |
| 7.3 | Concrete nail 100mm | kg | 5 |  |  |
| 7.4 | Timber pine H3 treated 20x20x6m | length | 10 |  |  |
| 7.5 | Nail galvanized 50mm jolthead | kg | 3 |  |  |
| 7.6 | Louvre frame 8-blade aluminium powdered | pair | 36 |  |  |
| 7.7 | Louvre frame 6-blade aluminium powdered | pair | 5 |  |  |
| 7.8 | Louvre glass 152mm x 610mm | no | 318 |  |  |
|  |  |  |  |  | $ - |
| 8.0 | Carpentry |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 8.1 | Timber pine H3 treated 100x50x6m | length | 16 |  |  |
| 8.2 | Nail galvanized 75mm jolthead | kg | 1 |  |  |
| 8.3 | Concrete nail 100mm | kg | 1 |  |  |
| 8.4 | M12x150mm bolt & nut with washer | no | 72 |  |  |
|  |  |  |  |  | $ - |
| 9.0 | Roof Framing |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 9.1 | Timber pine H3 treated 100x50x6m | length | 46 |  |  |
| 9.2 | Nail galvanized 100mm jolthead | kg | 5 |  |  |
| 9.3 | Exterior plywood 12mm 2.4mx1.2m | sheet | 5 |  |  |
| 9.4 | Nail galvanized 50mm flathead | kg | 10 |  |  |
| 9.5 | Timber pine H3 treated 75x50x6m | length | 30 |  |  |
| 9.6 | Timber pine H3 treated 200x25x6m | length | 9 |  |  |
| 9.7 | Nail galvanized 75mm jolthead | kg | 4 |  |  |
| 9.8 | Timber pine H3 treated 50x50x6m | length | 17 |  |  |
| 9.9 | Punched strap galv 25mmx1mmx10m | roll | 10 |  |  |
|  |  |  |  |  | $ - |
| 10.0 | Roof Covering |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 10.1 | Roofing sheet zincalume 10ft (3.05m) | sheet | 32 |  |  |
| 10.2 | Roofing sheet zincalume 9ft (2.74m) | sheet | 32 |  |  |
| 10.3 | Roofing nail 65mm with washer | kg | 20 |  |  |
| 10.4 | Ridge cap zincalume 2.4m length | length | 6 |  |  |
| 10.5 | Boxed gutter zincalume 2.4m length | length | 11 |  |  |
| 10.6 | Pop rivet 1/8"x5/16" x 50 pcs | pkt | 30 |  |  |
| 10.7 | Sisalation foil 1.2mx40m roll | roll | 3 |  |  |
| 10.8 | Nail panel pin 25mm flathead | kg | 3 |  |  |
| 10.9 | Punched strap galv 25mmx1mmx10m | roll | 3 |  |  |
| 10.10 | Nail galvanized 50mm flathead | kg | 4 |  |  |
|  |  |  |  |  | $ - |
| 11.0 | Ceiling Work |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 11.1 | Timber pine H3 treated 50x50x6m | length | 62 |  |  |
| 11.2 | Nail galvanized 100mm jolthead | kg | 15 |  |  |
| 11.3 | Nail galvanized 75mm jolthead | kg | 10 |  |  |
| 11.4 | Hardboard 5mm 2.4mx1.2m | sheet | 36 |  |  |
| 11.5 | Nail panel pin 25mm flathead | kg | 15 |  |  |
| 11.6 | Timber pine H3 treated 20x20x6m | length | 20 |  |  |
| 11.7 | Nail galvanized 50mm jolthead | kg | 10 |  |  |
| 11.8 | Timber pine H3 treated 70x20x6m | length | 35 |  |  |
|  |  |  |  |  | $ - |
| 12.0 | Tiling Work |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 12.1 | Vinyl tile 300x300x1mm x 45pcs | box | 15 |  |  |
| 12.2 | Vinyl tile adhesive 4ltr | tin | 10 |  |  |
| 12.3 | Mosaic tile 300x300x6mm x 11pcs | box | 4 |  |  |
| 12.4 | Ceramic tile adhesive CTF 20kg | bag | 5 |  |  |
| 12.5 | Ceramic tile 300x300x6mm x 17pcs | box | 8 |  |  |
| 12.6 | Tile grout white 5kg | pkt | 3 |  |  |
|  |  |  |  |  | $ - |
| 13.0 | Painting |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 13.1 | Pink primer 4ltr | tin | 4 |  |  |
| 13.2 | Undercoat white 4ltr | tin | 12 |  |  |
| 13.3 | Alkyd undercoat white 4ltr | tin | 13 |  |  |
| 13.4 | Alkyd gloss white 4ltr | tin | 13 |  |  |
| 13.5 | Gloss enamel white 4ltr | tin | 8 |  |  |
| 13.6 | Gloss enamel blue 4ltr | tin | 4 |  |  |
| 13.7 | Gloss enamel brown 4ltr | tin | 2 |  |  |
| 13.8 | Paint brush 100mm | no | 5 |  |  |
| 13.9 | Paint brush 75mm | no | 5 |  |  |
| 13.10 | Paint brush 50mm | no | 5 |  |  |
| 13.11 | Roller brush set 250mm | set | 3 |  |  |
| 13.12 | Roller sleeve 250mm | no | 10 |  |  |
| 13.13 | Rioller brush mouse set 100mm | set | 3 |  |  |
| 13.14 | Roller sleeve 100mm | no | 10 |  |  |
| 13.15 | Sandpaper P100 grit | m | 10 |  |  |
| 13.16 | Sandpaper P150 grit | m | 10 |  |  |
|  |  |  |  |  | $ - |
| 14.0 | Electrical |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 14.1 | Consumer board 9-module | no | 1 |  |  |
| 14.2 | Circuit breaker 32A | no | 1 |  |  |
| 14.3 | Circuit breaker 20A | no | 1 |  |  |
| 14.4 | Circuit breaker 16A | no | 2 |  |  |
| 14.5 | Circuit breaker 10A | no | 2 |  |  |
| 14.6 | Circuit breaker 6A | no | 3 |  |  |
| 14.7 | Electrical cable 6.0mm2 | m | 20 |  |  |
| 14.8 | Electrical cable 2.5mm2 | m | 100 |  |  |
| 14.9 | Electrical cable 1.5mm2 | m | 150 |  |  |
| 14.10 | Earth cable 6.0mm2 | m | 10 |  |  |
| 14.11 | Pipe glavanized 15mmx6m | length | 1 |  |  |
| 14.12 | Hose clip 25mm | no | 1 |  |  |
| 14.13 | Conduit pipe 32mm x 4.0m | length | 1 |  |  |
| 14.14 | Conduit pipe 25mm x 4.0m | length | 3 |  |  |
| 14.15 | Cable clip 1.5mm2 x 100pcs | pkt | 2 |  |  |
| 14.16 | Cable clip 2.5mm2 x 100pcs | pkt | 2 |  |  |
| 14.17 | Batten lampholder | no | 5 |  |  |
| 14.18 | Bulb LED 23W | no | 5 |  |  |
| 14.19 | Fluorescent light 600mm | no | 10 |  |  |
| 14.20 | Fluorescent tube 600mm | no | 10 |  |  |
| 14.21 | Switch single Universal | no | 15 |  |  |
| 14.22 | Power point double socket | no | 8 |  |  |
| 14.23 | Mounting block Universal | no | 23 |  |  |
| 14.24 | Junction box | no | 6 |  |  |
| 14.25 | Insulating tape red | roll | 2 |  |  |
| 14.26 | Insulating tape black | roll | 2 |  |  |
| 14.27 | Insulating tape green | roll | 2 |  |  |
|  |  |  |  |  | $ - |
| 15.0 | Plumbing |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 15.1 | WC pan P-trap | no | 1 |  |  |
| 15.2 | Toilet cistern 11ltr | no | 1 |  |  |
| 15.3 | Pan seat plastic with cover | no | 1 |  |  |
| 15.4 | Pan connector 100mm | no | 1 |  |  |
| 15.5 | Square junction 100mmx88° | no | 5 |  |  |
| 15.6 | Stainless steel basin 1200x500 | no | 1 |  |  |
| 15.7 | Handbasin ceramic 500x400 | no | 1 |  |  |
| 15.8 | PVC bend 100mmx88° | no | 10 |  |  |
| 15.9 | PVC pipe 100mmx5.8m waste | length | 10 |  |  |
| 15.10 | PVC pipe 40mmx5.8m waste | length | 6 |  |  |
| 15.11 | PVC pipe 25mmx5.8m pressure | length | 2 |  |  |
| 15.12 | PVC pipe 15mmx5.8m pressure | length | 15 |  |  |
| 15.13 | PVC bend 40mmx88° | no | 7 |  |  |
| 15.14 | PVC plain elbow 25mmx90° | no | 5 |  |  |
| 15.15 | PVC plain elbow 15mmx90° | no | 25 |  |  |
| 15.16 | PVC plain tee 40mmx88° waste | no | 4 |  |  |
| 15.17 | PVC plain tee 25mmx90° | no | 4 |  |  |
| 15.18 | PVC plain tee 15mmx90° | no | 6 |  |  |
| 15.19 | Stop valve 15mm brass | no | 6 |  |  |
| 15.20 | PVC male adaptor 15mm | no | 12 |  |  |
| 15.21 | Bib tap brass 15mm | no | 5 |  |  |
| 15.22 | PVC female adaptor 15mm | no | 10 |  |  |
| 15.23 | PVC barrel union 15mm | no | 6 |  |  |
| 15.24 | PVC barrel union 25mm | no | 1 |  |  |
| 15.25 | Solvent cement 500ml | tin | 12 |  |  |
| 15.26 | PVC end cap 15mm | no | 4 |  |  |
| 15.27 | PVC pipe clip 15mm | no | 30 |  |  |
| 15.28 | PVC pipe clip 25mm | no | 5 |  |  |
| 15.29 | PVC pipe clip 40mm | no | 5 |  |  |
| 15.30 | PVC saddle 32mm | no | 4 |  |  |
| 15.31 | Floor grate 50mm | no | 1 |  |  |
| 15.32 | PVC S&P-trap 40mm | no | 4 |  |  |
| 15.33 | Thread seal tape | roll | 20 |  |  |
| 15.34 | Brass screw 25mmx8gauge | no | 60 |  |  |
|  |  |  |  |  | $ - |
| 16.0 | Toilet Block |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 16.1 | Portland cement 40kg | bag | 30 |  |  |
| 16.2 | Sand | m3 | 2 |  |  |
| 16.3 | Aggregate | m3 | 3 |  |  |
| 16.4 | Concrete block 390x190x140mm | no | 229 |  |  |
| 16.5 | Plasmor | ltr | 1 |  |  |
| 16.6 | Timber dakua 100x50x6m | length | 2 |  |  |
| 16.7 | Nail galvanized 100mm jolthead | kg | 1 |  |  |
| 16.8 | Timber pine 20x20x6m | length | 2 |  |  |
| 16.9 | Nail galvanized 50mm jolthead | kg | 1 |  |  |
| 16.10 | Exterior plywood 9.5mm 2.4mx1.2m | sheet | 1 |  |  |
| 16.11 | Butt hinges brass 100mm | pair | 1 |  |  |
| 16.12 | Security entrance lockset 54mm | no | 1 |  |  |
| 16.13 | Louvre frame 4-blade aluminium powdered | pair | 2 |  |  |
| 16.14 | Louvre glass clear 152mm x 610mm length | no | 8 |  |  |
| 16.15 | Polytank 1,000ltr | no | 1 |  |  |
| 16.16 | D12 dia bar x 6m | length | 5 |  |  |
| 16.17 | SL102 mesh wire 5m x 2m | sheet | 2 |  |  |
| 16.18 | D10 dia bar x 6m | length | 12 |  |  |
| 16.19 | Binding wire 5kg | roll | 1 |  |  |
|  |  |  |  |  | $ - |
| 17.0 | Tank Base |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 17.1 | Portland cement 40 kg | bag | 10 |  |  |
| 17.2 | Sand | m3 | 1 |  |  |
| 17.3 | Aggregate | m3 | 1 |  |  |
| 17.4 | Concrete block 390x190x140mm | no | 31 |  |  |
| 17.5 | Plasmor | m3 | 1 |  |  |
| 17.6 | Polytank 5,000ltr | no | 1 |  |  |
| 17.7 | SL102 mesh wire 5mx2m | sheet | 1 |  |  |
|  |  |  |  |  | $ - |
| 18.0 | Septic Tank |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 18.1 | Portland cement 40 kg | bag | 41 |  |  |
| 18.2 | Sand | m3 | 3 |  |  |
| 18.3 | Aggregate | m3 | 4 |  |  |
| 18.4 | Concrete block 390x190x190 | no | 459 |  |  |
| 18.5 | Plasmor | ltr | 1 |  |  |
| 18.6 | SL102 mesh wire 5mx2m | sheet | 2 |  |  |
| 18.7 | D10 dia bar x 6m | length | 6 |  |  |
| 18.8 | Binding wire 5kg | coil | 13 |  |  |
| 18.9 | D16 dia bar x 6m | length | 22 |  |  |
|  |  |  |  |  | $ - |
| 19.0 | Fencing |  |  |  |  |
|  |  | Unit | Quantity | U/Price | Total |
| 19.1 | Portland cement 40 kg | bag | 21 |  |  |
| 19.2 | Sand | m3 | 2 |  |  |
| 19.3 | Aggregate | m3 | 3 |  |  |
| 19.4 | Pipe galvanized 50mm diax6m | length | 15 |  |  |
| 19.5 | Straining wire 4.5mm dia x 100m | coil | 3 |  |  |
| 19.6 | Tie wire galvanized 5kg | coil | 9 |  |  |
| 19.7 | Barbed wire galvanized | coil | 2 |  |  |
| 19.8 | Chain-link wire galvanized 1.2m high | roll | 7 |  |  |
| 19.9 | PVC end cap 50mm | no | 26 |  |  |
| 19.10 | Gate 2.0m wide x 1.2m high | item | 2 |  |  |
| 19.11 | Gate 1.5m wide x 1.2m high | item | 2 |  |  |
| 19.12 | Welding of posts, braces and hinges. | item | 1 |  |  |
|  |  |  |  |  | $ - |
|  | TOTAL MATERIAL COST |  |  |  | $ - |