REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No:	46-G004-21

## Specification

### Background

The objective of the Project is to make sure that Fire Pump is ready for the time of emergency and for the safety of KOIL employees and people of Kiribati

### Requirements

All supporting documentation must be in English.

### Installation services

N/A

### Delivery Time

44 days including Quarantine period but this would be subject to the realistic time schedule proposal provided by Tenderers

## Description of the Goods

| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- | --- |
| 1 | PORTABLE MARINE FIRE PUMP - Specifications ENGINE SPECIFICATIONS • Liquid cooled engine • 3-cylinder, 4-stroke diesel engine • Electric start • 6 gallon (22 l) detachable fuel tank PUMP UNIT SPECIFICATIONS • Single stage centrifugal pump • Pump body made from high resistance aluminum alloy • Bronze (or other non-corrosive metals) impellers • Mechanical shaft seal • Stainless steel pump shaft • Electric priming system, guaranteed up to 20’ (6 meter) lift • One 1 1⁄2" (38mm) delivery outlet with Fire Type swing-out valve • One 2 1⁄2" (65mm) suction inlet • Dimensions: At least Length: 32” (813 mm); Width: 24 (610 mm); Height: 27” (686 mm). • Weight: At least 320 lbs (145 kg) CONTROL PANEL • Engine start/stop button • Throttle control lever • Operating panel light • Pilot lights • Pressure gauge DELIVERY AND SUCTION HOSES - Delivery hoses supplied with at least 5x30m length - Suction Hose of 6m length | 1 |  |  |