REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No:	46-G015-21

## Specification

### Background

Procurement of 6 300L, 6 2000L and 8 200L

### Requirements

All supporting documentation must be in English.

### Installation services

### Delivery Time

1 month after signing of agreement

## Description of the Goods

Here, list all items to be Tendered

| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- | --- |
| 1 | Portable Mini Fuel Station For 1 product 1 x Tank 2000 L 1 x Mini Dispenser 1 x Tank Gauging System 1 x Solar Panel 1 x Hand Crank Pump Power: AC 220V Flow rate: 45 LPM Size:2270*1100*1230mm | 6 |  |  |
| 2 | Portable Mini Fuel Station For 1 product 1 x Tank 3000 L 1 x Mini Dispenser 1 x Tank Gauging System 1 x Solar Panel 1 x Hand Crank Pump Power: AC 220V Flow rate: 45 L/P Size:2250*1540*1230mm | 6 |  |  |
| 3 | 200L DRUM FUEL DISPENSER RT-MY111 1 x 200 L Drum 1 x Transfer Pump EX approved 1 x Tatsuno type Flow meter, FM4 (4F) 1 x OPW type nozzle 11A, 3/4" NPT, outlet: 13/16" 1 x Rubber hose, black color, length:4.5 M with coupling 1 x Solenoid valve 1 x Electronic controller LT-Bpro111,with RS485 protocol tatsuno type(Tatsuno) 1 x Preset keyboard C2, white color 1 x Display board Power supply: 220V, 60hz Package: Standare Export caton | 8 |  |  |