## Dublex unit BOQ (hidden)
KIRIBATI HOUSING CORPORATION |  |  |  |  | BILL OF QUANTITY
DEVELOPMENT DEPARTMENT
Ref: | UHPII | Project No: |  |  | 200211
Prepared: |  | Issue Date: |  |  | 2021-04-25
Checked: |  | Issue Status: |  |  | REVISED FINAL
REF |  | QTY | UOM | U/PRICE | TOTAL
1 | GENERAL REQUIREMENTS
1.01 | Allow for heavy plants and equipments |  | PS |  | 0
1.02 | Allow for basic tools |  | PC |  | 0
1.03 | Allow for OHS requirements |  | PS |  | 0
1.04 | Allow for permits |  | PC |  | 0
1.05 | Allow for site security services |  | PS |  | 0
2 | PRELIMINARIES
2.01 | Allow for LMD surveys |  | PS |  | 0
2.02 | Allow for site hoarding and access |  | PS |  | 0
2.03 | Allow for temporary services |  | PS |  | 0
2.04 | Allow for site clearance |  | PS |  | 0
2.05
2.06 | Allow for the Provision of signboards, together with details of signwriting and installation |  | item |  | 0
2.07
2.08 | Allow for temporary site shed during the course of construction works |  | item |  | 0
2.09
2.1 | Temporary services, construction water and power |  | item |  | 0
2.11 | Allow for the provision of water for the works and
2.12 | any necessary temporary plumbing and storage.
2.13
2.14 | Allow for the provision of temporary electric power, |  | item |  | 0
2.15 | including connections to main.
2.16
2.17 | Allow for setting out of the works and the provision |  | item |  | 0 |  | 1
2.18 | of all instruments required.
2.19
2.2 | Allow for the provision of scaffolding for exterior work |  | item |  | 0 |  | 1
2.21
2.22 | Allow for the provision of scaffolding for interior work |  | item |  | 0 |  | 1
2.23
2.24 | Allow for the protection of the works from weather or any other cause |  | item |  | 0 |  | 1
3 | BOUNDARY WORKS
3.01 | Fencing post at least every 3 metres |  | m |  |  |  | 0
3.02 | 50mm Galv. pipes in posts |  | Length(s) |  | 0 |  | 0
3.03 | 50mm Galv. pipes in bracings |  | Length(s) |  | 0 |  | 0
3.04 | Fence siding and straining |  | m |  |  |  | 0
3.05 | 3' Chainlink fencing |  | Rolls |  | 0 |  | 0
3.06 | 3mm Galv. Straining wire |  | Rolls |  | 0 |  | 0
3.07 | 25MPa Conc. in columns |  | m³ |  |  |  | 0
3.08 | 40kg Cement |  | Bags |  | 0 |  | 0
3.09 | Aggregate |  | m³ |  | 0 |  | 0
3.1 | Sand |  | m³ |  | 0 |  | 0
4 | FORMWORK
4.01 | Strutting in excavation wall supports | 800 | m |  |  |  | 100
4.02 | 50x50 Non-structural pine | 137.931 | Length(s) |  | 0 |  | 17.2414
4.03 | Siding in excavation wall supports | 320 | m² |  |  |  | 40
4.04 | 20mm Formply | 136 | Sheet |  | 0 |  | 17
4.05 | Profiling and general support | 312 | m |  |  |  | 39
4.06 | 50x50 Non-structural pine | 53.7931 | Length(s) |  | 0 |  | 6.7241
4.07 | 100x25 Non-structural pine | 22.069 | Length(s) |  | 0 |  | 2.7586
4.08 | Backfill to excavations
4.09 | Sand | 240 | m³ |  | 0 |  | 30
4.1 | Beam formwork | 168 | Sheet |  | 0 |  | 21
5 | CONCRETE WORK
5.01 | 25MPa Conc. in C1/P1 | 16 | m³ |  |  |  | 2
| 40kg Cement | 160 | Bags |  | 0 |  | 20
| Aggregate | 8 | m³ |  | 0 |  | 1
| Sand | 8 | m³ |  | 0 |  | 1
5.02 | 25MPa Conc. In SF1 | 136 | m³ |  |  |  | 17
| 40kg Cement | 1088 | Bags |  | 0 |  | 136
| Aggregate | 72.5333 | m³ |  | 0 |  | 9.0667
| Sand | 48.3556 | m³ |  | 0 |  | 6.0444
5.03 | 25MPa Conc. In SF2 | 0.8568 | m³ |  |  |  | 0.1071
| 40kg Cement | 6.8544 | Bags |  | 0 |  | 0.8568
| Aggregate | 0.73223 | m³ |  | 0 |  | 0.091528
| Sand | 0.6534 | m³ |  | 0 |  | 0.081675
5.04 | 25MPa Conc. in SF3 | 8.64 | m³ |  |  |  | 1.08
| 40kg Cement | 72 | Bags |  | 0 |  | 9
| Aggregate | 6.4 | m³ |  | 0 |  | 0.8
| Sand | 3.2 | m³ |  | 0 |  | 0.4
5.05 | 25MPa Conc. In Floor Slab | 119.808 | m³ |  |  |  | 14.976
| 40kg Cement | 958.464 | Bags |  | 0 |  | 119.808
| Aggregate | 85.1556 | m³ |  | 0 |  | 10.6444
| Sand | 42.6667 | m³ |  | 0 |  | 5.3333
5.06 | Cement-sand plaster in rendered brickwalls | 17.92 | m² |  |  |  | 2.24
| 40kg Cement | 157.696 | Bags |  | 0 |  | 19.712
| Sand | 6.16 | m³ |  | 0 |  | 0.77
5.07 | Damp-proofing membrane
| Gauge 75 Fortecon Sheet or equivalent 20m/ROLL | 80 | Rolls |  | 0 |  | 10
| Polyethene | 32 | Rolls |  | 0 |  | 4
5.08 | 25MPa Con. In Base and Floor of Tank Stand | 10.56 | m³ |  |  |  | 1.32
| 40kg Cement | 92.928 | Bags |  | 0 |  | 11.616
| Aggregate | 4.0679 | m³ |  | 0 |  | 0.50849
| Sand | 3.63 | m³ |  | 0 |  | 0.45375
6 | STEELWORKS
6.01 | ØD12mm reinforcing in 25MPa concrete | 15566.7 | m |  |  |  | 1945.8375
| ØD12mm reinforcing in 25MPa concrete | 2608 | Length |  | 0 |  | 326
6.02 | Ø10mm Stir up in 25MPa concrete | 11655.7714 | m |  |  |  | 1456.9714
| Ø10mm Stir up in 25MPa concrete | 1952 | Length(s) |  | 0 |  | 244
6.03 | Tie wire | 200 | Kg |  | 0 |  | 25
6.04 | WIRE MESH SL 72 ‐ 4.65mtr x 2.4mtr/sht | 104 | Sheets |  | 0 |  | 13
6.05 | 150mm Dia. H5 Treated Pine post | 42.4828 | Length |  | 0 |  | 5.3103
0
7 | BRICKWORK | 0
| 8" Main house brick work | 16800 | Nos |  | 0 |  | 2100
0
8 | TIMBERWORKS | 0
8.01 | 300x50 F7 Pine Timber Stringer | 32 | Lengths |  | 0 |  | 4
0
8.02 | DAS 250X50 F11 Heart Damanu Wall plate | 112 |  |  | 0 |  | 14
0
8.03 | RS 200x50 H3 Treated Pine timber Joist @400mm ctrs max | 376 | Length(s) |  | 0 |  | 47
0
8.04 | DAS 150x50 H3 Treated Pine timber | 480 | Length(s) |  | 0 |  | 60
0
8.05 | DAS 90X45 F7 Treated (H3) Pine timber | 1168 | Length(s) |  | 0 |  | 146
0
8.06 | RS 70x45 F7 Treated (H3) Pine timber | 348.9655 | Length(s) |  | 0 |  | 43.6207
0
8.07 | DAS 45x45 Dakua | 960 | Length(s) |  | 0 |  | 120
0
8.08 | DAS 195x20 F7 Treated (H3) Pine Timber | 159.3103 | Length(s) |  | 0 |  | 19.9138
0
8.09 | DAS 45x20 Dakua Timber | 720 | Length(s) |  | 0 |  | 90
0
9 | BOARDS | 0
9.01 | 6mm GIB Board 2.4mx1.220m | 400 | Sheets |  | 0 |  | 50
0
9.02 | 20mm High Density Compressed Fibre Cement Sheets | 312 | Sheets |  | 0 |  | 39
0
9.03 | 10mm High Density Compressed Fibre Cement sheets | 112 | Sheet |  | 0 |  | 14
0
9.04 | 12mm Ply board | 480 | Sheets |  | 0 |  | 60
0
9.05 | 9mm Ply board | 342.8333 | Sheets |  | 0 |  | 42.8542
0
9.06 | 8mm Ply board | 255.3333 | Sheet |  | 0 |  | 31.9167
0
9.07 | 4mm Ply board | 0 | Sheet |  | 0
|  | 0 |  |  |  | 90.5616
9.08 | Weather board 200mmx5.8m long | 800 | Length(s) |  | 0 | 1.015 | 100
0
10 | FLOOR WORKS | 0
10.01 | 300x300 Vinyl tile | 608 | Ctn |  | 0 |  | 76
0
10.02 | Tile O Fix | 160 | Tin |  | 0 |  | 20
0
10.03 | Polyurethane Clear 4L | 16 | Tin |  | 0 |  | 2
0
10.04 | Turbinetine 20L | 64 | Tin |  | 0 |  | 8
0
10.05 | 100mm Hand brush | 64 | Nos |  | 0 |  | 8
0
10.06 | 300x300 Quarry tile | 48 | Ctn |  | 0 |  | 6
0
10.07 | 150x150 Wall tile | 576 | Ctn |  | 0 |  | 72
0
10.08 | 20kg CTA | 320 | Bags |  | 0 |  | 40
0
10.09 | 20kg Grout (White) | 160 | Bags |  | 0 |  | 20
0
11 | HARDWARE | 0
11.01 | Cylinder door lock | 64 | Nos |  | 0 |  | 8
0
11.02 | Bright brass Lever lock with BiLock | 64 | Nos |  | 0 |  | 8
0
11.03 | 100mm Barrel bolt | 64 | Nos |  | 0 |  | 8
0
11.04 | 12 blades louver frame | 416 | Nos |  | 0 |  | 52
|  | 0 |  |  |  | 4992
11.05 | 36" Clear Glass | 9480 | Nos |  | 0 | 1600 | 1185
|  | 0 |  |  |  | 2560
11.06 | 10 blades louvre frame | 160 | Nos |  | 0 | 256 | 20
|  | 0 |  |  |  | 9408
11.07 | 8 blades louvre frame | 320 | Nos |  | 0 |  | 40
0
11.08 | 4 blades louvre frame | 64 | Nos |  | 0 |  | 8
0
11.09 | WIRE MESH GALVANISED 228 ‐ 2..4mtr x 1..2mtr/sht ‐ 4mm | 112 | Sheet |  | 0 |  | 14
| 0 | 0
12 | PAINT WORKS | 0
12.01 | Water based white Primer 4L | 208 | Tin |  | 0 |  | 26
12.02 | Water based Undercoat | 304 | Tin |  | 0 |  | 38
12.03 | Semi-gloss (16sq.mtr per liter) | 192 | Tin |  | 0 |  | 24
12.04 | Water based High-gloss | 240 | Tin |  | 0 |  | 30
12.05 | 75mm Hand brush | 160 | Nos |  | 0 |  | 20
12.06 | Corner brush | 160 | Nos |  | 0 |  | 20
12.07 | ROLLER KIT 4 PCS SET OLDFIELD KUPU‐KUPU 230mm [9"] | 160 | Nos |  | 0 |  | 20
12.08 | ROLLER SLEEVE ‐ NOOK & FABRIC 100mm [4"] CHINA mouse | 160 | Nos |  | 0 |  | 20
0
13 | PLUMBING WORKS | 0
13.01 | 9' Colourbond Corrugate iron roofing sheet | 440 | Sheet |  | 0 |  | 55
0
13.02 | WIRE NETTING HEX [CHICKEN] 2 x 2" x 6FT [72"] x 2 x 30 | 24 | Rolls |  | 0 |  | 3
0
13.03 | SISAL F‐STOP 1250mm x 40M (50m²) DOUBLE SIDE ROLL | 32 | Rolls |  | 0 |  | 4
0
13.04 | Colourbond Ridge cap 2.4mtr | 80 | Sheet |  | 0 |  | 10
0
13.05 | Colourbond Flashing 2.4mtr | 32 | Sheet |  | 0 |  | 4
0
13.06 | 2.4m Quad Gutter | 144 | Sheet |  | 0 |  | 18
0
13.07 | 1.2m Quad gutter bracket | 1040 | Nos |  | 0 |  | 130
0
13.08 | 100mm PVC pipe | 128 | Length(s) |  | 0 |  | 16
0
13.09 | 100mm PVC bend 45deg | 160 | Nos |  | 0 |  | 20
0
13.1 | 100mm PVC Inspection opening | 96 | Nos |  | 0 |  | 12
0
13.11 | PVCF DWV CLIP STANDARD PIPE 100mm [141.100] WASTE FITTING | 320 | Nos |  | 0 |  | 40
0
13.12 | 100mm PVC Elbow | 160 | Nos |  | 0 |  | 20
0
13.13 | 100mm PVC Gully trap | 32 | Nos |  | 0 |  | 4
0
13.14 | 100mm PVC Tee | 128 | Nos |  | 0 |  | 16
0
13.15 | 100mm PVC Pan collar | 16 | Nos |  | 0 |  | 2
0
13.16 | 100mm Y-junction | 64 | Nos |  | 0 |  | 8
0
13.17 | 100mm Floor grate | 16 | Nos |  | 0 |  | 2
0
13.18 | 100mm Vent cowl | 16 |  |  | 0 |  | 2
0
13.19 | 50mm PVC Pipe | 64 | Nos |  | 0 |  | 8
0
13.2 | 50mm PVC elbow | 128 | Nos |  | 0 |  | 16
0
13.21 | 50mm PVCF DWV Clip standard Pipe 50mm | 160 | Nos |  | 0 |  | 20
0
13.22 | 50mm PVC Tee | 160 | Nos |  | 0 |  | 20
0
13.23 | 100-50mm PVC reducer | 96 | Nos |  | 0 |  | 12
0
13.24 | 40mm S-trap | 80 | Nos |  | 0 |  | 10
0
13.25 | 40mm Plug and Waste | 64 | Nos |  | 0 |  | 8
0
13.26 | 40mm PVC Pipe | 32 | Nos |  | 0 |  | 4
0
13.27 | 20mm PVC pipe | 64 | Length(s) |  | 0 |  | 8
0
13.28 | 20mm PVC Plain elbow | 96 | Nos |  | 0 |  | 12
0
13.29 | 20mm PVC tee | 128 | Nos |  | 0 |  | 16
0
13.3 | 20mm Male adapter | 48 | Nos |  | 0 |  | 6
0
13.31 | 20mm Female adapter | 32 | Nos |  | 0 |  | 4
0
13.32 | 20mm-15mm Reducer | 32 | Nos |  | 0 |  | 4
0
13.33 | 20mm PVC Union | 32 | Nos |  | 0 |  | 4
0
13.34 | 20mm Ball valve | 48 | Nos |  | 0 |  | 6
0
13.35 | 20mm PVC clip | 160 | Nos |  | 0 |  | 20
0
13.36 | 15mm PVC Pipe | 128 | Nos |  | 0 |  | 16
0
13.37 | 15mm PVC elbow | 320 | Nos |  | 0 |  | 40
0
13.38 | 15mm PVC Male adaptor | 96 | Nos |  | 0 |  | 12
0
13.39 | 15mm PVC Female adaptor | 96 | Nos |  | 0 |  | 12
0
13.4 | 15mm PVCF DWV Clip Standard | 480 | Nos |  | 0 |  | 60
0
13.41 | 15mm PVC union | 64 | Nos |  | 0 |  | 8
0
13.42 | 15mm (HK512) 304 Stainless Steel Swivel Kitchen Basin/Sink Faucet water | 16 | Nos |  | 0 |  | 2
0
13.43 | 15mm PVC Stop valve | 64 | Nos |  | 0 |  | 8
0
13.44 | 15mm F9020101 Pillar cock pressmatic | 64 | Nos |  | 0 |  | 8
0
13.45 | 15mm Brass bib tap | 48 | Nos |  | 0 |  | 6
0
13.46 | 15mm PVC tee | 320 | Nos |  | 0 |  | 40
0
13.47 | P-trap WC complete + Cistern | 16 | Nos |  | 0 |  | 2
0
13.48 | 15mm OSUKI Stainless Steel Shower Set | 16 | Nos |  | 0 |  | 2
0
13.49 | Thread tape | 128 | Nos |  | 0 |  | 16
0
13.5 | 1.8m Double Stainless steel sink unit | 16 | Nos |  | 0 |  | 2
0
13.51 | 15mm Tabor 460mm Basin and Semi Pedestal | 16 | Nos |  | 0 |  | 2
0
13.52 | PVC glue 500ml | 64 | Nos |  | 0 |  | 8
0
14 | ELECTRICAL COMPONENTS | 0
14.01 | SUB BOARD 8WAY TSM15 | 16 | Nos |  | 0 |  | 2
14.02 | HEM CIRCUIT BREAKER 25A 1POLE 4.5KA (GBL IMEX) | 16 | Nos |  | 0 |  | 2
14.03 | HEM CIRCUIT BREAKER 16A 1POLE 4.5KA (GBL IMEX) | 32 | Nos |  | 0 |  | 4
14.04 | HEM CIRCUIT BREAKER 10A 1POLE 4.5KA (GBL IMEX) | 32 | Nos |  | 0 |  | 4
14.05 | WIRE 6mm 2 CORE + EARTH ORANGE PVC CIRCULAR ELECTRICAL DC | 1120 | m |  | 0 |  | 140
14.06 | WIRE 1.5mm Flat cable 100m/roll | 32 | Rolls |  | 0 |  | 4
14.07 | WIRE 2.5mm Flat cable 100m/roll | 32 | Rolls |  | 0 |  | 4
14.08 | Quadrible switch + Mounting | 16 | Nos |  | 0 |  | 2
14.09 | Trible switch +Mounting | 16 | Nos |  | 0 |  | 2
14.1 | Double switch + mounting | 32 | Nos |  | 0 |  | 4
14.11 | Single switch + Mounting | 64 | Nos |  | 0 |  | 8
14.12 | TAPE ‐ PVC INSULATING BLACK 18mm x 15yd EACH | 64 | Nos |  | 0 |  | 8
14.13 | TAPE ‐ PVC INSULATING GREEN 18mm x 10yrd EACH | 64 | Nos |  | 0 |  | 8
14.14 | TAPE ‐ PVC INSULATING RED 18mm x 10yd | 64 | Nos |  | 0 |  | 8
14.15 | HEM JUNCTION BOX BIG JB1 & JB2 | 160 | Nos |  | 0 |  | 20
14.16 | 15mm PVC Conduit pipe | 320 | Length(s) |  | 0 |  | 40
14.17 | 20mm PVC Conduit pipe | 640 | Length(s) |  | 0 |  | 80
14.18 | 15mm Brass solid earth bar 2m long | 16 | Length(s) |  | 0 |  | 2
14.19 | HOSE CLAMP 16‐27mm x 12mm NORMA [100PCS/PKT] | 16 | Nos |  | 0 |  | 2
14.2 | 40mm PVC Conduit pipe | 16 | Length(s) |  | 0 |  | 2
14.21 | Caravan RV Double Pole Dual 240V Power Point with Twin USB Charging with Mounting block | 160 | Nos |  | 0 |  | 20
14.22 | Batten holder | 128 | Nos |  | 0 |  | 16
14.23 | ELEMENTS ENERGY SAVER BULB SPIRAL 20W DAYLIGHT ‐ 6500K BC ( | 128 | Nos |  | 0 |  | 16
14.24 | Earth wire - Green | 96 | m |  | 0 |  | 12
0
15 | FIXINGS AND FASTNERS | 0
15.01 | 100mm Stainless steel(SS) . Jolthead nail | 640 | Kg |  | 0 |  | 80
15.02 | 75mm Stainless steel. Jolthead nail | 320 | Kg |  | 0 |  | 40
15.03 | 50mm SS. Jolthead nail | 320 | Kg |  | 0 |  | 40
15.04 | 40mm SS. Jolthead nail | 160 | Kg |  | 0 |  | 20
15.05 | 40mm SS. Clout jolthead nail | 160 | Kg |  | 0 |  | 20
15.06 | NAIL JOLT HEAD Stainless steel PANEL PIN 25mm [1"] x 1.60mm x 1.0k | 160 | Kg |  | 0 |  | 20
15.07 | ROOFING SCREW CORRUDEK TO TIMBER CYCLONE | 64 | Kg |  | 0 |  | 8
15.08 | BOLT & NUT MILD STEEL HEXAGON HEAD GALVANISED 12mm | 640 | Nos |  | 0 |  | 80
15.09 | Knuckle nailplates 76mmx317mm 10m/roll | 32 | Rolls |  | 0 |  | 4
15.1 | Maxi strap | 96 | Rolls |  | 0 |  | 12
15.11 | Tim-con brackets | 3200 | Nos |  | 0 |  | 400
15.12 | GI joist hangers | 9600 | Nos |  | 0 |  | 1200
15.13 | 10mm Pop rivet | 96 | Kg |  | 0 |  | 12
15.14 | Silicon 750ml | 32 | Nos |  | 0 |  | 4
15.15 | Gap filler 475ml | 800 | Nos |  | 0 |  | 100
15.16 | Wood putty | 320 | Kg |  | 0 |  | 40
15.17 | Sand paper P-60 50m/Roll | 16 | Rolls |  | 0 |  | 2
15.18 | Sand paper P-120 50m/Roll | 16 | Rolls |  | 0 |  | 2
15.19 | 4" Batten screws 500 per ctn | 32 | Ctn |  | 0 |  | 4
15.2 | 2.5" Batten screws 500 per ctn | 32 | Ctn |  | 0 |  | 4
15.21 | M16-8.8 Bolt | 1360 | Nos |  | 0 |  | 170
15.22 | M12-4.6/S Hot dip galv. Bolt with 50x50x3mm thick washers 2.550m | 800 | Nos |  | 0 |  | 100
15.23 | M12-4.6/S Hot dip Galv. Bolts with 50/50x3mm thick Washers 450mm | 800 | Nos |  | 0 |  | 100
| Additional elements (Tankbase and stand, Laundry washtub) | 0 |  |  | 19200
19200

## KHC-BS1-2020 Part A
KIRIBATI HOUSING CORPORATION
PRICING SCHEDULE
UHPll Duplex Part A
Instructions for Suppliers: Input own specifications / comments / details, etc. in Column D (Supplier(s) Specifications / Comments / Details, etc.) and unit prices in Column G (Rate per unit). Do not alter the rest of the information in the rest of the table. Highlighted Items (in yellow) should be deliberately prioritized for loading and shipping first. Whenever there is sufficient container space, additional items should be added to the maximum allowable weight of containers.
Item | Description | Supplier(s) Specifications / Comments / Details, etc. | Total | Unit | Rate per Unit | Sub-Total
Qty
A | TIMBER PRODUCTS:
A1 | 300x50 F7 Pine Timber Stringer |  | 32 | length |  | 0
A2 | DAS 250X50 F11 Heart Damanu Wall plate |  | 112 | length |  | 0
A3 | 190x45mm H3 TP Timber Formwork |  | 376 | length |  | 0
A4 | 145x45mm H3 TP Timber Jost, Lintel 6m long |  | 480 | length |  | 0
A5 | DAS 90X45 F7 Treated (H3) Pine timber |  | 1168 | length |  | 0
A6 | RS 70x45 F7 Treated (H3) Pine timber |  | 348.9655 | length |  | 0
A7 | DAS 195x20 F7 Treated (H3) Pine Timber |  | 159.3103 | length |  | 0
A8 | 90x25mm H3 TP Profile etc 6m long |  | 22.069 | length |  | 0
A9 | 45x45mm H3 TP Pegs, formwork, temp strucuture 6m long |  | 191.7241 | length |  | 0
A10 | 45x45mm Dakua Purlins 6m long |  | 960 | length |  | 0
A11 | 45x20mm H3 TP Architraves 6m long |  | 720 | length |  | 0
A12 | 150mm Dia. H5 Treated Pine post |  | 42.4828 | length |  | 0
A14 | 20mm High Density Compressed Fibre Cement Sheets |  | 304 | Sheet |  | 0
A15 | 10mm High Density Compressed Fibre Cement sheets |  | 112 | Sheet |  | 0
A16 | 90mmx25mm treated timber anti slippery decking |  | 441 | Length |  | 0
A17 | 9mm Ply board |  | 342.8333 | Sheet |  | 0
A18 | 8mm Ply board |  | 648 | Sheet |  | 0
A19 | Weather board 200mmx5.8m long |  | 800 | length |  | 0
A20 | Formply 2.4x1.2m |  | 304 | Sheet |  | 0
B | CONCRETE, RAW MATERIALS AND BLOCKWORK
B1 | Portland Cement 40kg |  | 2535.9424 | Bag |  | 0
B2 | Polythene Underlay 0.4mm - 250mu x 43 x 25m black polythene |  | 32 | Roll |  | 0
B3 | Gauge 75 Fortecon Sheet or equivalent 20m/ROLL |  | 80 | Roll |  | 0
B4 | N12mm deformed bar (6m lengths) |  | 2608 | Length |  | 0
B5 | N10mm deformed bar (6m lengths) |  | 1952 | Length |  | 0
B6 | Tie Wire 100m roll |  | 200 | Roll |  | 0
B7 | WIRE MESH SL 72 ‐ 4.65mtr x 2.4mtr/sht |  | 104 | Sheet |  | 0
B8 | 8" Block/Brick |  | 16800 | Nos |  | 0
D | ROOFING PRODUCTS:
D2 | SISAL F‐STOP 1250mm x 40M (50m²) DOUBLE SIDE ROLL |  | 32 | Roll |  | 0
D3 | WIRE NETTING HEX [CHICKEN] 2 x 2" x 6FT [72"] x 2 x 30 |  | 24 | Roll |  | 0
D5 | Colourbond Flashing 2.4mtr |  | 32 | Length |  | 0
E | PLUMBING PRODUCTS:
E1 | 100mm dia. UPVC pipe - DPs 6m |  | 128 | Length |  | 0
E2 | 100mm PVC bend 45deg |  | 160 | Each |  | 0
E3 | 100mm PVC Inspection opening |  | 96 | Each |  | 0
E4 | 100x50mm diameter Reducer |  |  | Each |  | 0
E5 | PVCF DWV CLIP STANDARD PIPE 100mm [141.100] WASTE FITTING |  | 320 | Each |  | 0
E6 | 100mm PVC Elbow |  | 160 | Each |  | 0
E7 | 100mm PVC Gully trap |  | 32 | Each |  | 0
E8 | 100mm PVC Tee |  | 128 | Each |  | 0
E9 | 100mm PVC Pan collar |  | 16 | Each |  | 0
E10 | 100mm Y-junction |  | 64 | Each |  | 0
E11 | 100mm Floor grate |  | 16 | Each |  | 0
E12 | 100mm Vent cowl |  | 16 | Each |  | 0
E13 | 50mm diameter UPVC pipe- 6m long |  | 64 | Length |  | 0
E14 | 50mm diameter UPVC Elbow 45 degree |  | 128 | Each |  | 0
E15 | 50mm PVCF DWV Clip standard Pipe 50mm |  | 160 | Each |  | 0
E16 | 50mm PVC Tee |  | 160 | Each |  | 0
E17 | 100-50mm PVC reducer |  | 96 | Each |  | 0
E18 | 40mm S-trap |  | 80 | Each |  | 0
E19 | 40mm Plug and Waste |  | 64 | Each |  | 0
E20 | 40mm PVC Pipe |  | 32 | Length |  | 0
E21 | 20mm diameter UPVC Pipe (6m lengths) |  | 64 | Length |  | 0
E22 | 20mm diameter UPVC elbow |  | 96 | Each |  | 0
E23 | 20mm PVC tee |  | 128 | Each |  | 0
E24 | 20mm Male adapter |  | 48 | Each |  | 0
E25 | 20mm Female adapter |  | 32 | Each |  | 0
E26 | 20mm-15mm Reducer |  | 32 | Each |  | 0
E27 | 20mm PVC Union |  | 32 | Each |  | 0
E28 | 20mm Ball valve |  | 48 | Each |  | 0
E29 | 20mm PVC clip |  | 160 | Each |  | 0
E30 | 15mm diameter UPVC Pipe (6m lengths) |  | 128 | Length |  | 0
E31 | 15mm diameter UPVC elbow |  | 320 | Each |  | 0
E32 | 15mm PVC Male adaptor |  | 96 | Each |  | 0
E33 | 15mm PVC Female adaptor |  | 96 | Each |  | 0
E34 | 15mm PVCF DWV Clip Standard |  | 480 | Each |  | 0
E35 | 15mm PVC union |  | 64 | Each |  | 0
E37 | 15mm PVC Stop valve |  | 64 | Each |  | 0
E38 | 15mm F9020101 Pillar cock pressmatic |  | 64 | Each |  | 0
E39 | 15mm Brass bib tap |  | 48 | Each |  | 0
E40 | 15mm PVC tee |  | 320 | Each |  | 0
E43 | Thread tape |  | 128 | Each |  | 0
E45 | 15mm Tabor 460mm Basin and Semi Pedestal |  | 16 | Each |  | 0
E46 | PVC glue 500ml |  | 64 | can |  | 0
F | PAINTING PRODUCTS
F1 | 4L Pink Primer Paint |  | 208 | Tin |  | 0
F3 | 4L Enamel White Undercoat Paint |  | 304 | Tin |  | 0
F4 | Semi-gloss (16sq.mtr per liter) |  | 192 | Tin |  | 0
F4 | 4L Enamel White High Gloss Paint |  | 240 | Tin |  | 0
F6 | Corner brush |  | 160 | Each |  | 0
F7 | 75mm Paint Brush |  | 160 | Each |  | 0
F8 | ROLLER KIT 4 PCS SET OLDFIELD KUPU‐KUPU 230mm [9"] |  | 160 | Pkt |  | 0
F9 | ROLLER SLEEVE ‐ NOOK & FABRIC 100mm [4"] CHINA mouse |  | 160 | Pkt |  | 0
G | ELECTRICAL PRODUCTS
G1 | SUB BOARD 8WAY TSM15 |  | 16 | Nos |  | 0
G2 | HEM CIRCUIT BREAKER 25A 1POLE 4.5KA (GBL IMEX) |  | 16 | Nos |  | 0
G3 | HEM CIRCUIT BREAKER 16A 1POLE 4.5KA (GBL IMEX) |  | 32 | Nos |  | 0
G4 | HEM CIRCUIT BREAKER 10A 1POLE 4.5KA (GBL IMEX) |  | 32 | Nos |  | 0
G5 | WIRE 6mm 2 CORE + EARTH ORANGE PVC CIRCULAR ELECTRICAL DC |  | 1120 | m |  | 0
G6 | WIRE 1.5mm Flat cable 100m/roll |  | 32 | Rolls |  | 0
G7 | WIRE 2.5mm Flat cable 100m/roll |  | 32 | Rolls |  | 0
G8 | Quadrible switch + Mounting |  | 16 | Nos |  | 0
G9 | Trible switch +Mounting |  | 16 | Nos |  | 0
G10 | Double switch + mounting |  | 32 | Nos |  | 0
G11 | Single switch + Mounting |  | 64 | Nos |  | 0
G12 | TAPE ‐ PVC INSULATING BLACK 18mm x 15yd EACH |  | 64 | Nos |  | 0
G13 | TAPE ‐ PVC INSULATING GREEN 18mm x 10yrd EACH |  | 64 | Nos |  | 0
G14 | TAPE ‐ PVC INSULATING RED 18mm x 10yd |  | 64 | Nos |  | 0
G15 | HEM JUNCTION BOX BIG JB1 & JB2 |  | 160 | Nos |  | 0
G16 | 15mm PVC Conduit pipe |  | 320 | Length(s) |  | 0
G17 | 20mm PVC Conduit pipe |  | 640 | Length(s) |  | 0
G18 | 15mm Brass solid earth bar 2m long |  | 16 | Length(s) |  | 0
G19 | HOSE CLAMP 16‐27mm x 12mm NORMA [100PCS/PKT] |  | 16 | Nos |  | 0
G20 | 40mm PVC Conduit pipe |  | 16 | Length(s) |  | 0
G21 | Caravan RV Double Pole Dual 240V Power Point with Twin USB Charging with Mounting block |  | 160 | Nos |  | 0
G22 | Batten holder |  | 128 | Nos |  | 0
G23 | ELEMENTS ENERGY SAVER BULB SPIRAL 20W DAYLIGHT ‐ 6500K BC ( |  | 128 | Nos |  | 0
G24 | Earth wire - Green |  | 96 | m |  | 0
H | GENERAL HARDWARE & FIXINGS:
H12 | 100mm Barrel bolt |  | 64 | Each |  | 0
H14 | 150mmx150mm Wall Ceramic Tile (44pcs/ctn) |  | 576 | ctn |  | 0
H15 | 300x300mm Floor Ceramic Tile (17pcs/ctn) Quarry tile |  | 48 | ctn |  | 0
H17 | Alnodised Louver frame- 12 blade |  | 416 | Pair |  | 0
H18 | Alnodised Louver frame- 10 blade |  | 160 | Pair |  | 0
H19 | Alnodised Louver frame- 8 blade |  | 320 | Pair |  | 0
H18 | Alnodised Louver frame- 4 blade |  | 64 | Pair |  | 0
H19 | 36"x6" (914x150mm) clear glass blade |  | 9480 | Pcs |  | 0
H20 | WIRE MESH GALVANISED 228 ‐ 2..4mtr x 1..2mtr/sht ‐ 4mm |  | 112 | Sheet |  | 0
H23 | Vinyl tile 300x300 (8903) 45pcs/ctn |  | 608 | ctn |  | 0
H24 | Tile O Fix |  | 160 | tin |  | 0
H25 | Polyurethane Clear 4L |  | 16 | tin |  | 0
H26 | Turbinetine 20L |  | 64 | tin |  | 0
H27 | 20kg CTA |  | 320 | bag |  | 0
H28 | 20kg Grout (White) |  | 160 | bag |  | 0
H29 | 100mm Stainless steel(SS) . Jolthead nail |  | 640 | Kg |  | 0
H30 | 75mm Stainless steel. Jolthead nail |  | 320 | Kg |  | 0
H31 | 50mm SS. Jolthead nail |  | 320 | Kg |  | 0
H32 | 40mm SS. Jolthead nail |  | 160 | Kg |  | 0
H33 | 40mm SS. Clout jolthead nail |  | 160 | Kg |  | 0
H34 | NAIL JOLT HEAD Stainless steel PANEL PIN 25mm [1"] x 1.60mm x 1.0k |  | 160 | Kg |  | 0
H35 | ROOFING SCREW CORRUDEK TO TIMBER CYCLONE |  | 64 | Kg |  | 0
H36 | BOLT & NUT MILD STEEL HEXAGON HEAD GALVANISED 12mm |  | 640 | Nos |  | 0
H37 | Knuckle nailplates 76mmx317mm 10m/roll |  | 32 | Rolls |  | 0
H38 | Maxi strap |  | 96 | Rolls |  | 0
H39 | Tim-con brackets |  | 400 | Nos |  | 0 | 50
H40 | GI joist hangers |  | 1200 | Nos |  | 0
H41 | 10mm Pop rivet |  | 96 | Kg |  | 0
H42 | Silicon 750ml |  | 32 | Nos |  | 0
H43 | Gap filler 475ml |  | 800 | Nos |  | 0
H44 | Wood putty |  | 320 | Kg |  | 0
H45 | Sand paper P-60 50m/Roll |  | 16 | Rolls |  | 0
H46 | Sand paper P-120 50m/Roll |  | 16 | Rolls |  | 0
H47 | 4" Batten screws 500 per ctn |  | 32 | Ctn |  | 0
H48 | 2.5" Batten screws 500 per ctn |  | 32 | Ctn |  | 0
H49 | M16-8.8 Bolt |  | 1360 | Nos |  | 0
H50 | M12-4.6/S Hot dip galv. Bolt with 50x50x3mm thick washers 2.550m |  | 800 | Nos |  | 0
H51 | M12-4.6/S Hot dip Galv. Bolts with 50/50x3mm thick Washers 450mm |  | 800 | Nos |  | 0
TE | TOOLS AND EQUIPMENT
TE1 | HAND TOOLS
TE1.1 | Hand saw |  | 10 | nos |  | 0
TE1.2 | Laser Level |  | 2 | nos |  | 0
TE1.3 | Shovel |  | 10 | nos |  | 0
TE1.4 | Rivet gun |  | 5 | nos |  | 0
TE1.5 | Reck |  | 5 | nos |  | 0
TE1.6 | Crow bar |  | 5 | nos |  | 0
TE1.7 | Wrecking bar |  | 5 | nos |  | 0
TE1.8 | Bolt cutter |  | 5 | nos |  | 0
TE1.9 | Glass cutter |  | 5 | nos |  | 0
TE1.10 | Wheelbarrow |  | 16 | nos |  | 0
TE1.11 | Dumpy level |  | 0 | set |  | 0
TE1.12 | Brick trowel |  | 20 | nos |  | 0
TE1.13 | Concrete float |  | 20 | nos |  | 0
TE1.14 | Telescopic ladder |  | 5 | nos |  | 0
TE1.15 | Chalk line set |  | 5 | set |  | 0
TE1.16 | 10 Lb Sledge hammer |  | 5 | nos |  | 0
TE1.17 | Tile cutter |  | 5 | nos |  | 0
TE1.18 | Spade |  | 10 | nos |  | 0
TE1.19 | Combination square |  | 10 | nos |  | 0
TE2 | POWER TOOLS
TE2.1 | Corded Circular Saw (Makita) 2500W |  | 5 | set |  | 0
TE2.2 | Cordless Circular Saw (Makita) 1200W |  | 5 | set |  | 0
TE2.3 | Hammer drill (Makita) |  | 5 | set |  | 0
TE2.4 | Cordless drill (Makita) |  | 5 | set |  | 0
TE2.5 | Demolition breaker (Makita) |  | 2 | set |  | 0
TE2.6 | Angle grinder (Makita) |  | 5 | set |  | 0
TE2.7 | Electric Sander |  | 5 | set |  | 0
TE2.8 | Plunge router (Makita) |  | 5 | set |  | 0
TE2.9 | Trim router (Makita) |  | 5 | set |  | 0
TE2.10 | Concrete cordless vibrator (Immersion) (Makita) |  | 5 | nos |  | 0
TE2.11 | Concrete mixer 2500 ltrs |  | 8 | nos |  | 0
TE2.12 | Tamping rammer |  | 2 | nos |  | 0
TE2.13 | Drop saw (Makita) |  | 5 | nos |  | 0
TE2.14 | Extension lead wire 40m |  | 5 | roll |  | 0
TE2.15 | Concrete power screed |  | 0 | unit |  | 0
TE3 | BITS
TE3.1 | Concrete bits
TE3.11 | Drill SDS Multifit 6.5 x 210 |  | 10 | Nos |  | 0
TE3.12 | Drill SDS Multifit 8.0 x 210 |  | 10 | Nos |  | 0
TE3.13 | Drill SDS Multifit 10.0 x 210 |  | 10 | Nos |  | 0
TE3.14 | Drill SDS Multifit 10.0 x 460 |  | 10 | Nos |  | 0
TE3.15 | Drill SDS Multifit 12.0 x 460 |  | 10 | Nos |  | 0
TE3.16 | Drill SDS Multifit 13.0 x 230 |  | 5 | Nos |  | 0
TE3.17 | Drill SDS Multifit 14.0 x 210 |  | 5 | Nos |  | 0
TE3.18 | Drill SDS Multifit 14.0 x 260 |  | 5 | Nos |  | 0
TE3.19 | Drill SDS Multifit 16.0 x 210 |  | 5 | Nos |  | 0
TE3.20 | Drill SDS Multifit 16.0 x 300 |  | 5 | Nos |  | 0
TE3.21 | Drill SDS Multifit 16.0 x 460 |  | 5 | Nos |  | 0
TE3.22 | Drill SDS Multifit 18.0 x 210 |  | 5 | Nos |  | 0
TE3.23 | Drill SDS Multifit 18.0 x 300 |  | 5 | Nos |  | 0
TE3.24 | Drill SDS Multifit 20.0 x 300 |  | 5 | Nos |  | 0
TE3.25 | Drill SDS Multifit 20.0 x 460 |  | 5 | Nos |  | 0
TE3.26 | Drill SDS Multifit 22.0 x 460 |  | 5 | Nos |  | 0
TE3.27 | Drill SDS Multifit 24.0 x 300 |  | 5 | Nos |  | 0
TE3.28 | Drill SDS Multifit 25.0 x 300 |  | 5 | Nos |  | 0
TE3.29 | Drill SDS Multifit 26.0 x 460 |  | 5 | Nos |  | 0
TE3.30 | Drill SDS Multifit 28.0 x 460 |  | 5 | Nos |  | 0
TE3.2 | Wood bits
TE3.21 | Augr bit 3/8 " x 17 WELDTEC SHIP - TUBED - 10mm |  | 5 | Nos |  | 0
TE3.22 | Augr bit 3/8 " x 17 WELDTEC SHIP - TUBED - 12mm |  | 5 | Nos |  | 0
TE3.23 | Augr bit 3/8 " x 17 WELDTEC SHIP - TUBED - 14mm |  | 5 | Nos |  | 0
TE3.24 | Augr bit 3/8 " x 17 WELDTEC SHIP - TUBED - 16mm |  | 5 | Nos |  | 0
TE3.25 | Augr bit 3/8 " x 17 WELDTEC SHIP - TUBED - 17mm |  | 5 | Nos |  | 0
TE3.26 | Augr bit 3/8 " x 17 WELDTEC SHIP - TUBED - 19mm |  | 5 | Nos |  | 0
TE3.27 | Augr bit 3/8 " x 17 WELDTEC SHIP - TUBED - 21mm |  | 5 | Nos |  | 0
TE3.3 | Steel bits
TE3.31 | HSS Bright 5.0mm 118 CRD |  | 10 | Nos |  | 0
TE3.32 | HSS Bright 5.5mm 118 CRD |  | 10 | Nos |  | 0
TE3.33 | HSS Bright 6.0mm 118 CRD |  | 10 | Nos |  | 0
TE3.34 | HSS Bright 6.5mm 118 CRD |  | 10 | Nos |  | 0
TE3.35 | HSS Bright 7.0mm 118 CRD |  | 10 | Nos |  | 0
TE3.36 | HSS Bright 7.5mm 118 CRD |  | 10 | Nos |  | 0
TE3.37 | HSS Bright 8.0mm 118 CRD |  | 10 | Nos |  | 0
TE3.38 | HSS Bright 8.5mm 118 CRD |  | 10 | Nos |  | 0
TE3.39 | HSS Bright 9.0mm 118 CRD |  | 10 | Nos |  | 0
TE3.40 | HSS Bright 9.5mm 118 CRD |  | 10 | Nos |  | 0
TE3.41 | HSS Bright 10.0mm 118 CRD |  | 10 | Nos |  | 0
TE3.42 | HSS Bright 10.5mm 118 CRD |  | 10 | Nos |  | 0
TE3.43 | HSS Bright 11.0mm 118 CRD |  | 10 | Nos |  | 0
TE3.44 | HSS Brigh 11.5mm 118 CRD |  | 10 | Nos |  | 0
TE3.45 | HSS Bright 12.0mm 118 CRD |  | 10 | Nos |  | 0
TE3.46 | HSS Bright 12.5mm 118 CRD |  | 10 | Nos |  | 0
TE3.47 | HSS Bright 13.0mm 118 CRD |  | 10 | Nos |  | 0

## KHC-BS1-2020 Part B
KIRIBATI HOUSING CORPORATION
PRICING SCHEDULE
KHC-BS1-2020 Part B
Item | Description | Total | Unit | Rate | Sub-Total | Diagram | Drawing No. If Any
|  | Qty required |  |  |  | If Required/Any