REQUEST FOR QUOTATION
SPECIFICATION OF GOODS

Procurement No:	22-G006-21

## Specification

### Background

The WHO/UNICEF Joint Monitoring Programme shows that just 40 percent of the population of Kiribati has access to improved sanitation, with 34 percent practicing open defecation. Open defecation is practiced by nearly half of the rural population and by more than 70 per cent in the Outer Islands. Groundwater is highly vulnerable to contamination, yet it is the most common source of drinking water. Kiribati has the second highest under 5 and maternal mortality rates in the Pacific after PNG; a high level of stunting and frequent outbreaks of diarrhea caused by poor water, sanitation, and hygiene practices. These challenges are further exacerbated by climate change and the geographical isolation of Kiribati. WASH in healthcare facilities (HCFs) is critical for maternal and new-born health. Improved WASH service delivery and practices in healthcare facilities create an environment for a healthy start for children. Although HCFs and staff are well established throughout Kiribati, few have been found with functional WASH facilities.

The ‘WASH from the Start’ project focuses on community- and facility-based Water, Sanitation and Hygiene (WASH) interventions targeting children from conception to adolescence, and beyond as they go on to be the next generation of parents. The project brings three ministries (MISE, MoE and MHMS) to work together to achieve the project Objectives.  One of the project activities is to conduct WASH facility assessment in Schools, Health Centers and Clinics and assess suitability of sanitation technology.

The MHMS conducted the WASH facility assessment for 8 healthcare facilities in June 2021. From the assessment report it shows that there is a need to rehabilitate and upgrade all the healthcare WASH facilities in Butaritari.

Scope of Work

This RFQ is for the supply and shipment of materials required for rehabilitation and maintenance work for 8 healthcare facilities on Kuma, Keuea, Nakiroro, Tanimaiaki, Takananuea, Otanuea health center, Ukiangang and Tikinee in Bikaati. The materials are to be packed separately for each healthcare facilities. (Refer to the material list for each clinics)

### Requirements

Tenderers are required to provide certified copies by Court and attach to their tender submissions the following documents:

All supporting documentation must be in English.

Quotation of materials should be in AUD.

### Installation services

Nil.

### Delivery Time

Supplier is expected to supply and deliver materials at the instruction of the Procuring Entity.

## Description of the Goods

Please refer to the excel attached to this RFQ package.