REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No:	46-G003-22

## Specification

### Background

This project is a part of Relocation of Fuel Farm for Tab-South, Aranuka, Beru and Marakei. This is the procurement of materials only.

### Requirements

All supporting documentation must be in English. Please note that the list of requirements can be found in the Instructions on How to Submit a Quotation template, page 5.

List of materials required listed below

### Installation services

N/A

### Delivery Time

One Week after signing of the Contract

## Description of the Goods

Here, list all items to be Tendered

|  | Quotation Template |  | DATE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ref | Description | Unit | Store room | Fuel Storage | Fence | Tank Base | Total |
|  | Concrete Works (Cement type GP or GB) and to be 20MPA |  |  |  |  |  |  |
|  | Concrete Strength |  |  |  |  |  |  |
| 1 | 40 kg cement portland for footing, slab, and etc | bags | 48 | 186 | 87.00 | 14 | 335 |
| 2 | 40 kg cement portland for render | bags | 3 | 3 |  | 3 | 9 |
| 3 | Approved aggregate (not compulsory) | bags | 260 | 743 | 441.00 | 90 | 1534 |
| 4 | Approved sand (not compulsory) | bags | 135 | 499 | 226.00 | 50 | 910 |
| 5 | Polythene damp proof membrane (60m x 2m wide) 0.2mm thick | roll | 1 | 2 | 3.00 | 16 | 22 |
| 6 | Tie wire (15mtrs) | mtr | 8 | 8 | 4.00 | 4 | 24 |
|  | . |  |  |  |  |  |  |
|  | Formwork |  |  |  |  |  |  |
| 7 | Formply 3/4" thick | sht | 12 | 7 | 9.00 | 3 | 31 |
| 8 | 100x50mm timber pine in 6m long | length | 11 | 13 | 60.00 | 7 | 91 |
| 9 | 50x50mm timber pine in 6m long | length | 4 | 4 | 31.00 | 7 | 46 |
|  | Bar Reinforcement (AS/NZS4671) |  |  |  |  |  |  |
| 10 | D12mm dia reinforcing steel (6m length)deform | length | 13 | 25 | 47 | 7 | 92 |
| # 11 | # D10mm dia reinforcing steel (6m length)deform | # length |  |  |  | # 4 | # 4 |
| 15 | D6mm dia reinforcing steel (6m length)smooth | length | 4 | 15 | 36 | 5 | 60 |
| 16 | Reinforcing mesh SL102 size:6mx2.4m wide (200x200x10) | sht | 3 | 11 |  | 1 | 15 |
|  | Grade 300 ("D") or Grade 500("N") |  |  |  |  |  |  |
|  | Blockwork |  |  |  |  |  |  |
| 17 | 200 DPC membrane @ 25m/roll | roll | 2 |  |  |  | 2 |
| 18 | 200mm thick block | pcs |  | 373 | 1643 | 48 | 2064 |
| 19 | 200mm corner blocks | pcs |  | 32 |  | 16 | 48 |
|  | Metal Work |  |  |  |  |  |  |
| 20 | galvanise pipe 50mm | length | 2 | 8 | 6 |  | 16 |
| # 21 | # end cap 50mm PVC for capping the galvanized |  |  |  | # 8 |  | # 8 |
| # 22 | # Barbed Wire 240m | # roll |  |  | # 2 |  | # 2 |
| # 23 | # Chainlink/mainwire 2.4m x 15m |  |  |  | # 4 |  | # 4 |
| # 24 | # Strain wire 105m per coil | # roll |  |  | # 3 |  | # 3 |
| # 25 | # tie wire 15m | # roll |  |  | # 10 |  | # 10 |
| # 26 | # Single gate 890mm x 2115mm | # no |  |  | # 3 |  | # 3 |
| # 27 | # Double Gate Panel 2.418m x 2.113m | # no |  |  | # 4 |  | # 4 |
|  | # Coat all and exposed base steel with cold galvanising treatment |  |  |  |  |  |  |
| # 28 | # Welding Machine charge | # day |  | # 2 |  |  | # 2 |
| 29 | M12 bolt and nut comblete | pcs |  | 14 |  |  | 14 |
|  | All timber to be minimum F11 grade seasoned pine, hazard class H3 |  |  |  |  |  |  |
| 30 | Radiata pine 200x50mm in 6m long to be dressed | length | 5 |  |  |  | 5 |
| 31 | Radiata pine 200x25mm in 6m long timber louvre Dressed | length | 6 | 8 |  |  | 14 |
| # 33 | # Radiata pine 150x50mm in 6m long to be dressed | # length |  | # 6 |  |  | # 6 |
| 35 | Radiata pine 100x50mm in 6m long to be dressed | length | 29 | 11 |  |  | 40 |
| # 36 | # Radiata pine 75x50mm in 6m long to be dressed | # length |  | # 25 |  |  | # 25 |
| 37 | Radiata pine 50x50mm in 6m long to be dressed | length | 15 |  |  |  | 15 |
|  | Finishing Trim |  |  |  |  |  |  |
| 38 | Marine plywood 12mm for Gusset | sht | 3 |  |  |  | 3 |
|  | Roofing Materials |  |  |  |  |  |  |
| 39 | 0.55mm BMT colorbond ultra (in corrugated/trimdex) (10feet) 3.05 | sht | 22 | 18 |  |  | 40 |
| # 40 | # 0.55mm BMT colorbond ultra (in corrugated/trimdex) (8feet) 2.44 | # sht |  | # 18 |  |  | # 18 |
| # 41 | # 0.55mm BMT colorbond ultra (in corrugated/trimdex) (6feet) 1.83 | # sht |  |  |  | # 150 | # 150 |
| 42 | Syslation double sided 40x1. |  | 2 | 3 |  |  | 5 |
| 43 | 0.55 BMT Colorbond ridge capping 2.4m | pcs | 5 |  |  |  | 5 |
| 44 | 0.55 BMT Clourbond eaves guttering with bracket as necessary | pcs | 8 | 7 |  |  | 15 |
| 45 | Stop ends | no | 4 | 2 |  |  | 6 |
| 46 | Outlet to gutter | no | 2 | 1 |  |  | 3 |
| 47 | 100mm diameter upvc downpipe (in 6m long) | length | 4 | 1 |  |  | 5 |
| 48 | 100mm diameter bend | no | 4 | 2 |  |  | 6 |
| 49 | 100mm diameter tee | no | 1 |  |  |  | 1 |
| 50 | Silicone gun | no | 1 |  |  |  | 1 |
| 51 | Rivert(100 no / pkt) | pkt | 3 | 2 |  |  | 5 |
| 52 | Silicon tube | tube | 3 | 6 |  |  | 9 |
| 53 | Silicon gun | no | 1 | 1 |  |  | 2 |
|  | Doors and Window |  |  |  |  |  |  |
| 54 | 2100x820x40mm External solid core door. | no | 1 |  |  |  | 1 |
| 55 | 100 x 75mm butt brass hinges with screws. | prs | 1 |  |  |  | 1 |
| 56 | Rebated mortice lock complete with handles and keys. | no | 1 |  |  |  | 1 |
| 57 | 11 blade louver frame (anodised aluminium with black plastic clips & handle | prs | 2 |  |  |  | 2 |
| 58 | Louver glass 32" | no | 22 |  |  |  | 22 |
|  | # Sanitary Plumbing |  |  |  |  |  |  |
| # 59 | # RotomouteTank 6000 ltr | # no |  |  |  | # 1 | # 1 |
| # 60 | # 20mm Pip Tap | # no |  |  |  | # 1 | # 1 |
|  | Pipeworks and Fittings |  |  |  |  |  |  |
| 61 | 20mm dia pvc pipe for water reticulation, in 6m long | leng | 1 |  |  |  | 1 |
| # 62 | # 25mm dia pvc pipe for water reticulation, in 6m long | # leng |  |  |  | # 1 | # 1 |
| 63 | 20mm diameter bend | no | 6 |  |  | 6 | 12 |
| 64 | 20mm diameter female adaptor | no | 1 |  |  | 2 | 3 |
| 65 | 20mm diameter male adaptor | no | 1 |  |  | 2 | 3 |
| 66 | 20mm Brass Tap | leng | 1 |  |  |  | 1 |
| # 67 | # Solvent cement glue for pvc 500g/tin | # tn |  |  |  | # 1 | # 1 |
|  | Lining |  |  |  |  |  |  |
| 68 | measontie 1.2x2.4 | sht | 10 |  |  |  | 10 |
|  | Painting and Decorating |  |  |  |  |  |  |
| 69 | undercoat enamel 4ltr | tin | 4 | 3 |  |  | 7 |
| 70 | high gloss enamel 4ltr | tin | 4 | 3 |  |  | 7 |
| 71 | semi gloss 4ltr | tin | 4 |  |  |  | 4 |
| 72 | Pink primer 4ltr | tin | 4 | 3 |  |  | 7 |
| 73 | Tray complete with roller and sleeve | no | 3 | 3 |  |  | 6 |
| 74 | 4 inch paint brush | no | 3 | 3 |  |  | 6 |
| 75 | 3 inch paint brush | no | 3 | 3 |  |  | 6 |
| 76 | 2 inch paint brush | no | 3 |  |  |  | 3 |
| 77 | Turbentine @ 4.5litre/galon | galon | 1 | 1 |  |  | 2 |
| # 78 | # Silicon Gun |  |  | # 1 |  |  | # 1 |
|  | Nails, Screws, Bolt, etc (to be fully galvanised) |  |  |  |  |  |  |
| 79 | 4" galvanised FC nails @100pcs/pkt | pkt | 8 | 8 |  | 5 | 21 |
| 80 | 3" galv nails @ 100pcs/pkt | pkt | 8 | 8 |  | 5 | 21 |
| 81 | 2" x 3.15mm bullet head galvanised nail @ 100pcs/pkt | pkt | 5 | 4 |  | 5 | 14 |
| 82 | 1" x 3.15mm clout galvanised nail @ 100pcs/pkt | pkt | 2 |  |  |  | 2 |
| 83 | Wood screw 2" | each | 3 | 3 |  |  | 6 |
| 84 | Wood screw 3" | each | 3 | 3 |  |  | 6 |
| 85 | Roofing nail 3" | pkt | 3 | 4 |  |  | 7 |
|  | # POST |  |  |  |  |  |  |
| # 86 | # 100mm Dia PVC pipe 6m | # pcs |  |  | # 14 |  | # 14 |
|  | Total for Materials |  |  |  |  |  |  |