REQUEST FOR PROPOSAL
SPECIFICATION OF WORKS

Procurement No:	47-W005-22

## Specification

Background

The Kiribati Ports Authority is currently experiencing shortage of space within its container yard due to the increase in container volume and construction and maintenance of its current container yard concrete pavement.

Therefore the purpose of this project is for KPA to expend its current container yard by clearing the current Dai Nippon Yard next to the KPA main Container Yard in order to create more space and room for incoming and outgoing containers.

### Requirements

All supporting documentation must be in English.

Please refer to the instruction on how to submit the tender.

### Related services

Services required include the trade in cutting and disposal of scrap metal, cutting of trees, backfill, ram, and levelling of ground, lastly fencing.

### Project Time & Final Delivery

Beginning of March 2022 to end of April 2022

## Description of the Works

Here, list all items to be Tendered

(This part may be replaced by a Procuring Entity or proprietary Contractor description)

| Main Activity | Description | Price (to be Tendered) | # days to complete the work |
| --- | --- | --- | --- |
| Disposal of scrap metals | All scrap metal within the Dai Nippon Yard are to be disposed at the Kaokimange/metal scrap yard. |  |  |
| Gas cutting of scrap metal | Oversized scrap metal are to be cut into size before disposal to the Kaokimange. |  |  |
| Clearance of Trees | Cutting down and clearance of trees within the Yard |  |  |
| Backfilling of Yard with Reef Mud | Backfilling the Yard with compacted reef mud ore equivalent at 200 m3 thick |  |  |
| Backfilling of Yard with AP75 | Backfilling of Yard with AP75 or equivalent 300mm thick |  |  |
| Ram & Levelling of Yard | After backfilling of Yard, levelling and Ram on top of compacted backfill |  |  |
| Fencing of Yard | Fencing with galvanized mesh wire with 40mm dia tubular post or similar set on concrete at 3m c-c, high tension strainer wire in 3 no, and 3 strands of barbed wire on post extension (gate excluded) |  |  |
| Total |  |  |  |

Please refer to detail POQ

| PHASE 1: EXPANSION OF YARD INTO DAI NIPPON YARD |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | ACTIVITIES | QTY | UNIT | MATERIAL | LABOUR | OTHER | TOTAL |
| 1 | Disposal of scrap metals (Cartaway into Kaokimange) |  | m3 |  |  |  |  |
| 2 | Allow to cut all scrap metals to fit at te kaokimange (Gas cutting) |  | m |  |  |  |  |
| 3 | Clearance of trees |  |  |  |  |  |  |
| 4 | Backfilling the yard with compacted reef mud or equivalent at 200 m3 thick |  | m3 |  |  |  |  |
| 5 | Backfilling the yard with AP75 or equivalent (300mm thick) |  | m3 |  |  |  |  |
| 6 | Level & ram top of compacted backfill |  | m2 |  |  |  |  |
|  | Sub totals |  |  |  |  |  |  |
| 7 | Fencing with galvanized wire mesh with 40mm dia tubular post or similar set on concrete at 3m c-c, high tension strainer wire in 3 no, and3 strands of barbed wire on post extension (gate excluded) |  | m |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |
|  | Contingency |  |  |  |  |  |  |
|  | Vat |  |  |  |  |  |  |
|  | Total Project Cost |  |  |  |  |  |  |

## Tenderer’s References

### Relevant similar deliveries carried out in the last five years

Please, provide information on each delivery for which your firm/entity, either individually as a corporate entity or as one of the major companies within an association, was legally contracted.

| Works delivered | Reference | Contact details | Value |
| --- | --- | --- | --- |