### Clarification and amendment of RFQ documents

Betty Trading - 46-GOO4-22 – Questions.

## Please find below our 9 questions for clarification regarding this tender.

| Pos. | Description | N# | Delivery Time (to be Tendered) | Price (to be Tendered) | Questions |
| --- | --- | --- | --- | --- | --- |
| 1 | 1kw solar system (550w) Item Solar Panel Charger / Controller Battery (2.4KW) MC4 Connector PV Cables Mounting 5kw Mounting 10kw | 16 16 |  |  | Q1 - 1kw solar system (550w) do you refer to the inverter or photovoltaic total output capacity? Q2 - The system requested is 1kw but the mounting requested is 5kw and 10 kw. Can this be specific to either the 5 kw mounting, 10 kw mounting or 1 kw mounting? Q3 - Will the mounting be built on top the roof or ground mounting? Q4 - With our limited understanding, this tender list of 1kw solar system, the materials or component listed is not complete as there are few more missing part that should be add. Q5 - Can you confirm if the components required is fully complete or do you want the bidders to provide an offer for a complete 1 kw solar system for 16 units? |
| 2 | 5kw solar system (550w) Solar Panel PV Combiner Inverter 5kw Battery MC4 Connectors set PV Cables Mounting 5kw Mounting 10kw | 2 2 |  |  | Q6 - what do you mean when you ask for 5 kw and next to it is this 550w? Please provide further details Q7 - What is the total daily estimated power consumption needed so we could verify the solar panel sizing with the battery capacity as well. Q8 - Can you check if the list provided is complete for the 5kw solar system or do you want us to provide complete list of component for the 5 kw? Q.9 – Please confirm the battery type required – a) Lithium or b) GEL Acid Battery so we can put our bid to your requirement? |