Questions and Answers

- Line 10——1.2 Meter Strapping—-Width and Thickness.

Minimum Thickness 1.0mm, Minimum Width 40mm, Color to match Colourbond Roofing.

- Line 14——Angle Irons—-Size and Thickness——Mild Steel or Galvanized

Also for 25mm Bars will these be Mild Steel or Galvanized.

Minimum thickness 5mm, Size 40mm Angled Sides, 25mm Bars Galvanized

- Line 13——Galvanized Plates——10mm x 2400 x 1200—-100 Sheets (Is this Quantity Correct).

40 Sheets