POLAND Power Solar Battery

| ITEM | Specification | Quantity |
| --- | --- | --- |
| Battery | Sun Power VRL 2-1700 2V 1545Ah—C10/ 1955 Ah C:100 U Float=2,25 V/cell Vertical Series OPZV T= 20⁰C/68⁰F Made in Germany | 50 |
| Battery connector | Connector | 92 |