## Take-off (hidden)
| PROJECT TITLE: TEMAIKU HEALTH CLINIC |  |  |  |  | DATE: 29.08.14
| DRWG NO:0000 |  |  |  |  | FILE REF:
CLIENT:MHMS
Ref | Description |  | Side Cast | Factor |  | D1 | D2 |  | D3 |  | Qty | Unit
PRELIMINARIES
Unless otherwise stated, the following shall be itemised
| Allow for the Provision of signboards, together with details of signwriting | [9 empty] | 0 | item
| Allow for the provision of telephones, including installation | [9 empty] | 0 | item
Site Access
| Allow for access to site | [9 empty] | 0 | item
| Care and Security of the works | [9 empty] | 0 | item
| Temporary Galv fencing with post at 3m c-c (max use 3uses) | [9 empty] | 0 | m
Temporary Hoarding
| Hoarding 2m high of 18mm external quality plywood on 100 x 100mm kiln | [10 empty] | m
dried timber post and 75 x 50mm rail in 3 rows. (allow max uses of 3)
| Allow for temporary site shed during the course of construction works | [9 empty] | 0 | item
| Temporary services, construction water and power | [9 empty] | 0 | item
Allow for the provision of water for the works and
any necessary temporary plumbing and storage.
| Allow for the provision of temporary electric power, | [9 empty] | 1 | item
including connections to main.
| Allow for the provision of sanitary conveniences and | [9 empty] | 1 | item
keeping of the conveniences in a clean and orderly
condition.
| Allow for setting out of the works and the provision | [9 empty] | 1 | item
of all instruments required.
| Allow for testing of materials and submission of samples | [9 empty] | 1 | item
| Allow for the provision of plant and tools required for the | [9 empty] | 1 | item
execution of the works
| Allow for the provision of scaffolding for exterior work | [9 empty] | 1 | item
| Allow for the provision of scaffolding for interior work | [9 empty] | 1 | item
| Allow for the provision of temporary screens and other protection | [9 empty] | 1 | item
requirement (For this item the rate for temporary hoarding may
be adopted.
| Allow for the protection of the works from weather or any other cause | [9 empty] | 1 | item
| Allow for maintenance and protection of public and private | [9 empty] | 1 | item
property and other similar undertakings including making good
and paying of all damage thereto
| Allow for constant supervision (max 3 months average) unless otherwise stated | [9 empty] | 1 | item
| Allow for cartage of materials to site, and removal upon completion | [9 empty] | 1 | item
| Allow transport for workers (max 3months on average) unless otherwise stated | [9 empty] | 1 | item
| Allow for the provision for removal of rubbish and debris and | [9 empty] | 1 | item
clearing away on completion
| Allow for cleaning all surfaces ready for occupation | [9 empty] | 1 | item
| Allow for dewatering | [9 empty] | 1 | item
TOTAL CARRIED TO SUMMARY
DEMOLITION
| Allow for obtaining all necessary approvals prior to demolition | [9 empty] | 1 | item
| Disconnect and seal off services prior to demolition | [9 empty] | 1 | item
Electrical works
| Remove light fittings | [10 empty] | no
| Remove outlet socket | [10 empty] | no
| Remove ceiling fan switches | [10 empty] | no
| Remove switches | [10 empty] | no
| Remove switchboard | [10 empty] | no
Plumbing works
| Remove W.c pan complete with associated fittings. | [10 empty] | no
| Remove wash hand basin and store where directed | [10 empty] | no
| Take down sink unit complete with fittings, and bench and remove to store. | [10 empty] | no
| Remove bath unit complete with fittings and store where directed. | [10 empty] | no
| Remove shower unit with fittings, and store where directed. | [10 empty] | no
| Remove urinal unit with fittings, and store where directed | [10 empty] | no
Hazardous substances
| Remove hazardous substances (abestos lining, gutter, roof and | [10 empty] | item
the like)
| Remove 200mm thick conrete foundation | [10 empty] | m3
| Remove unreinforced concrete pavings, 100mm thick | [10 empty] | m2
| Ditto but reinforced concrete slab, 100mm thick | [10 empty] | m3
| Remove concrete kerbs, gutters | [10 empty] | m2
| Allow to carryout works for key, forming of toothings, | [10 empty] | m2
and the like to surfaces receiving new work
Roofing
| Remove eaves guttering including support framing to eaves, | [10 empty] | m
fascia board finishing trim, and downpipe
| Remove verge support framing including soffit cladding, and barge board | [10 empty] | m
and finishing trm
| Remove gable cladding including finishing trim | [10 empty] | m2
| Remove roof covering and associated flashings | [10 empty] | m2
| Remove frame timber trusses, rafters, and the like | [10 empty] | no
Doors and Windows
| Remove door complete with hardware | [10 empty] | no
| Remove window shutter unit with hardware | [10 empty] | no
| Remove Alum door frame with glazing and sliding door | [10 empty] | no
| Remove roller door unit complete with associated fittings | [10 empty] | no
| Remove alum window frames complete with glazing | [10 empty] | no
| Remove louver frame with glass blade (4- 6 louvers) | [10 empty] | no
| Remove louver frame with glass blade (7-9 louvers) | [10 empty] | no
| Remove louver frame with glass blade (10-12 louvers) | [10 empty] | no
Wall
| Remove hardboard lining on framing | [9 empty] | 12 | m2
|  |  | internal wall | 1 | 1 | 4.3 | 2.7 | 11.61
11.61
| Remove batt behind lining | [10 empty] | m2
| Remove timber framing | [10 empty] | m2
| Breakup 100mm thick blocwork wall and remove debris | [10 empty] | m2
Labour - 2 labourers for 0.75 hours per m2
| Demolish 150mm thick blockwork wall and remove debris | [10 empty] | m2
| Demolish 200mm thick blockwork wall and remove debris | [10 empty] | m2
Opening through stud partitions
| Form opening through 100mm thick timber stud wall partition for | [10 empty] | m2
door opening overall size: 2100 x 900mm wide; take off skirtings, cut away lining,
and make good around disturbed surfaces
Add 10% extra loading on labour for making
good around disturbed surfaces
Opening through Blockwork wall
| Form opening through 200mm thick blockwork wall for door opening overall size: | [10 empty] | m2
2100 x 900mm wide, insert new lintel, 200mm thick and make good around disturbed surfaces.
TOTAL CARRIED TO SUMMARY
EXCAVATION AND EARTHWORK
Note: Unless otherwise stated, the minimum allowance for working space shall be
comply with the following:
Planking and strutting is measured to all excavations 1.5m deep or irrespective
of depth to excavations against public places and adjacent sites.
1) For depth of excavation 0-1m = 0.2m
2) For depth of excavation 1-2m = 0.6m
3) For depth of excavation 2-3m = 1m
4) Exceeding 3m = 1.3m
| Clear site to suit "building footprint", and allow to offset 1m at both directions |  |  | 1 | 1 | 12 | 8.63 | 103.56 |  |  | 104 | m2
| for timber profiles | [6 empty] | 104
(LxW)
(10+2) * (6.63+2)
12
| 8.63 | 103.56
| Strip site average 100mm deep, to remove top soil and spread and level on site. |  | take last | 1 | 1 | 12 | 8.63 | 103.56 |  |  | 104 | m2
104
Footing
| Excavate trench for footing 0-1.5m deep commencing from strip level. |  | External footing | 1 | 1 | 32.46 | 0.9 | 29.214 | 0.7 | 20.4498 | 24 | m3
|  |  | Internal footing | 1 | 1 | 16.63 | 0.9 | 14.967 | 0.2 | 2.9934
|  | Mean Perimeter = (L + B) x 2 For Main Building | [7 empty] | 23.4432
|  | MP = (10.00 + 6.63) x 2 | [7 empty] | 24
33.26
| adj: for MP | 4/2/0.5/0.2
| ddt: | 0.8
32.46
Mean Perimeter = (L + B) x 2 For Toilet
MP = (2.00 + 2.00) x 2
8
| adj: for MP | 4/2/0.5/0.2
| ddt: | 0.8
7.2
46.2
Mean Perimeter = 32.46 (Main Building)
Internal Perimeter = (10+6.63)
16.63
Internal Perimeter = 16.63
Total Mean Perimeter = (32.46 + 16.63)
49.09
| width: | 500+200+200 w/s=
0.9
| Excavate for column pad 0-1.5m deep commencing from strip level | [10 empty] | m3
| Excavate for edge thickening commencing from stirp level | [10 empty] | m3
| Extra value for excavating solid rock encountered in the course of excavation | [10 empty] | m3
Backfilling
| Return fill and ram selected excavated material around footing. | [10 empty] | m3
Disposal
| Cartaway excavated material offsite where directed | [10 empty] | m3
FILLING
| Hardcore imported and laid on site 100mm thick | [10 empty] | m2
| Hardcore imported to and laid on site 125mm thick. | [10 empty] | m2
| Hardcore imported to and laid on site 150mm thick. |  | From Plan | 1 | 1 | 10 | 6.63 | 66.3 |  |  | 67 | m2
| Main Building: = 10.00m Length, 6.630m Width | [6 empty] | 67
Surface treatment
| Lay and blind hardcore | [10 empty] | m2
| Sand bed 50mm thick imported and laid to receive concrete |  | From last |  |  |  |  | 67 |  |  | 67 | m2
| Level and ram top of sand |  | Ditto |  |  |  |  | 67 |  |  | 67 | m2
TOTAL CARRIED TO SUMMARY
CONCRETE WORK
Preambles
Different types of Foundations and footings with concrete strength shall be
scheduled seperately
For small bases, fence posts, shallow piles and the like these shall be
enumerated where not exceeding 0.2m3
Slabs for each thickness shall be scheduled seperately. If finished to
falls or cross falls this shall be stated and the average thickness given
Apply structural reinforced concrete to the following:
| 600x200mm thick strip footing |  | From prev. MP | 1 | 1 | 49.09 | 0.6 | 29.454 | 0.2 | 5.8908 | 6 | m3
|  |  | calculation | [6 empty] | 6
| Ht of ftng: | 600-100 thick of slab-200 thick of hardcore-100 thick of sand blinding
200
| 600x200mm tie beam | [10 empty] | m3
| Raft footing | [10 empty] | m3
| Isolated column base | [10 empty] | m3
| Isolated small base/ fence post (400x400x450) |  | From plan |  |  |  |  | 3 |  |  | 3 | no
0.4*0.4*0.45 | 0.2208 | 0.2208/1
0.0736 |  | 0.2208
| 0.2208= | 2bags of cements
| Bedding to structural steel / metal work (0-200mm thick) | [10 empty] | m2
| 100mm thick slab |  | Main Building | 1 | 1 | 10 | 6.63 | 66.3 | 0.15 | 9.945 | 10 | m3
9.945
10
| 150mm thick slab | [10 empty] | m3
| 200mm thick suspended slab | [10 empty] | m3
| Beam | [9 empty] | 3 | m3
|  |  | Bond beam | 1 | 1 | 30.39 | 0.4 | 12.156 | 0.2 | 2.4312
2450+100+2450+190+2120+190+6630+10000+190+2140+190+1240+1250+1250= | [9 empty] | 3
30390
| Lintel | [10 empty] | m3
| 100mm diameter Pvc Post filled with concrete |  |  | 1 | 3 | 0.00785 | 2.5 | 0.058875 | 1 | 0.058875 | 0.1 | m3
0.1
| Steps and staircases including strings, soffits, balustrades and | [10 empty] | m3
landings
| Blinding concrete (0-200mm thick) | [10 empty] | m2
| Upstands and kerbs (<0.05m2 in section) | [10 empty] | m
Surface Finishes
| 20mm thick cement and sand (mix 1:3) screed Trowel steel float finish to top of slab |  | From prev. cal | 1 | 1 | 10 | 6.63 | 66.3 |  |  | 0 | m2
66.3
| 20mm thick cement and sand (mix 1:3) screed Broom finish to top of slab | [10 empty] | m2
| 25mm thick cement and sand (mix 1:3) screed Trowel steel float finish to top of slab | [10 empty] | m2
| 25mm thick cement and sand (mix 1:3) screed Broom finish to top of slab | [10 empty] | m2
| Extra value for trowel steel float finish to confine areas (0-200mm wide ) | [10 empty] | m
| Extra value for broom finish ditto (0-200mm wide) | [10 empty] | m
| 12mm diameter Holding down bolt complete with nut and 2 washers bolted in | [10 empty] | no
concrete
| 12mm diameter Holding down bolt complete with nut and 2 washers | [6 empty] | 32 |  |  | 32 | no
bolted in concrete
3246/01200+4=
31.05
TOTAL CARRIED TO SUMMARY
FORMWORK
Unless otherwise stated, formwork shall be measured in square metres.
Formwork specified to be left in place shall be scheduled seperately.
Formwork to soffits of beams or slabs shall be scheduled seperately.
Apply formwork to the following:
| Vertical surfaces of footing (average uses = 5) |  | From prev MP | 1 | 1 | 32.46 | 0.4 | 12.984 |  |  | 13 | m2
13
Footing Size (600 x 200)
| Vertical surfaces of wall | [10 empty] | m2
| Vertical surfaces of column / pier. Include timber fillet not exceeding | [10 empty] | m2
50mm on face.
| Flat soffits of suspended slab not exceeding 3m high from grd level | [10 empty] | m2
| Sides and soffit of beam |  | from MP | 1 | 2 | 32.46 | 0.8 | 51.936 |  |  | 52 | m2
52
thic of frm wrk:
400x2 b/sides =
800
| Sides and soffit of lintel | [10 empty] | m2
| Sides of stair riser and string | [10 empty] | m2
| Formwork to sides of suspended floor slab over 100mm and not exceeding 200mm | [10 empty] | m
| Ditto but to edge of concrete slab over 100mm and not exceeding 200mm | [10 empty] | m
| Ditto but to edge of concrete slab over 200mm and not exceeding 300mm | [10 empty] | m
| Formwork to sides of reveals 0-200mm | [10 empty] | m
| Formwork to sides of reveals over 200mm and not exceeding 300mm | [10 empty] | m
| Form 100 x 50mm deep rebate in edge of slab | [10 empty] | m
| Form 200x50mm deep rebate in edge of slab | [10 empty] | m
TOTAL CARRIED TO SUMMARY
DAMP PROOF SHEETING
| 0.25mm DMP membrane sheeting or similar laid and lapped at |  | Main building | 1 | 1 | 14 | 10.63 | 148.82 |  |  | 149 | m2
300mm wide and jointed with tape
148.82
| Main Building | [6 empty] | 149
(300+150+200+500+200+150+300)
1800
10000
| add extra: | 2/1800+2/200=
| for turn ups | 4000
| and turn dwn | 10000+4000 (inclusive turn down and turn ups) =
14
6630+4000=
10.63
Toilet
(300+150+200+500+200+150+300)
1800
2000
| add extra: | 2/1800+2/200=
| for turn ups | 4000
| and turn dwn | 2000+4000 (inclusive turn down and turn ups) =
6000
2000+4000=
6000
| Extra value for turn ups 0-200mm wide | [10 empty] | m
| Extra value for turn ups over 200mm but not exceeding 300mm | [10 empty] | m
| Extra value for turn down 0-200mm wide | [10 empty] | m
| Extra value for turn down over 200mm but not exceeding 300mm | [10 empty] | m
| Form penetration to damp proof sheeting 0-100mm diameter | [10 empty] | no
| Form penetration to damp proof sheeting 100- 200mm diameter | [10 empty] | no
TOTAL CARRIED TO SUMMARY
DAMP PROOF COATINGS
Prepare surfaces and apply two coat suitable dmp coating to the following:
| 200mm thick blockwork surfaces | [10 empty] | m2
| 150mm thick blockwork surfaces | [10 empty] | m2
| 100mm thick blockwork surfaces | [10 empty] | m2
TOTAL CARRIED TO SUMMARY
REINFORCING STEEL
BAR REINFORCING
Strip footing / Edge beam
| 20mm diameter reinforcing bar in ftng | [10 empty] | m
| 16mm diameter reinforcing bar in footing. | [10 empty] | m
| 12mm diameter reinforcing bar in footing. |  | Footing 1 | 3 | 49.09 | 147.27 |  |  |  |  | 260 | m
|  |  | lap | 18 | 0.45 | 8.1
|  | Footing 1 | corner | 24 | 0.384 | 9.216
lap = 0.45m minumum standard
|  | Corner = 32 x diameter | Footing 2 | 5 | 16.63 | 83.15
|  | (no of steel x no of corner x 32 x size of reinforcement | lap | 15 | 0.45 | 6.75
|  | Lap = 32.46/6 = 6 nos x 0.45m | corner | 12 | 0.384 | 4.608
259.094
|  | (32.46/6= |  |  |  | 260
5.41
384
Footing 2
lap = 0.45m minumum standard
Corner = 32 x diameter
(no of steel x no of corner x 32 x size of reinforcement
Lap = 16.63/6 = 3 nos x 0.45m
2.7717
(16.63/6=
2.7717
384
| 10mm diameter ties at 400mm c-c | [9 empty] | 260 | m
| 6mm diameter ties at 300mm c-c |  | Footing 1 | 115 | 0.9 | 103.5 |  |  |  |  | 135 | m
|  |  | Footing 2 | 35 | 0.9 | 31.5
|  | (32.46/0.3+6) = |  |  |  | 135
|  | 114.2 |  |  |  | 135
600-50-50 cover
400-50-50 cover
0.4
0.4
(500+100+100+100+100)
0.9
allow 100mm for all corners
(16.63/0.6+6) =
33.7167
Column
| 20mm dia reinforcing bar in column | [10 empty] | m
| 16mm diameter reinforcing bar in column. | [10 empty] | m
| 12mm diameter reinforcing bar in column | [10 empty] | m
| 10mm diameter ties at 300 c-c. | [10 empty] | m
| 6mm diameter ties at 300 c-c | [10 empty] | m
Blockwork
| 12mm starter bar including laps |  | External Wall | 57.1937 | 2.5 | 142.9844 |  |  |  |  | 169 | m
|  |  | lap | 57.1937 | 0.45 | 25.7372
Total Length of Blockwork = (2.035+2.12+5.55+0.87+10.0+2.0+2.25+0.19+1.14)+(1.2*3)
29.755
|  | External Wall |  |  |  | 168.7216
|  | (29.755/0.8+2 nos for every opening + 0.45m for lap |  |  |  | 169
57.1937
Internal Wall
(29.29/0.8+2 nos for every opening + 0.45m for lap
44.6125
| 10mm dia starter bar including laps | [10 empty] | m
Beam and Lintel
| 20mm diameter reinforcing bar in beam | [10 empty] | m
| 16mm dia reinforcing bar in beam |  | external | 6 | 39 | 234 |  |  |  |  | 0 | m
|  |  | lap | 24 | 0.45 | 10.8
|  | External Mean Perimeter: = 29.755 | Corner | 32 | 0.512 | 16.384
|  | Lap = 0.45m standard |  |  |  | 261.184
(29.755/6.00)=
4.9592
Corner = 32 x diameter of the steel
512
| 10mm diameter ties in beam. |  | Beam bar | 4 | 30.8 | 123.2 |  |  |  |  | 254 | m
|  |  | Lap | 6 | 0.45 | 2.7
|  | External Mean Perimeter: = 30.80 | Corner | 2 | 0.512 | 1.024
|  | (L+W)*2= |  |  |  | 126.924
|  | (10+5.8)*2 |  |  |  | 254
31.6
(4*2*0.5*0.2)
0.8
30.8
Lap = 0.45m standard
(30.80/6.00)=
5.1333
Corner = 32 x diameter of the steel
512
| 10mm diameter ties in beam. | [10 empty] | m
| 6mm diameter ties in beam @300mm c-c. |  | Bond ties | 100 | 0.6 | 60 |  |  |  |  | 60 | m
60
Total Perimeter = 29.755/0.30c-c
99.1833
Size of Beam = (400 x 200)
500-50-50cover
400
400+(100*2) for bend
600
: 600mm Girth
Concrete slab
| 12mm diameter in slab on ground | [10 empty] | m
| 12mm diameter in suspended slab | [10 empty] | m
| 10mm diameter in slab on ground | [10 empty] | m
| 10mm diameter in suspended slab | [10 empty] | m
MESH REINFORCING
| Steel fabric reinforcement in slab lapped at 300mm wide |  | From Plan | 1 | 1 | 10 | 6.63 | 66.3 |  |  | 67 | m2
66.3
67
| Extra value for raking cutting to fabric mesh reinforcement to suit profile of slab | [10 empty] | m
| Extra value for circular cutting to suit profile of slab | [10 empty] | m
| Extra value for cranking of fabric mesh reinforcement | [10 empty] | m
| Extra value for bending of fabric mesh reinforcement | [10 empty] | m
TOTAL CARRIED TO SUMMARY
STRUCTURAL STEEL
Preambles:
Actual size of each member shall be given, and
the tables used for calculating the mass of members shall be stated.
The type of base plate and thickness should also be stated when
scheduled. All types of welding shall be stated including thickness.
UB Portal frame
| UB Portal frame or similar up to 10m span (at 0-30kg/m)and erected to 0-6m high overall (in ……off) | [10 empty] | kg
| UB Portal frame or similar 10m to 15m span (at 0-37kg/m)and erected to 0-6m high overall (in ……off) | [10 empty] | kg
Cutting
| Apply splay cutting to end of portal frame | [10 empty] | m
| Ditto but to knee of portal frame | [10 empty] | m
Base plate
| Raking gusset cut and place in position | [10 empty] | m
| Profile cutting to gusset and place in position | [10 empty] | m
| Form holes on 10mm base plate exceeding 20mm but not exceeding | [10 empty] | no
30mm diameter
| 20-24mm dia holding bolt x 300mm long | [10 empty] | no
| Apply double v butt welding thick to apex and knee of portal frame | [10 empty] | m
| Apply fillet weld to plate 2mm thick | [10 empty] | m
| Apply fillet weld to plate 10mm thick | [10 empty] | m
| Apply site weld to gusset plate | [10 empty] | m
| Levelling and wedging base plate | [10 empty] | item
| Apply dry pack mortar under base plate -(0-100mm thick) | [10 empty] | m2
| Mild steel angle bracket welded to portal frame size: 102mm deep x 51mm wide | [10 empty] | no
drilled once to suilt 12mm dia bolt
| RHS -Rectangular hollow section up to 65mm x 40mm | [10 empty] | kg
| RHS -Rectangular hollow section over 65mm x 65mm | [10 empty] | kg
| UC- Universal column (0-40kg/m) bolted to concrete | [10 empty] | kg
| UC- Universal column (40-100kg/m) bolted to concrete | [10 empty] | kg
| Levelling and wedging base plate | [10 empty] | item
| Apply dry pack mortar under base plate-(0-100mm thick) | [10 empty] | m2
| UB- Universal beam welded to portal frame (0-40kg/m) | [10 empty] | kg
| UB- Universal beam welded to portal frame (40-100kg/m) | [10 empty] | kg
| UB- Universal beam welded to column (0-40kg/m) | [10 empty] | kg
| UB- Universal beam welded to column (40-100kg/m) | [10 empty] | kg
| UB- Universal beam bolted to portal frame (0-40kg/m) | [10 empty] | kg
| UB- Universal beam bolted to portal frame (40-100kg/m) | [10 empty] | kg
| UB- Universal beam bolted to column (0-40kg/m) | [10 empty] | kg
| UB- Universal beam bolted to column (40-100kg/m) | [10 empty] | kg
TOTAL CARRIED TO SUMMARY
BLOCKWORK
|  | 200mm thick blockwork laid in stretcher bond | [10 empty] | 954
|  | of 200mm high coursing with 10mm thick cement mortar (mix 1:3) | [10 empty] | 116
Exterior Wall
|  | To exterior wall (unfilled cells) | Ext Perimeter | 1 | 1 | 29.595 | 2.5 | 73.9875 |  |  | 63 | m2 | 771.75
|  | 29.595 | ddt ww 4, 7 | -2 | 1 | 0.85 | 1.2 | -2.04
|  | Exterior wall/Perimeter = 29.755 | ddt ww 5, 6 | -2 | 1 | 1.8 | 1.4 | -5.04
|  | 29.755 | ddt ww 3,8,9 | -1 | 1 | 0.6 | 0.6 | -0.36
|  | Height of wall = 2.500 | ddt wd 10,11 | -2 | 1 | 1.4 | 1.4 | -3.92
2.5
62.6275
63
|  | Solid filling to cells of blockwork | ditto |  |  |  |  | 63 |  |  | 63 | m2
70
|  | Intermittent filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Interior wall
|  | To interior wall (unfilled cells) | Int. Perimeter | 1 | 1 | 4.2 | 2.5 | 10.5 |  |  | 6 | m2 | 73.5
|  | 4.2 |  | -3 | 1 | 0.8 | 1.95 | -4.68
|  | Interior wall/Perimeter = 6 | [5 empty] | 5.82
6
Height of wall = 2.600-0.40=
2.2
|  | Solid filling to cells of blockwork | ditto |  |  |  |  | 6 |  |  | 6 | m2
|  | Intermittent filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Isolated column / pier
|  | To isolated column | [9 empty] | m2
|  | Intermittent filling to column | [9 empty] | m
150mm thick blockwork laid in stretcher bond
of 200mm high coursing with cement mortar (mix 1:3)
Exterior wall
|  | To exterior wall (unfilled cells) | [9 empty] | m2
|  | Solid filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Interior wall
|  | To interior wall (unfilled cells) | [9 empty] | m2
|  | Solid filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Isolated column / pier
|  | To isolated column | [9 empty] | m2
|  | Intermittent filling to column | [9 empty] | m
100mm thick blockwork laid in stretcher bond
of 200mm high coursing with cement mortar (mix 1:3)
Exterior wall
|  | To exterior wall (unfilled cells) | [9 empty] | m2
|  | Solid filling to blockwork cells | [9 empty] | m2
|  | Intermittent filling to blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Interior wall
|  | To interior wall (unfilled cells) | [9 empty] | m2
|  | Solid filling to blockwork cells | [9 empty] | m2
|  | Intermittent filling to blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Isolated column / pier
|  | To isolated column | [9 empty] | m2
|  | Intermittent filling to column | [9 empty] | m
|  | Extra value for Knock out inside of one course concrete blocks for beam | [9 empty] | m
|  | Extra value for Block up bottom of concrete blocks for beam. | [9 empty] | m
|  | Extra value for Knock out inside of one course concrete blocks for lintel | [9 empty] | m
|  | Extra value for Block up bottom of concrete blocks for lintel. | [9 empty] | m
|  | 200mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 15 courses
|  | 200mm thick blockwork projecting 400mm from wall in | [9 empty] | no |  | 0.2 | 12
12 courses
|  | 200mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 10 courses
|  | 200mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 15 courses
|  | 200mm thick blockwork projecting 200mm from wall in | [9 empty] | no
12 courses
|  | 200mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 10 courses
|  | 200mm thick blockwork set back 400mm from wall | [9 empty] | no
in 15 courses
|  | 200mm thick blockwork set back 400mm from wall in | [9 empty] | no
12 courses
|  | 200mm thick blockwork set back400mm from wall | [9 empty] | no
in 10 courses
|  | 200mm thick blockwork set back 200mm from wall | [9 empty] | no
in 15 courses
|  | 200mm thick blockwork set back 200mm from wall in | [9 empty] | no
12 courses
|  | 200mm thick blockwork set back200mm from wall | [9 empty] | no
in 10 courses
|  | 150mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 15 courses
|  | 150mm thick blockwork projecting 400mm from wall in | [9 empty] | no
12 courses
|  | 150mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 10 courses
|  | 150mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 15 courses
|  | 150mm thick blockwork projecting 200mm from wall in | [9 empty] | no
12 courses
|  | 150mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 10 courses
|  | 150mm thick blockwork set back 400mm from wall | [9 empty] | no
in 15 courses
|  | 150mm thick blockwork set back 400mm from wall in | [9 empty] | no
12 courses
|  | 150mm thick blockwork set back 400mm from wall | [9 empty] | no
in 10 courses
|  | 150mm thick blockwork set back 200mm from wall | [9 empty] | no
in 15 courses
|  | 150mm thick blockwork set back 200mm from wall in | [9 empty] | no
12 courses
|  | 150mm thick blockwork set back 200mm from wall | [9 empty] | no
in 10 courses
|  | 100mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 15 courses
|  | 100mm thick blockwork projecting 400mm from wall in | [9 empty] | no
12 courses
|  | 100mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 10 courses
|  | 100mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 15 courses
|  | 100mm thick blockwork projecting 200mm from wall in | [9 empty] | no
12 courses
|  | 100mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 10 courses
|  | 100mm thick blockwork set back 400mm from wall | [9 empty] | no
in 15 courses
|  | 100mm thick blockwork set back 400mm from wall in | [9 empty] | no
12 courses
100mm thick blockwork set back 400mm from wall
|  | in 10 courses | [9 empty] | no
|  | 100mm thick blockwork set back 200mm from wall | [9 empty] | no
in 15 courses
|  | 100mm thick blockwork set back 200mm from wall in | [9 empty] | no
12 courses
|  | 100mm thick blockwork set back 200mm from wall | [9 empty] | no
in 10 courses
|  | Fairface pointing | [9 empty] | m2
|  | Raking out for flashing 0-100mm wide | [9 empty] | m
|  | Raking out for flashing 100-200mm wide | [9 empty] | m
|  | Hole in 200mm blockwork for small pipe. | From Plan |  |  |  |  | 6 |  |  | 6 | no
|  | Hole in 150mm blockwork for small pipe. | [9 empty] | no
|  | Hole in 100mm blockwork for small pipe. | [9 empty] | no
|  | Hole in 200mm blockwork for large pipe. | From Plan |  |  |  |  | 1 |  |  | 1 | no
|  | Hole in 150mm blockwork for large pipe. | [9 empty] | no
|  | Hole in 100mm blockwork for large pipe. | [9 empty] | no
Labour - 1 labourer at 1.3 mhrs
|  | 200mm thick block used as ventilation block and fixed with | [9 empty] | no
cement mortar in mix 1: 3
|  | 150mm thick block used as ventilation block and fixed with | [9 empty] | no
cement mortar in mix 1: 3
|  | 100mm thick block used as ventilation block and fixed with | [9 empty] | no
cement mortar in mix 1: 3
TOTAL CARRIED TO SUMMARY
METAL WORK
Note: The tables used for calculating the mass of members shall be stated.
|  | 50mm diameter galvanised pipe handrails complete with 3 no rails and | [9 empty] | m
intermediate post 3no, @ 600mm c-c, size 1000mm long x 900mm high
cast in concrete.
|  | 75mm diameter galvanised pipe handrails complete with 3no rail and | [9 empty] | m
intermediate post 3no @ 600mm c-c, size 1000mm long x 900mm high
cast in concrete
|  | 50mm diameter galv. pipe post complete with L-shaped bracket | [9 empty] | no
welded at top, drilled twice for 12mm diameter bolts, and
base cast in concrete, 3000mm long.
|  | 75mm diameter galv. pipe post complete with L-shaped bracket | From Plan | [8 empty] | no
welded at top, drilled once for 12mm diameter bolts, and
base cast in concrete, 3000mm long.
|  | 12mm diameter galvanised bolts complete with nut and 2 | From Plan | [8 empty] | no
washes, fixed to timber beam
|  | 12mm diameter galvanised bolts complete with nut and 2 | [9 empty] | no
washers, cast in concrete beam to holding down bolts.
TOTAL CARRIED TO SUMMARY
METAL WINDOWS AND DOORS
Note the following trade covers some materials that are not available
on S. Tarawa. Therefore the prices for such materials are to be
sought from suppliers first.
|  | Shop front overall size: 2.4m x 1.2m high complete with proprietary fittings and | [9 empty] | no
and associated components
|  | Aluminium door size 800 x 1950 mm high complete with frame, and | [9 empty] | no
associated proprietary fittings
|  | Aluminium door size 1600x 1950mm high complete with frame, and | [9 empty] | no
associated proprietary fittings
|  | Louver frame- 12 blade | [9 empty] | pair | 24
|  | Louver frame-10 blade | [9 empty] | pair
|  | Louver frame - 9 blade | w5,w6,w10,w11 | [7 empty] | 14 | pair | 126
|  | Louver frame- 8-blade | w1,w4,w7 | [7 empty] | 3 | pair | 24
|  | Louver frame-7blade | [9 empty] | pair
|  | Louver frame-6 blade | [9 empty] | pair
|  | Louver frame -5blade | [9 empty] | pair
|  | Louver frame -4blade | w9 | 1 | 1 | 1 |  |  |  |  | 1 | pair
|  | 0.6 |  |  |  | 1
|  | 150x25mm timber louver window | w3,8 | 1 | 4 | 0.6 | 2.4 |  |  |  | 11 | m
|  | 1.8 | w8 | 1 | 12 | 0.7 | 8.4
10.8
11
TOTAL CARRIED TO SUMMARY
CARPENTRY
Dampcourse
|  | 200mm wide damp-proof coursing laid under 200mm wide timber |  | 1 | 29.595 | 29.595 |  |  |  |  | 30 | m
30
Total Exterior Mean Perimeter = (46.20)
|  | 150mm wide damp-proof coursing laid under 150mm wide timber | [9 empty] | m
|  | 100mm wide damp-proof coursing laid under 100mm wide timber | [9 empty] | m
Sub floor framing
|  | 100x100mm jack stud | [9 empty] | m
|  | 200x50mm floor joist including noggings. | [9 empty] | m
|  | 300x50mm floor joist including noggings. | [9 empty] | m
|  | 100x50mm herringbone strutting. | [9 empty] | m
|  | 150x50mm herringbone strutting | [9 empty] | m
|  | 200x50mm herringboe strutting | [9 empty] | m
Beam / Bearer
|  | 150x50mm timber beam bolted to pvc post. |  | 1 | 6.015 | 6.015 |  |  |  |  | 7 | m
7
Timber beam = 0.1+2.5+3.315+0.1
6.015
|  | 150x75mm timber beam / bearer bolted to post. | [9 empty] | m
|  | 200x50mm timber beam / bearer bolted to post. | [9 empty] | m
|  | 200x75mm timber beam / bearer bolted to post. | [9 empty] | m
|  | 200x100mm timber beam/bearer bolted to post. | [9 empty] | m
|  | 300x100mm timber beam/bearer bolted to post. | [9 empty] | m
Timber Piles
|  | 300mm diameter timber pile set in concrete base | [9 empty] | m
|  | 200mm diameter timber pile set in concrete base | [9 empty] | m
|  | 100x100mm timber post on bowmac post U-bracket | [9 empty] | no
galvanised steel with base plate for bolted connection to suilt 100mm
timber
|  | 100mm pvc pipe post filled with concrete | From plan | 2 | 3 | 6 |  |  |  |  | 6 | m
6
Plate
|  | 200x50mm wall plate bolted at 1500mm c-c |  | 1 | 49.09 | 49.09 |  |  |  |  | 50 | m
50
Total Mean Perimeter = (32.46 + 16.63)
49.09
|  | 100x50mm wall plate bolted at 1500mm c-c | [9 empty] | m
Wall framing
Plate
|  | 75x50mm (M.G) top & btm plate | [9 empty] | m
|  | 100x50mm (M.G) top & btm plate |  | 1 | 2 | 18.145 | 36.29 |  |  |  | 37 | m | 222
|  | 7.69 |  |  |  |  | 37
5.57
2.5
2.385
18.145
38
Stud
|  | 75x50mm (M.G) | [9 empty] | m
|  | 100x50mm (M.G) |  | 1 | 31 | 2.45 | 75.95 |  |  |  | 185 | m
|  | 31.7541 |  | 1 | 6 | 18.15 | 108.9
|  | 6.0164 |  |  |  |  | 184.85
185
|  | 150x50mm | [9 empty] | m
Jack stud
|  | 75x50mm (M.G) | [9 empty] | m
|  | 100x50mm (M.G) | [9 empty] | m
|  | 150x50mm | [9 empty] | m
Dwang
|  | 75x50mm (M.G) | [9 empty] | m
|  | 100x50mm (M.G) | [9 empty] | m
|  | 150x50mm | [9 empty] | m
Beam and Lintel
|  | 100x100mm | [9 empty] | m
|  | 150x100mm | [9 empty] | m
|  | 200x100mm | [9 empty] | m
|  | 250x100mm | [9 empty] | m
Bracing
|  | Metal angle diagonal bracing | [9 empty] | m
|  | Plywood sheet bracing fixed over framing (Gusset) | From plan | 1 | 112 | 0.5 | 0.4 | 22.4 |  |  | 23 | m2
|  | Assumption Size = 500 x 400 | [5 empty] | 22.4
23
TR-0 = 9*6*2
112
Assumption Size = 500 x 400
TR-3 = 2*16
32
Roof and ceiling framing
Ceiling joist
|  | 100x50mm | [9 empty] | m
|  | 150x50mm | [9 empty] | m
|  | 50x50mm | From plan | 19 | 6.63 | 125.97 |  |  |  |  | 256 | m
|  |  |  | 13 | 10 | 130
| Main Building | (10000/610)= |  |  |  | 255.97
|  | 16.3934 |  |  |  | 256
18.3934
| Main Building | (6630/610)=
10.8689
12.8689
| Extension | (6600/610)=
10.8197
12.8197
| Extension | (4680/610)=
7.6721
9.6721
Ceiling dwang
|  | 100x50mm | [9 empty] | m
|  | 150x50mm | [9 empty] | m
|  | 50x50mm | [9 empty] | m
Rafter
|  | 100x50mm | From plan | 9 | 9.41 | 84.69 |  |  |  |  | 107 | m
|  |  |  | 10 | 2.2 | 22
(4.705*2)= TR-1
9.41
|  | (2.2)= TR1 |  |  |  | 106.69
|  | 2.2 |  |  |  | 107
(4.68)=Extension
Verandha = (294+50+928+50+940+50+950)
|  | 150x50mm | [9 empty] | m
|  | 200x50mm | [9 empty] | m
Collar Tie/Bottom Chord
|  | 100x25mm | [9 empty] | m
|  | 100x50mm | From Plan | 9 | 8.23 | 74.07 |  |  |  |  | 75 | m
|  | (8.23)= TR-0 |  |  |  | 74.07
|  | 8.23 |  |  |  | 75
|  | 200x25mm | [9 empty] | m
Strut and Brace
|  | 150x50mm | [9 empty] | m
|  | 100x50mm | From Plan | 9 | 11.595 | 104.355 |  |  |  |  | 105 | m | 287
|  | TR-0 = (5140+5140+1315) | [10 empty] | 36.875
|  | 11.595 |  |  |  | 104.355
105
|  | 75x50mm | From Plan | 7 | 4.502 | 31.514 |  |  |  |  | 0 | m
|  |  |  | 2 | 4.118 | 8.236
|  | TR-0 = (437+1383+862+1383+437) |  |  |  | 39.75
4.502
TR-3 = (127+314+500+687+862+687+500+314+127)
4.118
|  | 50x50mm | [9 empty] | m
|  | Hip rafter | From Plan | 8 | 3 | 24
|  | 100x50mm | [8 empty] | 24 | m
|  | 3 |  |  |  | 24
24
|  | 150x50mm | [9 empty] | m
|  | 200x50mm | [9 empty] | m
Valley rafter
|  | 100x50mm | [9 empty] | m
|  | 150x50mm | [9 empty] | m
|  | 200x50mm | [9 empty] | m
Valley Board
|  | 200x50mm | [9 empty] | m
|  | 200x25mm | [9 empty] | m
Prefabricated roof trusses (erection only)
|  | Up to 6m span |  | 9 | 9 | [5 empty] | 9 | no
9
TR-0 = 9numbers
9
|  | 9m span | [9 empty] | No
|  | 12m span | [9 empty] | No
Purlin
|  | 100x50mm | [9 empty] | m
|  | 75x50mm | From plan | 12 | 11.6 | 139.2 |  |  |  |  | 206 | m
|  |  |  | 8 | 8.23 | 65.84
Length of the Main Building = 10000
|  | Length of Overhang = 800 x 2 sides |  |  |  | 205.04
|  | 11.6 |  |  |  | 206
Length of the Side Purlin = 6630
Length of Overhang = 800 x 2 sides
8.23
Length of the Verandha = 5800
Length of Overhang = 600 x 2 sides
|  | 50x50mm | [9 empty] | m
Eaves Framing
|  | 75x50mm | [9 empty] | m
|  | 100x50mm | [9 empty] | m
|  | 150x50mm | [9 empty] | m
|  | 50x50mm |  | 3 | 11.2 | 33.6 |  |  |  |  | 34 | m
34
Length of the Main Building = 10000
Length of Overhang = 600 x 2 sides
11.2
Fascia board
|  | 200x25mm | From Plan | 2 | 11.2 | 22.4 |  |  |  |  | 39 | m
|  |  |  | 2 | 8.23 | 16.46
|  | Length of the Main Building = 10000 |  |  |  | 38.86
|  | Length of Overhang = 600 x 2 sides |  |  |  | 39
11.2
Length of the Side Elevation = 6630
Length of Overhang = 800 x 2 sides
8.23
Barge board
|  | 200x25mm | main building | 4 | 3 | 12 |  |  |  |  | 12 | m
|  | Length of Roof main building = 3000 |  |  |  | 12
|  | 3 |  |  |  | 12
Length of Roof extension = 4680
4.68
Ridge board
|  | 150x25mm | [9 empty] | m
|  | 200x25mm | [9 empty] | m
|  | 100x50mm | [9 empty] | m
Battens
Furring to floors, walls, ceilings and the like shall be measured seperately in
metres
Floors
|  | 20x 6mm strip batten | [9 empty] | m
|  | 50x6mm strip batten | [9 empty] | m
|  | 100x10mm strip batten | [9 empty] | m
Walls
|  | 20x 6mm strip batten | [9 empty] | m
|  | 50x6mm strip batten | [9 empty] | m
|  | 100x10mm strip batten | [9 empty] | m
Ceiling
|  | 20x 6mm strip batten | [9 empty] | m
|  | 50x6mm strip batten | [9 empty] | m
|  | 100x10mm strip batten | [9 empty] | m
Flooring and linings
|  | Plywood flooring on noggings | [9 empty] | m2
|  | Tongue and grooved 100x25mm | [9 empty] | m2
|  | Tongue and grooved 100x25mm end matched | [9 empty] | m2
|  | Particle board 20mm thick | [9 empty] | m2
|  | Extra value for forming mitred angles | [9 empty] | m
|  | Extra value for forming inscribed angles | [9 empty] | m
|  | Extra value for stripping lining not exceeding 300mm wide | [9 empty] | m
Sheathings to beams, columns, and dados
|  | Hardboard cladding | [9 empty] | m2
|  | Gib plastered board | [9 empty] | m2
|  | Raking cutting to lining | [9 empty] | m
|  | Form recess in lining for light fittings | [9 empty] | no
|  | Sanding to surface of flooring to receive a smooth finish | [9 empty] | m2
(Flush and clean, fine sanding to floor including punching nails and filling holes)
Lining and Cladding
Wall
|  | Fibre Cement lining nailed on timber frame |  | 1 | 1 | 0 |  | 0 |  |  |  | m2
|  | Wall cladding nailed on timber framing . |  | 1 | 2 | 22 | 2.45 | 107.8 |  |  | 77 | m2 | 189
|  |  | ddtn dr opng | -5 | 1 | 0.8 | 2 | -8
|  | 21.575 | ddtn wd opng | -1 | 1 | 0.7 | 1.2 | -0.84
|  | 22.115 | [5 empty] | 98.96
77
|  | Extra value to lining not exceeding 300mm girth | [5 empty] | 0 |  |  |  | m
0
|  | Stop last with appropriate stopping compound to receive paint finish level | [5 empty] | 0 |  |  |  | m2
0
|  | Rake cutting to last | [5 empty] | 0 |  |  |  | m
0
|  | Circular cutting to last | [5 empty] | 0 |  |  |  | m
0
|  | Form fair edges to internal angle | [5 empty] | 0 |  |  |  | m
0
|  | Form fair edges to external angle | [5 empty] | 0 |  |  |  | m
|  | Eaves, Gable, & Verge | [10 empty] | 65.625
Eaves
|  | Fibre cement cladding to eaves |  | 1 | 2 | 11.6 | 1.5 | 34.8 |  |  | 35 | m2
35
Length of the Main Building = 10000+800 for both sides
11.6
Length of Overhang = 1500 x 2 sides
1.5
|  | Extra value to lining not exceeding 300mm girth | [9 empty] | m
|  | Stop last with appropriate stopping compound to receive paint finish level | [9 empty] | m
|  | Rake cutting to last | [9 empty] | m
|  | Circular cutting to last | [9 empty] | m
|  | 100x25mm timber batten to eaves | [9 empty] | m
Gable end
|  | Corrugated Steel cladding to gable |  | 1 | 2 | 6.6825 | 2.2 | 29.403 |  |  | 30 | m2 | 10.9733
8230+5135 | [7 empty] | 30
13366 |  | width of main building = 8230+5135
6.683 |  | height of truss = 2200
: so (A+B)/2 x height
|  | Extra value to lining not exceeding 300mm girth | [9 empty] | m
|  | Stop last with appropriate stopping compound to receive paint finish level | [9 empty] | m
|  | Rake cutting to last | [9 empty] | m
|  | Ex 150x25mm fixed timber louvre to gable |  | 2 | 19.215 | 38.43 |  |  |  |  | 39 | m
|  | (2.135*9) |  |  |  | 39
19.215
Verge soffit
|  | Hardboard cladding to verge soffit |  | 1 | 4 | 3 | 0.8 | 9.6 |  |  | 10 | m2
10
Length of barge board = 3000
Overhang = 800 x 2 sides=
0.8
|  | Extra value to lining not exceeding 300mm girth | [9 empty] | m
|  | Stop last with appropriate stopping compound to receive paint finish level | [9 empty] | m
|  | Rake cutting to last | [9 empty] | m
|  | 100x25mm timber batten to eaves | [9 empty] | m
Ceiling
|  | Hardboard ceiling or smilar | From prev. calc. | 1 | 1 | 10 | 6.63 | 66.3 |  |  | 67 | m2
|  | main building size = 10000 x 6630 | [5 empty] | 66.3
67
|  | Extra value to lining not exceeding 300mm girth | [9 empty] | m
|  | Stop last with appropriate stopping compound to receive paint finish level | [9 empty] | m
|  | Rake cutting to last | [9 empty] | m
|  | Form mitred internal corners to cornice | [9 empty] | no
Finishing trim
|  | 50x25mm birdbatten | [9 empty] | m
|  | 20x20mm moulded scotia | From plan | 1 | 40.63 | 40.63 |  |  |  |  | 41 | m
41
All rooms
(0.87+2.25+1+10+3.25+10)+(3.315*4)
40.63
|  | 50x25mm grooved skirting | [9 empty] | m
|  | 50x15mm grooved Architraves | [9 empty] | m
|  | 150x15mm sill board | [9 empty] | m
|  | 250x15mm stopper |  | 1 | 33.26 | 33.26 |  |  |  |  | 34 | m
|  | (10+10)+(3.315*4) |  |  |  | 34
33.26
TOTAL CARRIED TO SUMMARY
PROPRIETARY TOILET SCREENS
Note: Proprietary or specifically designed screens for toilet, showers, etc, shall be
described in accordance with the manufacturer's catalogue and / or as defined by
the drawings and specifications
TOTAL CARRIED TO SUMMARY
COMPUTER FLOORS
Note: Proprietary or specifically designed computer floors shall be described
in accordance with the manufacture'rs catalogue and / or as defined by the drawings
and specifications and scheduled approprieately.
TOTAL CARRIED TO SUMMARY
SEALANTS
Note: Joint sealing compound shall be measured in meters, stating the type, grade,
sectional size and backing material required. Primers for sealants and masking shall
be deemed to be included
Expansion joint 12mm wide filled with fibreboard and polysulphide sealant 25mm
deep
|  | In concrete slab (100-150mm thick) | [9 empty] | m
|  | In concrete wall (150-250mm thick) | [9 empty] | m
|  | Vertical control joint, 10mm wide in wall, includes polyethylene rod and | [9 empty] | m
mastic pointing
TOTAL CARRIED TO SUMMARY
LAMINATED TIMBER
Note: Rates shall include for manufacture, delivery, hoisting and fixing in
position complete with all nails, fitting, cutting, boring, morticing and the like and
including protection where necessary
Portal frame, of laminated rafters, and legs including metal base shoes
|  | and plywook fixings | [9 empty] | no
|  | Take delivery, hoist, set, and fix in postion 12m span Portal frame | [9 empty] | no
|  | Ditto but 15 span | [9 empty] | no
|  | Ditto but 20m span | [9 empty] | no
|  | Ditto but 25m span | [9 empty] | no
Laminated beam
|  | Take delivery, hoist, set, and fix in postion laminated beam | [9 empty] | no
in H1 Radiata pine, sanded melamine adhesive industrial sealed 42-90mm
thick by 450mm deep
TOTAL CARRIED TO SUMMARY
JOINERY
Preambles:
For joinery works this shall mean all items such as doors, windows, frames,
cupboards, and the like normally constructed in joinery centres
Windows:
|  | 200x50mm , treated timber pine window head and jamb | From Plan | 3 | 3.25 | 9.75 |  |  |  |  | 19 | m
|  |  |  | 2 | 4.5 | 9
|  | wd 1,4,7 = zise of 850x1200 |  | 2 | 4.6 | 9.2
|  | 3.25 |  | 1 | 1.8 | 1.8
|  | wd3,8 =zise of 700x1900 |  | 2 | 4.2 | 8.4
|  | 4.5 |  |  |  | 18.75
|  | wd 5,6 = zise of 1800x1400 |  |  |  | 19
4.6
wd 9 = zise of 600x600
1.8
wd 10,11 = zise of 1400x1400
4.2
|  | 200x50mm treated timber pine window mullion | wd 5,6,10,11 | 10 | 1.3 | 13 |  |  |  |  | 13 | m
|  | Size for 3 bay window = (1200x4numbers) |  |  |  | 13
|  | Size for 2 bay window = (1865) |  |  |  | 13
|  | 200x50mm treated timber pine window sill | [8 empty] | 11 | m
|  | Size for 3 bay window = (1400) | wd 1,4,7 | 3 | 0.85 | 2.55
|  | Size for 4 bay window = (1800) | wd 3,8 | 2 | 0.7 | 1.4
|  | Size for 1 bay window = (870) | wd 5,6 | 2 | 1.8 | 3.6
|  | Size for 1 bay window = (630) | wd 9 | 1 | 0.6 | 0.6
|  |  | wd 10,11 | 2 | 1.4 | 2.8
10.95
11
|  | 100x50mm , once rebated , grooved dakua window head and jamb | wd 1 | 1 | 1 | 3.2 | 3.2 |  |  |  | 4 | m
|  | 3.2 |  |  |  |  | 4
|  | 100x50mm dakua window mullion | [9 empty] | m
|  | 150x50mm grooved and bevelled dakua window sill | [9 empty] | m
Doors
|  | 200x50mm , treated timber pine door head and jamb | From Plan | 8 | 4.9 | 39.2 |  |  |  |  | 40 | m
|  | Size of single door = 2040 height x 2 side, 820 width |  |  |  | 39.2
|  | 4.9 |  |  |  | 40
|  | 200x50mm grooved and bevelled dakua door sill | [9 empty] | m
|  | 100x50mm , once rebated , grooved dakua door head and jamb | [9 empty] | m
|  | 150x50mm grooved and bevelled dakua door sill | [9 empty] | m
Doors
Preambles:
Rates for door do not include for ironmongery unless otherwise
stated.
|  | 2040x820x40mm standard flush door with marine ply lining | From Plan | 8 | 8 | [5 empty] | 8 | no
7
|  | 2000x800x40mm standard flush door with hardboard lining. | [9 empty] | no
|  | 2000x800x40mm solid core door with top perspex panel. | [9 empty] | no
|  | 2000x800x40mm panel door with perspex at top and plywood at | [9 empty] | no
bottom
Stairs
Timber for stairs (closed stair)
|  | 2no -250x50mm string | [9 empty] | m
|  | 300x40mm tread | [9 empty] | m
|  | 200x25mm riser | [9 empty] | m
|  | 100x50mm wedges / glue blocks (13no per m at 300mm long) | [9 empty] | m
Timber for stairs (Open stair)
|  | 2no -300x50mm undercarriage | [9 empty] | m
|  | 300x40mm tread | [9 empty] | m
|  | 200x25mm riser | [9 empty] | m
|  | 100x50mm wedges / glue blocks (13no per m at 300mm long) | [9 empty] | m
|  | Include bracket / cleat fixings | [9 empty] | sum
Newel
|  | 100x100mm newel | [9 empty] | m
Handrail
|  | 1000mmx800mm high handrail 100x50mm top and btm frame and 100x25mm | [9 empty] | m
hit and miss boarding at 100mm c-c, (11nos)
|  | Extra value over straight handrails to changes in direction and level | [9 empty] | no
(Allow 30% extra loading for labour and material to account for such effects)
Fittings:
Preambles
For fitments these shall be quoted from the individual joinery suppliers. The
actual dimensions shall also be obtained from the working drawing or vice versa
from the joinery centres
Take delivery and handover to carpenter the following fitment to install in position
|  | Executive desk | [9 empty] | no
|  | Counter shelve | [9 empty] | no
|  | Conference table | [9 empty] | no
|  | Receptition desk | [9 empty] | no
|  | Table | [9 empty] | no
|  | chairs | [9 empty] | no
|  | Bed | [9 empty] | no
|  | Student desk | [9 empty] | no
|  | wardrobe | [9 empty] | no
|  | cupboard | [9 empty] | no
TOTAL CARRIED TO SUMMARY
HARDWARE
|  | 100mm butt brass hinges with screws. | From Plan | 21 | 21 | [5 empty] | 21 | no
21
|  | Plain mortice lock complete with handles and keys. | [9 empty] | no
|  | Rebated mortice lock complete with handles and keys. | From Plan | 7 | 7 | [5 empty] | 7 | no
7
|  | Night latch lock complete with handles and keys. | [9 empty] | no
|  | 100mm barrel bolts with screws. | From Plan | 2 | 2 | [5 empty] | 0 | no
|  | 150mm barrel bolts with screws. | [9 empty] | no
|  | Toilet indicator bolt with screws. | [9 empty] | no
Toilet Roll Holders
|  | Standard toilet roll holder, screw fixed to wall | From Plan | 1 | 1
|  | Chrome finish |  |  | 1 | [5 empty] | 1 | no
TOTAL CARRIED TO SUMMARY
ROOFING
|  | Approved corrugated roof zincalume or similar fix at the height of 2-3m from ground floor |  | 1 | 2 | 11.6 | 4.705 | 109.156 |  |  | 110 | m2
on timber purlin with side laps of 710mm and end laps of 200mm
109.156
|  | Length of slanting roof for main building = 4705 | [5 empty] | 110
Total length of building 10000 + Overhang 800 x 2 sides
11.6
Length of slanting roof for main building = 4680
Total length of building 7000 + Overhang 600 x 2 sides
16.338
Netting and Paper
|  | Sisalation alum. foil one side fix over purlin and lapped at 300mm wide | From prev. calc. |  |  |  |  | 110 |  |  | 110 | m2
|  | Wire mesh | [9 empty] | m2
|  | Alum. ridge capping |  | 1 | 11.6 | 11.6 |  |  |  |  | 12 | m
12
Total length of building 10000 + Overhang 800 x 2 sides
11.6
|  | Alum hip capping | [9 empty] | m
|  | Alum. roof flashing. |  | 1 | 12 | 12 |  |  |  |  | 12 | m
|  | Same as barge board = |  |  |  | 12
12
|  | Extra value for rake cutting to both sides of hips | [9 empty] | m
|  | Extra value for rake cutting to roof sheet | [9 empty] | m
|  | Extra value for forming opening for vent pipe, 0-100mm diameter | [9 empty] | no
|  | Alum valley gutter | [9 empty] | m
Flashings
|  | Form flashing to vent pipe | [9 empty] | no
|  | Wire mesh ballon or similar to vent pipe | [9 empty] | no
|  | Fixing of Alum eaves guttering with bracket as necessary |  | 1 | 38.86 | 38.86 |  |  |  |  | 39 | m
|  | 38.86 |  |  |  | 39
Same as fascia board = 38860
38.86
|  | Stop ends | From Plan | [7 empty] | 0 | no
|  | External mitre joint to gutter. | From Plan |  |  |  |  | 4 |  |  | 4 | no
|  | Internal mitre joint to gutter. | From Plan |  |  |  |  | 4 |  |  | 4 | no
|  | Outlet to gutter 100mm diameter. | From Plan |  |  |  |  | 1 |  |  | 1 | no
|  | Outlet to gutter 75mm diameter. | [9 empty] | no
|  | 100mm diameter Pvc downpipe including clips fixed to wall | [5 empty] | 36 |  |  | 36 | m
Assumption = 12 x 3
36
|  | 100mm diameter bend | [5 empty] | 3 |  |  | 3 | no
Assuption = 3 nos per outlet
3
|  | 100mm diameter tee | [9 empty] | no
|  | 75mm diameter downpipe including clips. | [9 empty] | m
|  | 75mm diameter bend | [9 empty] | no
Labour - 1 plumber at 1.0 mhrs
100mm pvc bend
Add 10% waste
|  | 75mm diameter tee | [9 empty] | no
TOTAL CARRIED TO SUMMARY
PLUMBING
Pipework
|  | Incoming pvc pipe 15mm diameter pvc fixed with clips on wall for water reticulation | [5 empty] | 12 |  |  | 12 | m
Assumption: 12m
|  | Incoming pvc pipe 25mm diameter pvc fixed with clips on wall for water reticulation | [5 empty] | 36 |  |  | 36 | m
Assumption: 36m
|  | Extra value for 15mm diameter bend | [5 empty] | 20 |  |  | 20 | no
Assumption: 20nos
|  | Extra value for 15mm diameter tee | [5 empty] | 12 |  |  | 12 | no
Assumption: 12nos
|  | Extra value for 15mm diameter male adaptor | [5 empty] | 24 |  |  | 24 | no
Assumption of 12 valves and 2nos per valve
|  | Extra value for 15mm diameter female adaptor | [5 empty] | 12 |  |  | 12 | no
Assumption of 12 valves and 1nos per tap
|  | Extra value for 25mm diameter bend | [5 empty] | 12 |  |  | 12 | no
Assumption: 12nos
|  | Extra value for 25mm diameter tee | [5 empty] | 12 |  |  | 12 | no
Assumption: 12nos
|  | 25x15mm diameter Reducing bush | [5 empty] | 2 |  |  | 2 | no
Assumption of 2nos
|  | Stop Valve 15mm diameter | [5 empty] | 6 |  |  | 6 | no
Assumption of 6 valves
|  | 80mm diameter pvc pipe running from plumbing fittings and terminated outside | [5 empty] | 36 |  |  | 36 | m
building
Assumption of 36m
|  | 80mm diameter pvc bend | [5 empty] | 10 |  |  | 10 | no
Assumption: 10nos
|  | 80mm diameter tee | [5 empty] | 8 |  |  | 8 | no
Assumption: 8nos
|  | 40x32mm reducing bush | [9 empty] | no
Assumption:
|  | 32mm diameter pvc pipe running from plumbing fittings and terminated outside | [9 empty] | m
building
|  | 32mm diameter pvc bend | [9 empty] | no
|  | 32mm diameter tee | [9 empty] | no
no
Vent pipe
|  | 100mm diameter pvc vent pipe fixed with clips to wall | [5 empty] | 6 |  |  | 6 | m
Assumption of 6m
|  | 100mm diameter pvc tee | [5 empty] | 1 |  |  | 1 | no
Assumption: 1nos
|  | 100mm diameter bend | [5 empty] | 5 |  |  | 5 | no
Assumption: 5nos
Plumbing fittings
|  | W.C. pan suite complete with cistern, seat, lid, gate valve, and | From plan |  |  |  |  | 1 |  |  | 1 | no
pan adaptor.
|  | Wash hand basin complete with bracket, cold tap, trap, and | From plan |  |  |  |  | 3 |  |  | 3 | no
plug and waste.
Sink unit of double bowl double drainer 1800mm long complete
|  | with cold tap, trap, and plug and waste. | [9 empty] | no
|  | Sink unit of single bowl double drainer 1800mm long complete | [5 empty] | 1 |  |  | 1 | no
with cold tap, trap, and plug and waste.
|  | Laundry trough single unit complete with cold tap, trap, and | [9 empty] | no
plug and waste
|  | Laundry trough double unit complete with cold tap, trap, and | From plan | [7 empty] | 0 | no
plug and waste
|  | Bath tub 1800mm long complete with trap, standpipe with tap, | [9 empty] | no
and plug and waste
|  | Shower tray complete with trap, plug and waste. | From plan |  |  |  |  | 1 |  |  | 1 | no
|  | Shower unit complete with shower arm, rose, and valve. | From plan |  |  |  |  | 1 |  |  | 1 | no
TOTAL CARRIED TO SUMMARY
DRAINAGE
Preambles:
Rates for trenching include excavation, backfilling, consolidating, carting away
surplus material, maintaining and supporting sides of trenches, grading bottoms,
and keeping free from water
|  | Excavate trench for pipe 0-150mm | From plan |  |  |  |  | 24 |  |  | 24 | m
Assumption: 24m
|  | Extra value for opening of roads | [9 empty] | m
|  | Lay pvc pipe 100 mm diameter in trench | From plan |  |  |  |  | 18 |  |  | 18 | m
Assumption: 18m
|  | Ditto but 150 ditto | [9 empty] | m
|  | Ditto but 75mm diameter ditto | [9 empty] | m
|  | Ditto but 80mm diameter diameter | From plan |  |  |  |  | 18 |  |  | 18 | m
Assumption: 18m
Fittings
|  | 100mm dia bend | From plan |  |  |  |  | 6 |  |  | 6 | no
Assumption: 6nos
|  | 100mm dia tee | From plan |  |  |  |  | 5 |  |  | 5 | no
Assumption: 5nos
|  | 100mm dia y junction | [9 empty] | no
|  | 150mm bend | [9 empty] | no
|  | 150mm dia tee | [9 empty] | no
|  | 150mm dia y-junction | [9 empty] | no
|  | 75mm bend | [9 empty] | no
|  | 75mm dia tee | [9 empty] | no
|  | 75mm dia y-junction | [9 empty] | no
|  | 100mm Floor Waste Gully | From plan |  |  |  |  | 2 |  |  | 2 | no
|  | Manholes | [9 empty] | no
|  | inspection champer | [9 empty] | no
|  | Septic Tank Type 1 Size:2.4x0.90x1.675m deep | From plan |  |  |  |  | 1 |  |  | 1 | no
no
TOTAL CARRIED TO SUMMARY
FIRE PROTECTION
|  | Approved Hand held fire extinguishers, wall mounted 9kg dry powder ABC type | [9 empty] | no
|  | Approved smoke detectors (battery operated) fix in position | [9 empty] | no
TOTAL CARRIED TO SUMMARY
ELECTRICAL SERVICES
Preambles:
Final external colors of the boards shall be as selected by the Architect.
Rates for circuits include for all circuit wiring, connections at boards, terminations
at outlets, outlet boxes and for all cutting away, drilling through timber and the like and
making good and all clips and other fixings.
Where circuits are run in conduit rates shall include for supplying and fixing all
conduit complete with all fixings and brackets, including building into concrete or
blockwork where required and for cutting neat openings in blockwork for outlet
boxes and the like.
Main switchboard and distribution board
|  | Switchboard complete with circuit breakers, wiring and connections and other | [5 empty] | 1 |  |  | 1 | no
associated component as detailed.
Mains
|  | Allow for connection to existing main | [5 empty] | 1 |  |  | 1 | no
Light Circuit
|  | Circuit wiring using 1.5mm2 cable from switchboard to ceiling spaces with droppers | From Plan |  |  |  |  | 14 |  |  | 14 | no
to light fittings (include conduit where required)
Power circuit
|  | Circuit wiring using 2.5mm2 cable from switchboard to ceiling spaces with droppers | From Plan |  |  |  |  | 16 |  |  | 16 | no
to power outlet fittings (include conduit where required)
Ceiling fan circuit
|  | Circuit wiring using 1.5mm2 cable from switchboard to ceiling spaces with droppers | From Plan |  |  |  |  | 7 |  |  | 7 | no
to ceiling fan fittings (include conduit where required)
Main Electrical Wire
|  | Circuit wiring using 6.0mm2 cable from Main circuit board to inverter board | From Plan | [7 empty] | 0 | no
(include conduit where required)
Fittings
|  | Inverter complete with battery, solar panels and other fittings | From Plan | [7 empty] | 0 | no
|  | Split unit air condition ceiling mounted | [9 empty] | no
|  | 4'0" fluorescent light fittings single tube complete. | From Plan |  |  |  |  | 7 |  |  | 7 | no
|  | 2'0" fluorescent light fittings single tube complete. | [9 empty] | no
|  | 2'0" fluorescent light fittings double tube complete. | [9 empty] | no
|  | Pendant light fittings complete. | [9 empty] | no
|  | Ceiling fan 36" | [9 empty] | no
|  | Ceiling fan 48" | From Plan |  |  |  |  | 7 |  |  | 7 | no
|  | General power outlet single complete. | From Plan |  |  |  |  | 4 |  |  | 4 | no
|  | General power outlet double complete. | From Plan |  |  |  |  | 12 |  |  | 12 | no
|  | Light switch one way | From Plan |  |  |  |  | 1 |  |  | 1 | no
|  | Light switch two way | From Plan |  |  |  |  | 1 |  |  | 1 | no
|  | Fan switch | From Plan |  |  |  |  | 1 |  |  | 1 | no
|  | Allow for earthing and bonding | [5 empty] | 1 |  |  | 1 | item
General
|  | Allow for testing | [5 empty] | 1 |  |  | 1 | item
TOTAL CARRIED TO SUMMARY
PROPRIETARY PARTITIONS
Particulars shall be given of performance qualities required (e.g Sound Rating, Fire
Rating, Impact Testing, Loads, etc)
|  | Demountable partitions steel stud partitions 57mm thick steel stud or similar | [9 empty] | m
at 1.2m c-c and alum cover battens to joints, 10mm vinyl clad
plaster boards both sides
Extra value for:
|  | Wall Starters | [9 empty] | no
|  | Intersection and corners | [9 empty] | no
|  | Fair ends | [9 empty] | no
|  | Doors and door frames | [9 empty] | no
|  | Isolated borrowed light | [9 empty] | no
TOTAL CARRIED TO SUMMARY
SPECIALIST FINISHES
SOLID PLASTER
Floor
|  | 20mm thick cement and sand (1:3) screed trowel smooth. | From Plan | 1 | 1 | 4.9 | 3.145 | 15.4105 |  |  | 16 | m2
(3.76+1.14)
|  | 4.9 | [5 empty] | 15.4105
|  | (2.345+0.8) | [5 empty] | 16
3.145
20mm thick cement and sand (1:3) screed broom finish.
25mm thick cement and sand (1:3) screed trowel smooth.
25mm thick cement and sand (1:3) screed broom finish.
TILING
|  | Lay and set vinyl tile on adhesive backing. | From prev.calc | 1 | 1 | 4.905 | 3.315 | 16.2601 |  |  | 25 | m2
|  | (2.405+1.25+0.19+0.87+0.19) |  | 1 | 1 | 2.45 | 3.2 | 7.84
|  | 4.905 | [5 empty] | 24.1001
17
|  | 300x300mm ceramic floor tile on adhesive backing. |  | 1 | 1 | 4.2 | 3.3 | 13.86 |  |  | 24 | m2 | 4240
|  |  |  | 1 | 1 | 1.06 | 2.33 | 2.4698
|  |  |  | 1 | 1 | 3.135 | 2.3 | 7.2105
|  | Lay and set mosaic floor tile on and including screed backing. | [5 empty] | 23.5403 |  |  |  | m2
|  | Lay and set quarry tile on and including screed backing. | Toilet & Bathroom | 1 | 1 | 2.035 | 2.12 | 4.3142 |  |  | 0 | m2
5
|  | Lay and set carpet tile on underlay and adhesive backing. | [9 empty] | m2
Wall
|  | Exterior and Internal Blockwork | [9 empty] | m2
|  | 12mm thick cement and sand (1:3) render in two coats |  | 1 | 2 | 63 | 1 | 126 |  |  | 128 | m2
128
|  | 20mm thick cement and sand (1:3) render | [9 empty] | m2
Interior Blockwork
|  | 12mm thick cement and sand (1:3) render in two coats | [9 empty] | m2
|  | 20mm thick cement and sand (1:3) render | [9 empty] | m2
WALL CERAMIC TILE
|  | 150x150mm Ceramic wall tile on adhesive backing. |  | 1 | 1 | 8.31 | 2 | 16.62 |  |  | 17 | m2
17
Size of Wall = (2035*2+2120*2)
8.31
Height of wall = 2000
TOTAL CARRIED TO SUMMARY
PAINTING AND DECORATION
INTERIOR PAINTING AND DECORATION
Ceiling
|  | Acrylic sealer, 2 coats of undercoat , and 2 coats of semi gloss to ceiling | [5 empty] | 67 |  |  | 67 | m2
Same measurement as ceiling linning = 67m2
Wall
Prepare Surfaces and apply:
|  | Two coats of Dulux Arcylic Sealer, undercoat and two coats Super enamel or Satin | [8 empty] | 63 | m2
to plastered surfaces
Fibre Cement
|  | Acrylic sealer, 2 coats of undercoat , and 2 coats of semi gloss to fibre cement or similar | [9 empty] | m2
|  | Prepare and apply 3coats undercoat 3coats acrylic and 2 coats semi gloss on hardboard | [8 empty] | 77 | m2
lining .
Interior painting Timber
Prepare surfaces and apply one coat prime, one undercoat, one coat
of semi gloss and coat enamel
|  | Narrow surfaces 0-150mm girth | [9 empty] | m
|  | Narrow surfaces 0-300mm girth |  | 1 | 174 | 174 |  |  |  |  | 174 | m
|  | For window = header, jamb, mullion, window sill and finishing trim |  |  |  | 174
(43m + 10m + 11m +35m +41+34)
174
|  | General Surfaces | [9 empty] | m2
Exterior Painting and Decoration
Fibre Cement
|  | Acrylic sealer, 2 coats of undercoat , and 2 coats of semi gloss to fibre cement or similar |  | 1 | 1 | 45 | 1 | 45 |  |  | 45 | m2
45
For verge and eaves only = 10m2 + 35m2
(10+35)
45
Blockwork surfaces (unplastered)
|  | Three coats of Dulux Arcylic Sealer undercoat and three coats Super enamel or Satin |  | 1 | 1 | 61 | 1 | 61 |  |  | 61 | m2
Blockwork square for external wall = 64m2
61
61
Exterior painting Timber
Prepare surfaces and apply one coat prime, one undercoat, one coat
of semi gloss and coat enamel
|  | Narrow surfaces 0-150mm girth | [8 empty] | 11 | m
|  | Narrow surfaces 0-300mm girth |  | 1 | 38.86 | 38.86 |  |  |  |  | 39 | m
39
For Fascia Board = (38.86m)
38.86
|  | General Surfaces | [9 empty] | m2
TOTAL CARRIED TO SUMMARY
GLAZING
|  | 24" x 6" (710 x 150mm) clear glass blade. | [9 empty] | No
|  | 28"x6" (711x 150mm) clear glass blade | [9 empty] | No
|  | 30"x6" (762x150mm) clear glass blade. | [9 empty] | No
|  | 32"x6" (813x150mm) clear glass blade | [9 empty] | No
|  | 36"x6" (914x150mm) clear glass blade |  |  | 126 | [5 empty] | 154 | no
24
4
154
|  | 24"x 6" (710x150mm) obscure glass blade. | [9 empty] | No
|  | 28" x6"(711x150mm) obscure glass blade | [9 empty] | No
|  | 30"x 6" (762x150mm) obscure glass blade. | [9 empty] | No
|  | 32"x 6" (813x150mm) obscure glass blade. | [9 empty] | no
|  | 36"x 6" (914x150mm) obscure glass blade. | From Plan | 1 | 6 | 6 |  |  |  |  | 6 | no
6
|  | 0-6mm perspex glazing to opening timber frame with 20x20mm glazing bead | [9 empty] | m2
on both side per 0.8m2
TOTAL CARRIED TO SUMMARY
SITEWORKS
Roading
Fence Chain Link
|  | Galvanised wire mesh fence with 40mm dia tubular post or similar set in concrete | [9 empty] | m
at 3m c-c, high tension strainer wire in 3 no, and 3 strands of barbed wire on
post extensions (gate excluded)
|  | Allow for landscaping | [9 empty] | item
TOTAL CARRIED TO SUMMARY
SUNDRY WORKS
|  | Allow to construct well on site size: 1200mm diameter on plan by 3m deep approx. | From Plan |  |  |  |  | 1 |  |  | 1 | no
TOTAL CARRIED TO SUMMARY

## Material list (hidden)
TDS (MPWU)
PROJECT TITLE ; Standard Health Clinic Material list (04.03.16) |  | QUANTITY SURVEYING SECTION
DRWG NO | [10 empty] | 12.5 | per1m2 |  | nail fin
CLIENT MHMS |  | Date ; 08/03/16 | [11 empty] | toal length square mtr x 10kg
[10 empty] | 0.2208 |  | #REF! |  | 6*0.05*1 | 0.3
Ref | Description | Qty | Unit | Total rate | Material | Labour | Others | Total |  | #REF! |  | 787.5 |  | 150x50 | #REF! | #REF! | 961
| Material list | [8 empty] | #REF! |  |  |  | 100x50 | #REF! |  | 48.05
[10 empty] | #REF! |  |  |  |  | #REF!
A | CONCRETE WORK |  |  |  | #REF! |  |  |  |  | #REF! | #REF! |  |  |  | #REF!
a1 | Portland Cements 40 kg bags | 131 | bags | 0 | [10 empty] | #REF!
a2 | Aggregate | 262 | bags | 0 | [10 empty] | #REF! | #REF!
a3 | Sand | 393 | bags | 0 | [5 empty] | 8.1667
a4 | Bolt complete with nut and 2 washers 12mm dia | 12 | nos | [7 empty] | 2.88 |  |  | 75x50 | #REF! | #REF!
4.5139
[14 empty] | 50x50 | #REF! | #REF!
B | FORMWORK | 13 | m2 |  | 820 |  |  |  |  | 4.1389 |  |  |  |  | #REF!
b1 | Radiata pine 200x25mm in 6m long timber louvre Dressed | 9 | length | 0 | [5 empty] | #REF! | #REF! | #REF! |  |  | #REF!
b2 | Radiata pine 50x50mm in 6m long to be dressed | 5 | length | 0 | [7 empty] | #REF! |  | 200x50
b3 | gavl nail 2' | 1 | kg | 0 | [5 empty] | #REF! | 22.5 |  |  |  | #REF! | #REF!
b4 | gavl nail 3' | 1 | kg | 0 | [5 empty] | 10.8 | #REF!
b5 | gavl nail 4' | 1 | kg | 0 | [6 empty] | #REF! |  |  | 200x25 | #REF! | #REF!
[10 empty] | 0.04*788= |  | 2000 |  |  | #REF!
[10 empty] | 31.52 |  | 0.02*0.02*2 |  |  | #REF!
C | DAMP PROOF SHEETING | 149 | m2 |  | #REF! | [6 empty] | 0.0012 |  | 150x25 |  | #REF!
c1 | Polythene1.2*30m | 5 | roll | 0 | [5 empty] | mortor | 0.9456 |  |  |  | #REF!
[10 empty] | solid filling | 0.015 | bloc volum | 29.595 | 250x15 | #REF! | #REF!
D | REINFORCING STEEL |  |  |  | #REF! | [5 empty] | # of space | 37
d1 | Reinforcing bar 6mtr length 12mmx6m | 72 | length | 0 | [6 empty] | house height | 2.5 |  | 20x20 | #REF! | #REF!
d2 | Reinforcing bar 6mtr length 6mmx6m | 23 | length | 0 | [5 empty] | 37
d3 | Mesh wire 4.5*2.4*9mm | 7 | sht | 0 | [6 empty] | 1.3875 |  | 3.1 | hardboard | #REF! | #REF!
d4 | Tie wire 30m | 2 | roll | 0 |  |  |  |  | 30
|  |  |  | 0 | [6 empty] | 20 |  |  | ply | #REF! | #REF!
[9 empty] | 2 | 8 | 24
E | BLOCKWORK | [7 empty] | 30 per sht |  | 1980 |  |  | Corrugated Steel
e1 | BLOCK 400*200 | 788 | block | [5 empty] | 1000 per kg panel pin | [5 empty] | #REF!
e2 | Cement solid filling & mortor 40kg | 20 | bags | [8 empty] | 20 |  | 2.34 | #REF!
e3 | Aggregate bag of rice | 60 | bags | [5 empty] | 20 per 6 mtr 4 & 3 inches nail |  |  | 1000=25mm
e4 | Sand bag of rice | 40 | bags | [5 empty] | 161 |  |  | 50=100mm
[9 empty] | 3220 | 64.4 |  | 70=75mm
[10 empty] | 42.9333 |  | 200=50mm
F | METAL WINDOWS AND DOORS | [7 empty] | 20 per 6 mtr 2 inches nail
f1 | Louver frame- 8-blade | 15 | pair | [5 empty] | 29
f2 | Louver frame- 4-blade | 1 | pair | [5 empty] | 580
f3 | Timber 8x1" 6mtr | 2 | length
[9 empty] | 5 | 15
195
G | CARPENTRY
g1 | Damp proof course 15mtr | 2 | roll | [5 empty] | #REF! | 13.8333
g2 | Timber Pine 6 meter lengh 150x50 | 2 | length
g3 | Timber Pine 6 meter lengh 100x50 | 68 | length | [5 empty] | 280 | 5.6
g4 | Timber Pine 6 meter lengh 75x50 | 35 | length
g5 | Timber Pine 6 meter lengh 50x50 | 49 | length | [5 empty] | 34
g6 | Timber Pine 6 meter lengh 200x50 | 9 | length
g7 | Timber Pine 6 meter lengh 200x25 | 9 | length
g8 | Timber Pine 6 meter lengh 150x25 | 7 | length
g9 | Timber stopper 250x15 | 6 | length
g10 | Timber moulded scotia 20x20 | 7 | length
g11 | Hardboard misonite 2.4x1.2x10mm | 66 | sht
g12 | Plywood 2.4x1.2x20mm | 4 | sht
g13 | Corrugated Steel 3mtr x 0.78mtr | 13 | sht
g14 | Gavl nail panel pin 1 inche | 3 | kg
g15 | Gavl nail coated 2 inche | 2 | kg
g16 | Gavl nail coated 3 inche | 42 | kg
g17 | Gavl nail coated 4 inche | 64 | kg
g18 | Roofing nail 3 inche | 2 | kg
g19 | clout nail 2 inche | 1 | kg
g20 | Pvc pipe 100mm | 1 | length
H | JOINERY
h1 | Sawn or Dressed Treated timber pine Hazard Class H3 200x50mm | 14 | length
h2 | Sawn or Dressed Treated timber pine Hazard Class H3 100x50mm | 1 | length
h3 | Standard flush door with marine ply lining 2040x820x40mm | 8 | nos
h4 | Fully Gavanised nail 3 inche | 2 | kg
h5 | Fully Gavanised nail 4 inche | 2 | kg
I | HARDWARE
i1 | Butt brass hinges with screws.100mm | 21 | pair
i2 | Rebated mortice lock complete with handles and keys. | 7 | set
i3 | Standard toilet roll holder, screw fixed to wall | 1 | nos
J | ROOFING | [7 empty] | 5
j1 | corrugated roof zincalume 15 feet | 34 | sht | [5 empty] | 16.25
j2 | Sisalation alum. foil one side 15m | 7 | roll | [5 empty] | 8.3333 | 20
j3 | Alum. ridge capping 2.4m | 5 | length | [5 empty] | 680
j4 | Alum. roof flashing. 2.4m | 5 | length | [5 empty] | 9.0667
j5 | Guttering with bracket 2.4m | 17 | length
j6 | Pvc pipe 100mm | 7 | length
j7 | Bend Pvc pipe 100mm | 3 | nos
j8 | Roofing nail with rubber 75mm | 10 | kg
K | PLUMBING
k1 | Pvc pipe 100mm | 1 | length
k2 | Bend Pvc pipe 100mm | 5 | nos | [5 empty] | 4
k3 | Tee Pvc pipe 100mm | 1 | nos
k4 | Pvc pipe clips to wall 100mm | 6 | nos
k5 | Pvc pipe 80mm | 6 | length
k6 | Bend Pvc pipe 80mm | 10 | nos
k7 | Tee Pvc pipe 80mm | 8 | nos
k8 | Pvc pipe 25mm | 6 | length
k9 | Bend Pvc pipe 25mm | 12 | nos
k10 | Tee Pvc pipe 25mm | 12 | nos
k11 | Reducing bush 25mm to 15mm | 2 | nos
k12 | Pvc pipe 15mm | 2 | length
k13 | Bend Pvc pipe 15mm | 20 | nos
k14 | Tee Pvc pipe 15mm | 12 | nos
k15 | Male adaptor 15mm | 24 | nos
k16 | Female adaptor 15mm | 12 | nos
k17 | Pvc pipe clips to wall 15mm | 12 | nos
k18 | W.C. pan suite complete, cistern, seat, lid, gate valve, and pan adaptor | 1 | set
k19 | Wash hand basin complete, bracket, cold tap, trap, and plug and waste | 3 | set
k20 | Sink unit single bowl double drainer with tap, trap, and plug and waste.1800mm | 1 | set
k21 | Shower tray complete with trap, plug and waste. | 1 | set
k22 | Shower unit complete with shower arm, rose, and valve. | 1 | set
L | DRAINAGE
l1 | Pvc pipe 80mm | 3 | length
l2 | Pvc pipe 100mm | 3 | length
l3 | Bend Pvc pipe 100mm | 6 | nos
l4 | Tee Pvc pipe 100mm | 5 | nos
l5 | Floor Waste Gully 100mm | 2 | nos
l6 | Septic Tank Type 1 with drainage trench Size:2.4x0.90x1.675m deep | 1
M | ELECTRICAL SERVICES
m1 | Single Power Point(GPO 10A) | 4 | nos
m2 | Double Power point (GPO 10A) | 12 | nos
m3 | Single Light switch | 3 | nos
m4 | Double Light switch | 5 | nos
m5 | Triple Light switch | 1 | nos
m6 | Fan | 4 | nos
m7 | LED Light 4" | 9 | nos
m8 | CFL Bulbs | 4 | nos
m9 | Cable 1.5mm | 1 | roll
m10 | Cable 2.5mm | 60 | mtrs
m11 | Cable 4mm | 15 | mtrs
m12 | Underground cable 8mm/6mm | 35 | mtrs
m13 | Earth wire 10mm/6mm | 6 | mtr
m14 | Copper Earth Rod with clamp | 1 | length
m15 | PVC pipe 20mm | 6 | length
m16 | PVC clip 20mm | 2 | nos
m17 | Cable clip | 1 | pkt
m18 | Junction box | 6 | nos
m19 | Circuit breaker 32A | 1 | nos
m20 | Circuit breaker 25A | 1 | nos
m21 | Circuit breaker 20A | 1 | nos
m22 | Circuit breaker 16A | 2 | nos
m23 | Circuit breaker 10A | 2 | nos
m24 | Circuit breaker 6A | 2 | nos
m25 | Main Switch Board 12 Ways with Neutral Link | 1 | nos
N | SPECIALIST FINISHES | [7 empty] | internal
n1 | Portlan Cement 40kg | #REF! | bag | [5 empty] | Arcylic undercoat |  | 10
n2 | Sand bag of rice | #REF! | bag | [5 empty] | Arcylic semi gloss |  | 10
n3 | Ceramic tile floor 300x300mm | 25 | ctn
n4 | Ceramic tile wall 150x150mm | 18 | ctn | [5 empty] | Narrow surfaces
n5 | Ceramic Tile Adhesive 20kg | 6 | bag | [5 empty] | Primer |  | 5
n6 | Vinyl tile 300x300mm | 5 | ctn | [5 empty] | oil under coat |  | 5
n7 | Vinyl tile adhesive backing. 4liter | #REF! | tin | [5 empty] | high gloss |  | 5
n8 | Quary tile 150x150mm | 12 | ctn
| Lay polyflor prestige pur Alabaster 1600 on approved backing |  | m2
Adhesive for polyflor prestige
| 150x150mm non slip ceramic floor tile on adhesive backing @ 55pc/box. |  | box
| CTF Adhesive for ceramic tiles @ 20kg/bag |  | bag
| 150x150mm Ceramic wall tile on adhesive backing. |  | box
| CTF Adhesive for ceramic tiles @ 20kg/bag | 6 | bag
| Tile spacer 2mm @ 100pcs/pkt |  | pkt
| Grout @ 2kg/pkt |  | pkt
O | PAINTING AND DECORATION
o1 | high gloss paint 4ltrs white | 19 | tin
o2 | enemal undercoat 4ltrs white | 19 | tin | [5 empty] | 183 | 13.0714 | 14
o3 | accrylic undercoat 4ltrs white | 10 | tin
o4 | semi gloss 4ltrs white | 10 | tin
o5 | Primier 4ltrs pink | 5 | tin | [5 empty] | External
[9 empty] | oil under coat |  | 14
[9 empty] | high gloss |  | 14
P | GLAZING | [7 empty] | oil under coat |  | 14
p1 | clear glass blade. 36"x 6" (914x150mm) | #REF! | nos | [5 empty] | high gloss |  | 14
Add 10% Contingency sum
Sub Total 1
Grand Total (SAY)
Note on B142: Energy 01: 1 PVC use for main cable with Earth wire cover 5 PVC use for the underground cable cover.

## Material revise
Toolls&Sundries
| Shovels | no | 6
| Wheel barrow | no | 2
| Bolt cutter | no | 1
| Crow bar | no | 1
| Trowel 200 concrete | no | 6
| Trowel plaster | no | 1
| Rivert Gun | no | 1
| Riverter pile | no | 1
| Circular saw | no | 1
| Cordless drill | no | 1
| Lead wire | no | 1
| Angle grinder | no | 1
| Block moulds | no | 2
| Paint tray with handle & roller | no | 4
| Paint brush 4" | no | 5
| Paint brush 2" | no | 4
| Paint brush 1" | no | 4
| Hose 12mm diameter x 25m | no | 1
Ref | Description | Unit | Qty | Rate | Total
Concrete Works (Cement type GP or GB) and to be 20MPA Concrete
Strength
ML01 | 40 kg cement portland for footing, slab, beam and etc | bags | 222 |  | 0
ML02 | 40 kg cement portland for render | bags | 20 |  | 0
ML03 | 40 kg cement portland for concrete blocks Used 1:2:4 mix | bags | 55 |  | 0
Bar Reinforcement (AS/NZS4671)
ML03 | D12mm dia reinforcing steel (6m length) | length | 44 |  | 0
ML04 | D10mm dia reinforcing steel (6m length) | length | 71 |  | 0
ML05 | R6mm dia reinforcing steel (6m length) | length | 33 |  | 0
ML06 | Reinforcing mesh SL102 size:6mx2.4m wide (200x200x10) Grade 300 ("D") | sht | 7 |  | 0
or Grade 500("N")
Structural Timber (Treated Pine Timber)
ML07 | All timber to be minimum F7 grade seasoned pine, hazard class H3
ML08 | Radiata pine 190x45mm in 6m long Dressed for window frame | length | 14 |  | 0
ML09 | Radiata pine 90x45mm in 6m long Dressed for window & Door frame | length | 14 |  | 0
ML33 | Radiata pine 100x50mm in 6m long to be dressed truss | length | 68 |  | 0
ML46 | Marine plywood 12mm for Gusset | sht | 15 |  | 0
Roofing Materials
ML10 | 0.55mm BMT colorbond ultra (in corrugated/trimdex) (10feet) | sht | 26 |  | 0
ML11 | 0.55mm BMT colorbond ultra (in corrugated/trimdex) (8feet) | sht | 42 |  | 0
ML12 | 0.55 BMT Colorbond ridge capping | pcs | 5 |  | 0
ML13 | 0.55 BMT Colorbond roof flashing | pcs | 12 |  | 0
ML14 | 0.55 BMT Clourbond eaves guttering with bracket as necessary | pcs | 17 |  | 0
Doors and Window
ML15 | 2040x780x40mm External solid core door | no | 1 |  | 0
ML16 | 100 x 75mm butt brass hinges with screws. | pair | 21 |  | 0
ML17 | Plain mortice lock complete with handles and keys. | no | 10 |  | 0
ML18 | 914mm longx152mm x 6mm clear float glass louvre blade with bevelled | nos | 100 |  | 0
ML19 | Stainless Steel Security Mesh 25.4x25.4x2mm Grade 316 SS Mesh | sht | 5 |  | 0
chicken wire on-site
Sanitary Fittings (install sanitary fittings to manufactures instructions)
ML20 | Hand basin ' Caroma ' concorde 500, single center taphole (white vitreous china with | no | 1 |  | 0
Finishes
ML21 | Vinyl tile adhesive backing. 4liter | bucket | 3 |  | 0
ML22 | CTF Adhesive for ceramic tiles @ 20kg/bag | bag | 18 |  | 0
ML23 | Grout @ 2kg/pkt | bag | 30 |  | 0
Painting and Decorating
ML24 | Oil base wood primer @ 4ltrs | tn | 5 |  | 0
ML25 | Semi-gloss enamel @ 4liters/tin | tn | 10 |  | 0
ML26 | Oil base undercoat | tn | 19 |  | 0
Tank complete with concrete base & Overhead tank
ML27 | Portland Cement 40kg | bags | 40 |  | 0
ML28 | 100x50mm timber pine in 6m long | leng | 6 |  | 0
ML29 | 50x50mm timber pine in 6m long | leng | 4 |  | 0
ML30 | F62 fabric mesh wire 6mx2.4m/sheet | sht | 2 |  | 0
ML31 | Rod 6mm diameter 6m | leng | 1 |  | 0
ML32 | Rod 12mm diameter 6m | leng | 18 |  | 0
ML33 | 3000 litre poly rain water tank complete with outlet | nos | 1 |  | 0
ML34 | 5000 liter polytank completed with outlet | no | 1 |  | 0
Septic Tank and Soak Pit
ML35 | Cement 40kg | bags | 30 |  | 0
ML36 | F62 fabric mesh wire 6mx2.4m/sheet | sht | 1 |  | 0
ML37 | Rod 16mm diameter 6m | leng | 11 |  | 0
ML38 | Rod 12mm diameter 6m | leng | 10 |  | 0
ML39 | Rod 6mm diameter 6m | leng | 2 |  | 0
Nails, Screws, Bolt, etc (to be fully galvanised)
ML40 | 4" x 3.15dia bullet head galvanised nail @ 100pcs/pkt | pkt | 70 |  | 0
ML41 | 30 x 2.8mm galvanised FC nails @100pcs/pkt | pkt | 184 |  | 0
ML42 | 50 x 3.15 dia galv nails @ 100pcs/pkt | pkt | 160 |  | 0
ML43 | 3" x .3.15mm bullet head galvanised nail @ 100pcs/pkt | pkt | 40 |  | 0
ML44 | 2" x 3.15mm clout galvanised nail @ 100pcs/pkt | pkt | 2 |  | 0
ML45 | M12 bolts | no | 12 |  | 0
ML46 | Hexagon roofing screws with EPDM washers | kg | 20 |  | 0
ML47 | 4" Counter sunk wood screws @ 50/pkt | pkt | 16 |  | 0
| Total for Materials |  |  |  | 0