## Sheet 1
Serial No | Description | Qty | Unit
1 | PRELIMINALIES | 1 | Item
1.01 | Hire of Plants for site clearance | 1 | item
1.02 | Hire of Plants for delivering aggregate | 1 | item
1.03 | Fuel for plants | 1 | Item
1.04 | Allow for setting out materials | 1 | Item
1.05 | Allow Barricate wall &empty drum for general waste | 1 | item
2 | CONCRETE WORK
2.01 | Potland cement 40kg | 541 | bags
2.02 | Concrete Sand | 33 | m3
2.03 | Concrete Gravel | 65 | m3
2.04 | Bolt & Nut M12x150mm | 36 | no
3 | TEMPORARY STRUCTURAL FORMWORK
3.01 | Formply 2.4mx1.2mx20mm | 25 | sheets
3.02 | Radiata Pine 50x50mmx6m | 105 | Length
3.03 | Radiata Pine 200x25mmx6m | 2 | Length
3.04 | Radiata Pine 100x50mmx6m | 5 | Length
3.05 | Galvanised nail 4" | 8 | kg
3.06 | Galvanised nail 3" | 9 | kg
3.07 | Clout nail 2" | 12 | kg
4 | BLOCK WORK
4.01 | External concrete block 390x190x190mm | 852 | blocks
4.02 | Concrete block 390x140x190mm | 718 | blocks
4.03 | Potland cement 40kg | 118 | bags
4.04 | Sand | 13 | m3
4.05 | Gravel | 14 | m3
5 | REINFORCEMENT WORK
5.01 | Reinforced rod D16mm@minimum Grade 300MPa | 11 | length
5.02 | Reinforced rod D12mm@minimum Grade 300MPa | 117 | length
5.03 | R6 diam bar for stirrups minimum Grade 300MPa | 31 | length
5.04 | 665 BRC Mesh reinforcement | 27 | sheets
5.05 | Polythene black plastic 1.8x60m | 7 | roll
5.06 | Tie/Bind Wire (20m length) | 12 | spools
6 | CARPENTRY
6.01 | Radiata Pine 200x25mmx6m | 4 | Length
6.02 | Radiata Pine 150x50mmx6m | 15 | Length
6.03 | Radiata Pine 150x25mmx6m | 9 | Length
6.04 | Radiata Pine 75x50x6m | 71 | Length
6.05 | Radiata Pine 50x50mmx6m | 11 | Length
6.06 | Angle bar 50mm | 1 | Length
7 | ROOFING COVERING
7.01 | Colour-bond Roof sheet 15ft (4.572m) | 16 | sheets
7.02 | Colour-bond Roof sheet 10ft (2.8m) | 25 | sheets
7.03 | Colour-bond Roof sheet 7ft (2.133m) | 37 | sheets
8 | JOINERY WORK
8.01 | Panel door 2040x.849mm | 3
8.02 | flush door 2500x723mm | 4
8.03 | Butt hinges 100x75mm | 11
8.04 | Entrance | 7

## Sheet2
Serial No | Description | Qty | Unit
9 | NAILING WORK
9.01 | Galvanised nail 4" | 9 | kg
9.02 | Galvanised nail 3" | 7 | kg
9.03 | Galvanised nail 2" | 5 | kg
9.04 | Concrete nail 4" | 3 | kg
10 | ELECTRICAL WORK
10.01 | Main cable 4 core &Earth 25mm2 | 260 | mtr
10.02 | Cable lugs 25mm | 15 | pieces
10.03 | Circuit breaker 3 phase 70A | 2 | units
10.04 | Energy Meter KWH 3 PHASE | 1 | units
10.05 | Distribution Box KWH | 1 | units
10.06 | Plywood marine | 1 | sheet
10.07 | Timber 2x2 x6m | 1 | length
10.08 | Cement bag 40kg | 1 | bag
10.09 | Earth rod copper 1.5mtr | 1 | length
10.1 | Change over switch manual 70A | 1 | units
10.11 | Bolt & Nut 25mm | 4 | pieces
10.12 | Wood screw 1 1/2" | 20 | tenth
10.13 | Lamp holder pin | 3 | no
10.14 | Led lamp light pin | 3 | no
10.15 | Light fitting 4ft | 2 | no
10.16 | LED tube 4ft | 2 | no
10.17 | Single switch | 5 | pcs
10.18 | Cable TPS 2 core + Earth 1.5mm2 | 50 | m
10.19 | Cable TPS 2 core +Earth 4mm2 | 1 | roller
10.2 | Cable clip # 3 | 3 | pkt
10.21 | Screw 1 1/2" | 35 | pcs
10.22 | Mounting block | 5 | pcs
10.23 | Junction box | 2 | pcs
10.24 | Switch board 4 way | 1 | no
10.25 | Circuit breaker 20 A | 1 | no
10.26 | Circuit breaker 10 A | 2 | no
10.27 | Conduit 25mm2 | 2 | no
10.28 | Conduit saddle 25mm2 | 6 | no
11 | PLUMBING WORK
Plumbing Fixtures
11.01 | WC P-Trap | 2 | pcs
11.02 | Pan seat | 2 | pcs
11.03 | Pan connector -offset 100mm | 2 | pcs
11.04 | Toilet Cistern-side inlet | 2 | pcs
11.05 | Flexi horse 15mm | 2 | pcs
11.06 | Shower Rose (complete set) 15mm spout | 1 | pcs
Inlet to overhead tank-pressure fittings
11.07 | Float valve 20mm | 1 | pcs
11.08 | reducer 20x15mm | 1 | pcs
11.09 | gate valve 15mm | 1 | pcs
11.1 | female adaptor 15mm | 2 | pcs
11.11 | union 15mm | 1 | pcs
11.12 | female adaptor 20mm | 1 | pcs
11.13 | Elbow 15mm | 6 | pcs
Overhead outlet to 2 toilets and shower area- pressure fittings
11.14 | Pvc male adaptors 20mm | 1 | pcs
11.15 | Pvc union 20mm | 1 | pcs
11.16 | Elbow 20mm | 12 | pcs
11.17 | reducer 20x15mm | 6 | pcs
11.18 | Elbow 15mm | 20 | pcs
11.19 | Tee 20mm | 2 | pcs

## Sheet3
Serial No | Description | Qty | Unit
11 | PLUMBING WORKS
Overhead outlet to 2 toilets and shower area- pressure fittings
11.2 | brass ball valve 15mm | 5 | pcs
11.21 | Male adaptor 15mm | 10 | pcs
11.22 | Female adaptor 15mm | 2 | pcs
11.23 | Plastic tank with 3/4"outlet (female threaded) 3 ton | 1 | no
Sanitary fittings-Toilet block plus shower area
11.24 | square junction 100mm | 5 | pcs
11.25 | Floor grate 100mm | 3
11.26 | Elbow 100mm | 7
11.27 | Reducer 100mmx50mm | 2
11.28 | Vent Cowl 50mm | 1 | pcs
11.29 | Elbow 50mm | 6 | pcs
11.3 | Tee 50mm | 3 | pcs
11.31 | Pipe clip 50mm | 4 | pcs
11.32 | Male adaptor 100mm | 3 | pcs
11.33 | Mansory screw 25mm | 8 | pcs
Guttering for rainwater harvesting
11:34 | Box gutter 2.4 mtr 150mmx100mm cross sectional area | 17 | pcs
11.35 | Rainwater tank 5 tons with 15mm outlet and 100mm | 5 | pcs
11.36 | Pop revit | 1 | box
11.37 | Silicon-clear 250mls | 8 | tube
11.38 | Square junction-socket x threaded x socket end 100mm | 2 | pcs
11.39 | Male adaptors 100mm | 2 | pcs
11.4 | Thread end cap 100mm | 2 | pcs
11.41 | Elbow 100mm | 4 | pcs
Outlet from rainwater tanks-Pressure fittings
11.42 | brass ball valve 15mm | 5 | pcs
11.43 | elbow 15mm | 24 | pcs
11.44 | Male Adaptors 15mm | 10 | pcs
11.45 | Tee 15mm | 5 | pcs
11.46 | Brass tap 15mm (nossel end) | 1 | pcs
11.47 | Female adaptor 15mm | 1 | pcs
Pressure pipe
11.48 | PVC pipe 20mm | 9 | length
11.49 | Pvc pipe 15mm | 10 | Length
11.5 | Pvc pipe 100mm | 5 | Length
DWV Pipe
11.51 | Pvc pipe 100mm | 8 | Length
11.52 | Pvc pipe 50mm | 2 | Length
Other Items
11.53 | Solvent Cement 500mls | 4 | tins
11.54 | Primer 500mls | 2 | tins
11.55 | Thread seal tape | 20 | pcs
Connection to Main water system
11.56 | Tapping saddle 150mmx2"(suits S 1 pvc pipe) | 1 | nos
11.57 | Brass gate valve 2"(female threaded end) | 2 | nos
11.58 | Pvc male adaptors 50mmx2" (pressure fittings) | 2 | nos
11.59 | Pvc reducer 50mmx20mm(pressure fittings) | 1 | nos
11.6 | Pvc pipe 20m (pressure pipe) | 3 | nos
11.61 | PVC pipe 50mm (pressure pipe) | 4 | nos
Waste Water Drainage
11.62 | PVC end cap 100mm pressure | 1 | nos
11.63 | PVC elbow 100mm pressure | 2 | nos
11.64 | Water horse | 1 | roll
11.65 | Goegic stainless mesh | 1 | sheet

## Sheet4
Serial No | Description | Qty | Unit
12 | TOOL & EQUIPMENT
12.01 | Shovel | 2 | nos
12.02 | spade | 1 | nos
12.03 | rake | 1 | nos
12.04 | safety gears | 1 | nos
12.05 | Leadwire (Freight & hangling )2 roll | 1 | nos
12.06 | Power board-2no | 1 | nos
12.07 | Circular saw | 1 | nos
12.08 | Drop cut saw | 1 | nos
12.09 | Hammer | 1 | nos
12.1 | Hand saw (Cross cust saw) | 1 | nos
12.11 | Grinder | 1 | nos
12.12 | Slendge hammer | 1 | nos
12.13 | Circular saw blade | 1 | nos
12.14 | Grinder blade (block) | 1 | nos
12.15 | Wheel barrow | 1 | nos
12.16 | Tape measure 10m | 1 | nos
12.17 | Measruing tape roll | 1 | nos
12.18 | Construction string line | 1 | nos
12.19 | Bolt cutter | 1 | nos