REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No: 46-G016-24

## Specification

### Background

This project will be used as a backup generator at KOIL depot in Cassidy airport incompliance with the Aviation requirement.

### Requirements

All supporting documentation must be in English.

### Installation services

To be installed at outer islands

### Delivery Time

44 days after first payment

## Description of the Goods

Here, list all items to be Tendered

| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- | --- |
| 1 | 50kVA / 40kW / 415/240V / 0.8 cos phi; Steel Chassis. 50 Hz / 1500 rpm; Anti vibration shock absorber. Diesel engine; Emergency stop button. 4-stroke cycle; Fuel level gauge. Water-cooled; Steel residential silencer. 12V electrical system; Standby power rating (ESP). Water separator filter; Self-Excited and self-regulated. Dry Air Filter; Alternator pre-heater. Radiator with pusher fan; IP23 protection. Mechanical governor; Winding temp. measuring instrument. Direct Injection; H class insulation. 3 vertical inline cylinders; Battery charger. Hot parts protection; 1 x 12V AH 70. Moving parts protection; Stackable canopy design. Heavy duty air filter; Adhere to ISO 9001 and CE Standards. Water jacked heater; ISO 8528 – 1:2018. Radiator water level sensor. Oil heater. | 1 |  |  |