REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No: 22-G008-25

## Specification

### Background

The National Laboratory service in Tungaru Central Hospital (TCH) provides a comprehensive range of blood tests in the country to support healthcare delivery. Biochemistry test is one of the various blood tests conducted in the Laboratory.

In TCH, there is an average demand of 2,000 patients per month requiring chemistry blood tests. Currently, a Spotchem dry chemistry analyser is operated 24/7 with a capacity of 1 test per 7 minutes, not ideal to meet the high demand.

The procurement of a new Wet Chemistry analyser is therefore recommended to allow the Laboratory service to meet the monthly demand, therefore improving patient management through effective and efficient blood chemistry testing mechanisms.

### Requirements

All supporting documentation must be in English.

All quoted equipment including their consumables, accessories and spare parts must be guaranteed to be available in the market in the next 5 years.

All quoted equipment should comply with AS/NZ 3551 or IEC 601,1 standards.

All quoted equipment should be able to operate with a 240 V, 50 Hz ±15%.

Power cord/plug is Australian Standard 10A

Should come with 1 Uninterruptible Power Supply.

Minimum acceptable warranty is 1 year.

Manuals should be provided: 2 Operator’s manual & 1 Service manual in hard copies and electronic versions.

User’s training to be conducted onsite.

Technical training on operating principles of equipment as well as common maintenance procedures & basic fault-finding to be provided onsite.

Should come with startup reagents and other controls for quality insurance.

<list other general requirements>

Itemized cost of accessories, parts and consumables/reagents to be included.

Lead time for delivery of lab supplies as stated in the agreement between supplier and the national laboratory should be met to avoid stock out and services disruptions

Cost for post warranty services to be included as optional.

### Installation services

<insert related services>

To be conducted onsite by factory’s engineer or supplier’s technician.

### Delivery Time

<insert requested delivery time, if general, otherwise in the table below>

All items shall be delivered within 1 month after contract launches.

## Description of the Goods

Here, list all items to be Tendered

(This part may be replaced by a proprietary Supplier description)

| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- | --- |
| 1 | Wet chemistry analyzer - Benchtop - Fully automated system function. - Throughout up to 100 tests/hour. - Low water consumption. - Sample type: Serum, plasma, whole blood, urine, cerebrospinal fluid (CSF) & supernatant. Automated sample rerun and dilution. Additional sample loading during operation. - Can be operated in an air-conditioned room with temperature ranging from 210C – 32 0C. - Equip with automated maintenance functions. - Low system maintenance time - Able to connect to local IT environment | 1 |  |  |