## Sheet1
UNDERGROUND CABLE TO KOIL
| Materials | Price | Qty
| Distribution Box |  | 2
| Cement |  | 3
| Inches |  | 2
| Neutral Link 350A 7 Holes 50-90mm |  | 1
| Active Link 350A 7 Holes 50-90mm |  | 3
| Tapping screw for mounting pannel board 2 inches phillips type |  | 10
| Marrine plywood 3/4 inch for inner board & door |  | 1
| Tapping screw for mounting switching components 1 ½ inch phillips type |  | 20
| Three phase meter |  | 1
| Cable 90mm Al 4 Core(500 per Drum) |  | 1000
| Joining Kit |  | 2
| Termination Kit |  | 3
| Abloy Protec Utility Padlock 20mm Shackle – LESS KEYS Utility System – Low Security Padlock – NON Rekeyable |  | 1
| AST CABLE HARD COVER U/G PVC 150MMX25MT ROLL 25MTR ROLLS FOR 900m |  | 36
| Warning tape orange plastic cover 100 per meter |  | 14
| BAKELITE SWITCHPANEL 6.0MM 2450X1228MM |  | 1
| Main Cable from Distribution box to KOIL facility compound (Copper cable 16mm sqr 4 core + earth) |  | 100
| Hasp & stable |  | 1
| Three phase circuit protection 80Amps |  | 1
Fence Material
|  | Quantity | Unit
| Portland Cement 40Kg | 269 | bags
TEMPORARY CONSTRUCTION FORMWORK
| Formply 2.4mx1.2mx20mm | 10 | sheets
| Radiata Pine 50x50mmx6m | 20 | length
| Radiata Pine 100x50mmx6m | 5 | length
| Radiata Pine 200x25mmx6m | 5 | length
FENCING WORK
| Straining wire @ 100m in coil | 15 | coil
| Chain link fence 2400x15m | 32 | roller
| PVC Black Pipe Dia 100 | 77 | length
GATE WORK
| Galv pipe Dia 100 mm | 6 | length
| Galv pipe Dia 25 mm | 14 | length
| L bar 50x50 | 2 | length
| Chain link fence 2000x15 | 1 | roller
| Galv pipe Dia 50 mm | 1 | length
| Sliding gate rollers | 3 | nos
| Sliding gate wheels | 3 | nos
REINFORCEMENT WORK
| Reinforced rod D12mm Ø minimum Grade 300MPa | 2 | lengths
NAILING WORK
| Galvanise Nail 4'' | 5 | kg
| Galvanise Nail 3'' | 5 | kg
| Galvanise Nail 2'' | 3 | kg
FENCE LIGHT
| Solar light 250watts set | 10 | nos
Staff House Materials
CONCRETE WORK
| Portland Cement 40Kg | 175 | bags
BLOCKWORK
| External Concrete block 390x190x140mm | 150 | blocks
| Internal Concrete block 390x190x140mm | 145 | blocks
| Portland Cement 40Kg | 40 | bags
REINFORCEMENT WORK
| Reinforced rod D12mm Ø minimum Grade 300MPa | 25 | lengths
| R6 diam bar for stirrups minimum Grade 300MPa | 15 | lengths
| 665 BRC Mesh reinforcement 6mx2.4m | 6 | sheets
| Polythene black plastic 1.8x60mx4mm | 1 | roll
| Tie/Bind Wire | 1 | spool
CARPENTRY
| Radiata Pine 150X50mm x6m F7 Grade, seasoned pine | 30 | length
| Radiata Pine 100X50mm x6m F7 Grade, seasoned pine | 70 | length
| Radiata Pine 50X50mm x6m F7 Grade, seasoned pine | 75 | length
| Hardboard 2.4x1.2mx5mm | 45 | shts
| Bolts & Nut M12@200mm long | 10 | no
| Bolts & Nut M12@125mm long | 10 | no
ROOFING COVERING
| Roof sheet 12ft (3.658m) | 48 | sheets
| Standard Flashing edge 2.4m length | 12 | sheets
| Standard Guttering 2.4m | 18 | sheets
JOINERY WORK
| Window security mesh 2.4x1.2m | 5 | sheets
| Panel Door 2000mmx1000mm | 2 | no
| Flush Door 2000mmx900mm | 5 | no
| Butt hinges 100mm | 5 | pairs
| Entrance Lock set | 5 | no
| Louver frame 8 blade with screws | 16 | pairs
| Louver frame 4 blade with screws | 2 | pairs
| Louvre clear glass 152x610mm | 158 | no
PAINTING WORK
| Pink Primer paint 4ltr | 8 | tins
| Undercoat paint 4ltr | 6 | tins
| Enamel coat paint 4ltr | 6 | tins
| Roller brush & tray | 2 | nos
| Skin for roller brush | 2 | nos
| Brushe 100mm | 2 | nos
NAILING WORK
| Galvanise Nail 4'' | 4 | kg
| Galvanise Nail 3'' | 4 | kg
| Galvanise Nail 2'' | 3 | kg
| Clout nail 1 1/2'' | 1 | kg
| U-Nail 1-1/2'' | 1 | kg
| Roofing Nail 3" | 2 | kg
PLUMBING WORK
| Water Close - P-type | 1 | nos
| Pan connector offset | 1 | nos
| Pan seat black/while | 1 | nos
| Toilet cistern side inlet | 1 | nos
| Shower rose complete set | 1 | nos
| Kitchen sink - double complete with plug & waste | 1 | nos
| Pipe clips 15mm | 12 | nos
| Flexi Hose - f/f 15mm | 3 | nos
| Polyethene water tank 1500 capacity with 25 mm flanged | 1 | nos
| PVC Female adaptor 25mm | 1 | nos
| PVC Male adaptor 25mm | 3 | nos
| Plastic ball valve 25mm | 1 | nos
| PVC Elbow 25mm | 4 | nos
| PVC Tee 25mm | 4 | nos
| PVC Reducer 25x15mm | 1 | nos
| PVC Elbow 15mm | 2 | nos
| PVC Tee 15mm | 1 | nos
| Female adaptor 15mm | 2 | nos
| Brass tap 15mm | 2 | nos
| PVC Pipe - DWV 100mm | 3 | length
ELECTRICAL WORK
| Junctin box | 2 | no.
| Circuit Breaker 20amp | 1 | no.
| Circuit Breaker 16amp | 1 | no.
| Circuit Breaker 10amp | 1 | no.
| Circuit Breaker 6amp | 1 | no.
| Earthing Cable 6mm² | 10 | m
| Cable Clip No.3 | 2 | pkt
| Cable 2.5mm² | 15 | m
| Single Switch | 6 | no.
| Switch mounting | 6 | no.
| Lamp Holder complete wit bulb | 1 | no.
| Single outlet 15amp | 1 | no.
| Power point mounting | 7 | no.
| Complete Fitting Fluorescent led 4' | 5 | no.