EQUEST FOR PROPOSAL
SPECIFICATION OF WORKS

Procurement No:	27-W006-24

## Specification

### Background

This tender is for the supply and installation of 200 reinforced concrete drainage lids to replace damaged lids within South Tarawa and Betio drainage system. The lids must be durable, corrosion-resistant, and suitable for vehicular and pedestrian traffic in coastal conditions.

The Ministry of Infrastructure and Sustainable Energy (MISE) manages drainage networks in South Tarawa and Betio. Many existing lids are damaged or missing, affecting the efficiency of drainage and public safety. This project aims to replace and upgrade these drainage lids to ensure long-term functionality and safety.

### Requirements

All supporting documentation must be in English. Please refer to template 2 and 5 for further information of the requirements and evaluation criteria.

- Recently certified business license from MTCIC

- Recently certified operational License from island council

- Signed compliance form

- Tax clearance letter

- At least 2 references

- Quotation

- Delivery Schedule – to be able to complete before end of December 2025

- Proposed Fabrication and Installation Methodology

- Environmental and social safeguard

- Quality of proposed materials

- Risk management plan

- Provision of maintenance and defect liability support

### Related services

- Delivery of drainage lids to the specified locations.

- Assistance with installation or fitting to ensure lids are properly secured.

- Post-delivery inspection and quality assurance.

### Project Time & Final Delivery

- The supply and installation are to be completed by end of December 2025 contract period.

- Delivery timelines for each location will be coordinated with MISE.

- Schedule should outline mobilization, site preparation, lid fabrication, delivery, installation and site reinstatement

## Description of the Works

Here, list all items to be Tendered

(This part may be replaced by a Procuring Entity or proprietary Contractor description)

| Service | Sizes (Length x Width) | Concrete slab thickness | Quantity | Description |
| --- | --- | --- | --- | --- |
| 1.Supply of Concrete Drainage Lids | 495mm x 480mm | 120mm | 70 | - Lids must be reinforced concrete or equivalent durable material - All lids must be non-slip, corrosion-resistant, and suitable for coastal conditions - Sizes should be: - 495mm X 480mm - 395mm X 380mm - Installation to align with existing drainage structures - Fabrication and Installation Methodology for lids should be well detailed - Environmental and Social Safeguard during work period - Maintenance and Defect Liability support following completion - Refer to the attached design |
|  | 395mm x 380mm | 120mm | 130 |  |

## Tenderer’s References

### Relevant similar deliveries carried out in the last five years

Please, provide information on each delivery for which your firm/entity, either individually as a corporate entity or as one of the major companies within an association, was legally contracted.

| Works delivered | Reference | Contact details | Value |
| --- | --- | --- | --- |