REQUEST FOR PROPOSAL
SPECIFICATION OF WORKS

Procurement No:	27-W005-25

## Specification

### Background

Teamwake and Naverevere currently experience poor drainage due to existing outlets drains not reaching the ocean, resulting in flooding and stagnant water during heavy rainfall. The proposed works aim to extend and improve the drainage system to ensure proper discharge into the ocean, enhancing resilience against flooding and improving public health and environmental conditions.

The drainage extension at Naverevere is approximately 120.8 meters, while the extension at Te AMAK is approximately 144.7 meters. These works will connect the existing outlets to the ocean discharge points.

### Requirements

All supporting documentation must be in English. (Please refer to template 2 and 5 for further details)

- Recently certified and Valid Business License from MTCIC

- Valid Operational License from Island Council

- Evidence of being free from taxes and social benefit obligations.

- A least 2 references for similar works

- Signed compliance form

- Detailed methodology for installation of new extension drainage system.

- labour, materials, equipment necessary for the construction of the drainage works.

- All works must comply with Civil Engineering Standard and Building Code

- safe working methods and traffic management around construction areas.

- As-build drawings and maintenance guidelines to be provided upon completion.

- Delivery Schedule outlining mobilization, site preparation, drainage installation, etc are well detailed and comprehensive.

- Weekly progress reports and commitment to MISE site inspections.

- Maintenance and Defect Liability Support

- Quotation and breakdown of costing

### Related services

- Site Clearance and Preparation

- Contractor must work closely with the Ministry of Infrastructure and Sustainable Energy (MISE) to ensure that all works meet MISE technical standards and requirements.

- Environmental protection measures during construction

- Quality assurance plan e.g testing and commissioning of drainage outlets, etc

- Training of local staff in basic maintenance (if applicable)

### Project Time & Final Delivery

The project must be completed within 5 Months from the date of contract signing

## Description of the Works

Here, list all items to be Tendered

(This part may be replaced by a Procuring Entity or proprietary Contractor description)

| Location | Description | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- |
| Teamwake | - Construction of drainage extension to connect existing outlet to the ocean discharge point - Installation of new drainage system (Connection) - Approximate length: 144.7 meters - Weekly progress report to be submitted - Weekly MISE inspection to be carried out - Refer to Annexes A and B for design and map | To be Tendered | To be Tendered |
| Nawerewere | - Construction of drainage extension to connect existing outlet to the ocean discharge point - Installation of new drainage system (Connection) - Approximate length: 120.8 meters - Weekly progress report to be submitted - Weekly MISE inspection to be carried out - Refer to Annexes A and B for design and map | To be Tendered | To be Tendered |

## Tenderer’s References

### Relevant similar deliveries carried out in the last five years

Please, provide information on each delivery for which your firm/entity, either individually as a corporate entity or as one of the major companies within an association, was legally contracted.

| Works delivered | Reference | Contact details | Value |
| --- | --- | --- | --- |