Question 1: Electricals works missing in the RFP

Answers- Tenderers are required to provide quotes for the electrical layout based on the “ELECTRICAL PLANS” provided

Question 2: Wind load of the building.

Answer- This is the bidder's responsibility to assess the concept design, do calculations based on the Building Code and relevant standards. This is the bidder's engineers’ job to do the calculations and site condition assessments. However, Extract of the building code B1 for structural provisions is attached herewith for the bidder's reference to use where they see suit. Anything beyond these provisions will be justified by the bidder's qualified engineers structural calculations and assessments. Please also refer to the attached “Structural provision incl wind load” for further information

Question 3: Do you need the thermal insulation for the roofing, pls? Considering the office or living use, it might not be suitable to only use the metal sheet for the roofing cladding.

Answer- Yes, including roof insulation with all the necessary accessories.

Question 4: As for the wall cladding, it is suggested to use that 75mm EPS sandwich panel for the exterior & interior wall, which we also provide for other Kiribati projects. Because that PIR sandwich panel is too expensive although it is excellent on the thermal insulation.

Answer- It is up to the contractor to bid for any alternative material; the specification only provides the minimum requirements. In any case alternative materials specified, the bidder will provide proof that the proposed material is superior to the minimum requirement.

Question 5: Do we need to provide those electrical & lighting system, water & plumbing system for you?

Answer- Yes and especially for electrical appliances, they should be compatible with the Public Utilities Board (PUB's) electricity power supplied to the site. All electrical power requirements are the bidder's responsibility to inquire from the PUB.

Question 6: Do you have that specification list of those door & windows?

Answer- The door and window schedule with additional notes are attached herewith. Refer to the “addendum no.2” for further information

Question 7: Confirmation if there is an itemized list of available for this project?

Answer- Please note that the tender document already includes the full itemized list of materials and quantities under the section “Description of the Goods” (of the document titled Specification of Specified Goods Procurement No. 45-G001-25). This section details all components such as the main and secondary steel structures, roof and wall systems, fittings, and services together with corresponding specifications, units, and quantities. Tenderers are expected to prepare their quotations based on these listed items and specifications, and may provide additional supporting breakdowns where applicable to clarify pricing or alternative proposals