REQUEST FOR PROPOSAL
SPECIFICATION OF WORKS

Procurement No: 38-w001-26

## Specification

### Background

The tie house operations were previously relocated to a new tie house in Bikenibeu. However, the current condition of this new facility is extremely poor and presents serious safety concerns. The roof is heavily rusted and contains multiple holes, exposing the interior to weather damage. Additionally, the windows are worn out and no longer functional, and the floor is significantly damaged. Due to these conditions, the tie house is unsafe and unsuitable for continued use. Therefore, urgent maintenance and huge renovation are required to ensure the safety and proper functionality of the facility.

### Requirements

All supporting documentation must be in English.

- Cover letter

- Business registration from MTCIC

- Valid Operational license from Council

- Signed Certification of Compliance form (template attached in the tender documents)

- Updated Tax Clearance from Tax Office

- Technical components (please refer to template 5: Evaluation criteria)

- Financial components including Complete Quotation and annual financial statements/report

### Related services

- Plumbing.

- Electrical services.

### Project Time & Final Delivery

Construction needs to be start right after signing a contract and to be done to the right standard.

## Description of the Works

Here, list all items to be Tendered

(This part may be replaced by a Procuring Entity or proprietary Contractor description)

| Pos. | Description | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- |
| 1 | Roofing Works: Removal of existing worn-out roofing sheets and replacement with new roofing sheets. Works shall include careful dismantling, inspection of roof structure, proper installation, secure fastening, and watertight sealing in accordance with standard construction practices |  |  |
| 2 | Corridor: Supply and installation of new ceramic floor tiles. Removal and replacement of window panels. Preparation and repainting of wall surfaces. Completion and finishing works to one (1) existing clothing closet. |  |  |
| 3 | Small room: need new ceramic tiles (flooring work), ceiling need replacement, replacement of closet and 1 door need replacement. 1 ceiling fan to be installed. |  |  |
| 4 | Main room: Installation of new ceramic floor tiles. Removal and replacement of all window units. Replacement of one (1) ceiling fan. Repair and refurbishment of one (1) existing closet. |  |  |
| 5 | Toilet: Removal and replacement of one (1) door including frame. Installation of new ceramic floor tiles. Removal and replacement of toilet bowl including connection to a new septic tank system. Replacement of window unit. Supply and installation of new shower set. Supply and installation of new wash hand basin (toilet sink) including necessary plumbing connections. |  |  |
| 6 | Kitchen: Ceiling repair works including patching and finishing. Installation of new ceramic floor tiles. Supply and installation of new kitchen cabinetry/furniture. Replacement of all window units. Supply and installation of new kitchen sink with plumbing connections. Replacement of one (1) external access door including frame and fittings. Small Room (Kitchen Area): Installation of new ceramic floor tiles. |  |  |
| 7 | Laundry room: Removal and replacement of existing fence. Supply and installation of new laundry sink including plumbing works. |  |  |
| 8 | Veranda: Ceiling need to be repaired. |  |  |
| 9 | Roofing Work: Removal of existing worn-out roofing sheets and replacement with new ones. |  |  |
| 10 | Living room: Removal of existing floor finishes and installation of new ceramic floor tiles. Removal and replacement of all existing window panels. Repair and patching damaged ceiling areas to achieve a smooth and uniform finish. Repair and adjustment of two (2) existing doors to ensure proper functionality. |  |  |
| 11 | Fencing: New Perimeter Fencing Works. - Construction of new perimeter fence around the property (no existing fence currently in place). - Setting out and excavation for fence post foundations. - Casting of concrete footings and installation of fence posts. - Supply and installation of approved fencing material (e.g., steel panels, mesh wire, or block wall as specified). - Installation of main access gate including hinges, locking system, and necessary fittings. - Application of protective finishes (anti-rust treatment and paint where applicable). - Ensure proper alignment, structural stability, and neat finishing. |  |  |
| 12 | Painting, Exterior and interior whole house. |  |  |
| 13 | Plumbing Works (Whole House) - Inspection and assessment of the existing plumbing system. - Repair or replacement of damaged or leaking water supply lines and fittings. - Installation of new water supply connections to all sanitary fixtures (toilet, wash basin, shower, kitchen sink, laundry sink). - Testing and commissioning of the plumbing system to ensure proper water pressure and continuous water flow throughout the house. - Verification of proper drainage connections to the septic tank system. - Rectification of any identified blockages or leakages to ensure full operational functionality of the water system. |  |  |
| 14 | Scope of Work: Deep Cleaning of Surrounding Areas - Cut and clear overgrown vegetation, shrubs, bushes, and small trees. - Uproot large vegetation including roots to prevent regrowth. - Remove fallen branches, leaves, litter, and other debris. - Clear stones, construction waste, and unwanted materials. - Dispose of all collected waste properly. - Leave the area clean, leveled, and free of loose materials. |  |  |
| 15 | Scope of Work: Water Tank Replacement and Installation - Dismantle the existing water tank and tank stand. - Remove and dispose of dismantled materials properly. - Construct a new water tank base/stand at the designated new location. - Supply and install two (2) new 5,000-liter water tanks. - Connect new tanks to the existing water supply and distribution lines. - Test the installation to ensure proper operation and no leakage. |  |  |

## Tenderer’s References

### Relevant similar deliveries carried out in the last five years

Please, provide information on each delivery for which your firm/entity, either individually as a corporate entity or as one of the major companies within an association, was legally contracted.

| Works delivered | Reference | Contact details | Value |
| --- | --- | --- | --- |