REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No: 54-G001-26

Specification

Background

Bonriki International Airport is the main international airport serving the Republic of Kiribati. The Airport Kiribati Authority is responsible for maintaining safe and reliable airfield infrastructure to support aircraft operations.

As part of the airport safety and infrastructure improvement program, the Airport Kiribati Authority intends to procure and install a modern Airfield Runway Lighting System to enhance visibility during night operations and low-visibility conditions. The project aims to improve operational safety and ensure compliance with international aviation standards.

Requirements

All equipment supplied under this procurement must meet internationally recognized aviation standards and must be suitable for operation in a tropical coastal environment.

General requirements include:

• All supporting documentation must be provided in English.
• All equipment must be new, unused, and of the latest available model.
• Equipment must comply with international aviation standards including ICAO Annex 14 – Aerodromes.
• Equipment must be suitable for tropical environmental conditions including high humidity, heavy rainfall, and salt air exposure.
• The supplier must provide product data-sheets and technical specifications for all equipment.
• The supplier must provide operation and maintenance manuals.
• Spare parts availability must be guaranteed for a minimum period of five years.

Installation services

The supplier shall provide full installation and commissioning services for the runway lighting system.

Installation services shall include:

• Site inspection and preparation if required
• Installation of runway lighting fixtures and related electrical components
• Installation of mounting bases and wiring systems
• Integration with the existing airfield lighting control system (if applicable)
• System testing and commissioning
• Operational testing to ensure compliance with aviation lighting requirements
• Provision of installation documentation and test reports

The supplier shall also provide training to airport maintenance personnel on operation and maintenance of the runway lighting system.

Delivery Time

The supplier must deliver and install the equipment within the period agreed in the contract. The preferred delivery and installation period is within 8 to 12 weeks after contract signing unless otherwise agreed.

Description of the Goods

Here, list all items to be Tendered

(This part may be replaced by a proprietary Supplier description)

Description of the Goods

The goods to be supplied under this procurement may include, but are not limited to, the following items:

| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- | --- |
| 1 | LED Runway Edge Lights | 64 |  |  |
| 2 | Runway Threshold Lights | 20 |  |  |
| 3 | Runway End Lights | 16 |  |  |
| 4 | Taxiway Edge Lights (if applicable) | 32 |  |  |
|  | Taxiway Lights | 4 |  |  |
| 5 | Isolation Transformers | 1 system set |  |  |
| 6 | Base Plates and Mounting Accessories | Full set |  |  |
| 7 | Electrical Cables and Connectors | Full set |  |  |
| 8 | Control and Monitoring Components | Full set |  |  |
| 9 | Spare Parts Package | Full set |  |  |
| 10 | Installation Tools and Accessories | Full set |  |  |

All equipment must comply with applicable international aviation standards and must be designed for continuous operation in airport environments.

Suppliers may provide detailed proprietary product descriptions and technical documentation for the proposed equipment.