# REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No: 15-G004-25

## Specification

### Background

The project was proposed by Beru Island Council to accommodate the need of the People on Beru Island to build a Police Office and Cell to give a better and safer place for the island people. The project is new and will commence once every part of the process is completed.

### Requirements

All supporting documentation must be in English. Kindly note that the list of requirements can be found in the Instructions on How to Submit Tender template, page 5. For the evaluation criteria, please refer to template 5 for full information

### Delivery Time

Suppliers are required to provide a comprehensive delivery time frame to the final destination (Beru).

## Description of the Goods

Here, list all items to be Tendered

(This part may be replaced by a proprietary Supplier description)

| Pos. | Description | Unit | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- | --- | --- |
|  | Concrete Works |  |  |  |  |
| 1 | 40 kg cement for slab, lintel, beam, block grout and sceeding | bags | 144 |  |  |
| 2 | Polythene | roll | 2 |  |  |
|  | Formwork |  |  |  |  |
| 3 | Formply 1 inch | sht | 16 |  |  |
| 4 | Timber pine 50x50mm | leng | 13 |  |  |
|  | Reinforcement |  |  |  |  |
| 5 | Arc Fabric mesh wire 5.5mx2.13m (59m2) | sht | 6 |  |  |
| 6 | Rod 16mm dia. Reinforcing bar in 6m length(6m) | leng. | 1 |  |  |
| 7 | Rod 10mm dia. Reinforcing bar in 6m length(434m) | leng. | 80 |  |  |
| 8 | Rod 12mm dia. Reinforcing bar in 6m length (167m) | leng. | 31 |  |  |
| 9 | Rod 6mm dia. Reinforcing bar in 6m length(284m) | leng. | 52 |  |  |
|  | Metal Work |  |  |  |  |
| 10 | 100x100mm square tube metal for door and window jamb and header | leng | 8 |  |  |
| 11 | Welding rod 2.5mm | leng | 2 |  |  |
|  | Timber Works |  |  |  |  |
| 12 | 200x25mm fascia board | leng | 9 |  |  |
| 13 | 100x50mm timber pine | leng | 65 |  |  |
| 14 | 50x25mm timber pine moulded skirting (rip 150x25 - 50x25) | leng | 3 |  |  |
| 15 | 50x25mm bird batten (rip 150x25 - 50x25) | leng | 42 |  |  |
| 16 | 20x20mm timber pine (rip 150x25 - 50x25) | leng | 5 |  |  |
| 17 | Timber louver to gable 6x2 | leng. | 3 |  |  |
| 18 | 200x50mm timber pine for top plate | leng. | 7 |  |  |
| 19 | 50x50mm timber pine for ceiling noggings | leng. | 45 |  |  |
|  | Dressed Timber |  |  |  |  |
| 20 | 200x50mm dressed dakua for header, mullion and sill | leng | 7 |  |  |
| 21 | 100x50mm dressed dakua for door and window head and jamb | leng | 9 |  |  |
|  | Tiles |  |  |  |  |
|  | Floor |  |  |  |  |
| 22 | 300x300mm ceramiic floor tile | box | 25 |  |  |
| 23 | Vinyle tile 300x300mm (4.5m2/box) | box | 6 |  |  |
| 24 | Adhesive for vinyle tile 4 liters | tin | 4 |  |  |
| 25 | Ceremic wall tile 150x50 (2m2/box | box | 7 |  |  |
| 26 | Adhesive for ceremic tile 20 kilos | bag | 6 |  |  |
| 27 | Grout 20kg | bag | 1 |  |  |
| 28 | Allow for tile spacer | pkt | 3 |  |  |
|  | Ceiling |  |  |  |  |
| 29 | Plywood lining on ceiling noggings (4.5mm thick) | shts | 18 |  |  |
| 30 | Plywood lining for soffit cladding (4.5mm thick) | shts | 3 |  |  |
| 31 | 12mm plywood for gusset | shts | 5 |  |  |
| 32 | Fabric Mesh wire ceiling to cells | shts | 2 |  |  |
|  | Roof Plumbing |  |  |  |  |
| 33 | Corrugated zincalum roof decking |  |  |  |  |
| 34 | 8ft zincalum roofing | sht | 76 |  |  |
| 35 | Alum. Foil sisalation @ 1.2x60m in length | roll | 2 |  |  |
| 36 | Alum ridge capping @ 2.4m/pcs | pcs | 5 |  |  |
| 37 | Alum barge flashing @ 2.4m/pcs | pcs | 8 |  |  |
| 38 | Alum fascia gutter @ 2.4m/pcs | pcs | 21 |  |  |
| 39 | Stop ends joint to gutter | no. | 4 |  |  |
| 40 | 100mm dia vent cowl | no | 1 |  |  |
| 41 | 100mm diameter pvc downpipe and vent | leng | 3 |  |  |
| 42 | 100mm diameter bend | no. | 4 |  |  |
| 43 | Gutter outlet 100mm dia | no | 2 |  |  |
| 44 | Rivert gun | no | 1 |  |  |
| 45 | Blind rivert 4.6mm @ 100no/pkt | pkt | 1 |  |  |
| 46 | Silicone | tube | 1 |  |  |
| 47 | Silicone gun | no | 1 |  |  |
|  | Doors and Windows |  |  |  |  |
| 48 | Internal panel door 40x800x2100mm | no. | 2 |  |  |
| 49 | External panel door 40x850x2100mm hung in pairs | no. | 1 |  |  |
| 50 | External panel door 40x350x2100mm hung in pairs | no. | 1 |  |  |
| 51 | 10 blade louvre frames black | prs | 10 |  |  |
| 52 | 914x150mm clear glass blade | no. | 100 |  |  |
| 53 | 100mm butt brass hinges | prs | 8 |  |  |
| 54 | Rebated mortice lock with handles | set | 3 |  |  |
| 55 | mortice lock with handles | set | 1 |  |  |
| 56 | 150mm barrel bolt complete with screw | no. | 2 |  |  |
|  | Plumbing |  |  |  |  |
| 57 | Pvc pipe 15mm distribution line (overhead) | leng. | 3 |  |  |
| 58 | Elbow pvc 15mm | no | 4 |  |  |
| 59 | 15mm dia, pvc tee | no | 2 |  |  |
| 60 | Male adaptor 15mm | no | 5 |  |  |
| 61 | female adaptor 15mm | no | 2 |  |  |
| 62 | gate valve brass 1/2" | no | 2 |  |  |
| 63 | Pilla tap 15mm | no | 1 |  |  |
| 64 | Reducing bush 25mm x 15mm | no | 1 |  |  |
| 65 | 25mm elbow | no | 4 |  |  |
| 66 | 25mm pvc pipe | leng | 3 |  |  |
|  | WC & Cell |  |  |  |  |
| 67 | Elbow 100mm dia, pvc 90 degrees | no | 3 |  |  |
| 68 | Tee connector 100mm dia. Pvc | no | 1 |  |  |
| 69 | Male adaptor 25mm | no | 7 |  |  |
| 70 | Reducing bush 100mm x 32mm 90 degrees | no | 1 |  |  |
| 71 | 32mm dia. Elbow 90degree | no | 1 |  |  |
| 72 | Gully trap 32mm dia, | No | 2 |  |  |
| 73 | 32mm dia. Elbow 45degree | no | 1 |  |  |
| 74 | Tee connector 32mm dia. Pvc | no | 1 |  |  |
| 75 | Pvc pipe 100mm dia. | leng. | 2 |  |  |
| 76 | Pan white "P" trap with cisten | pcs | 1 |  |  |
| 77 | pan seat | no | 1 |  |  |
| 78 | Vent cap 100mm pvc | no | 1 |  |  |
| 79 | Wash hand basin c/w bracket, and plug and waste | no | 1 |  |  |
| 80 | S-trap 32mm diameter | no | 1 |  |  |
| 81 | 32mm dia. Elbow 90degree | no | 1 |  |  |
| 82 | Pvc pipe 32mm | length | 2 |  |  |
|  | Transimittion line |  |  |  |  |
| 83 | Elbow pvc 25mm 90 deg | no | 4 |  |  |
| 84 | union socket 25mm | no | 1 |  |  |
| 85 | Male adaptor 25mm | no | 1 |  |  |
| 86 | female adaptor 25mm | no | 1 |  |  |
| 87 | 25mm pvc pipe | leng | 3 |  |  |
|  | Suction inlet pump |  |  |  |  |
| 88 | Elbow pvc 25mm 90 deg | no | 4 |  |  |
| 89 | union socket 25mm | no | 2 |  |  |
| 90 | Tee connector 25mm dia. Pvc | no | 1 |  |  |
| 91 | Male adaptor 25mm | no | 3 |  |  |
| 92 | foot valve 25mm | no | 1 |  |  |
| 93 | 25mm pvc pipe | leng | 3 |  |  |
| 94 | Thread tape | no | 2 |  |  |
| 95 | Solvent cement 500g | no | 2 |  |  |
| 96 | Clip pvc 15mm | no | 5 |  |  |
| 97 | PVC clips 25mm | no | 5 |  |  |
| 98 | clip pvc 100mm | no | 4 |  |  |
|  | Electricals |  |  |  |  |
| 99 | 4'0" LED light fittings complete | no. | 4 |  |  |
| 100 | Pendant light complete with holder | no. | 3 |  |  |
| 101 | Light switch one way | no. | 6 |  |  |
| 102 | 1.5mm cable | m | 70 |  |  |
| 103 | 2.5mm cable | m | 10 |  |  |
| 104 | Mounting block | no. | 7 |  |  |
| 105 | Junction box | no. | 8 |  |  |
| 106 | Earthing cable 6mm | m | 12 |  |  |
| 107 | Earthing rod 3/4" galvanised pipe | no. | 1 |  |  |
| 108 | Insulating tape | no. | 6 |  |  |
| 109 | Double power point | no. | 1 |  |  |
| 110 | 15mm dia pvc pipe for conduiting | leng | 3 |  |  |
| 111 | 15mm pvc clip | no. | 24 |  |  |
| 112 | Ceiling fan complete with fan switch | no. | 2 |  |  |
| 113 | Allow for clips, junctions and screws | item | 1 |  |  |
| 114 | Switch board with neutral bar | no. | 1 |  |  |
| 115 | Circuit breaker 20A | no. | 1 |  |  |
| 116 | Circuit breaker 16A | no. | 1 |  |  |
| 117 | Circuit breaker 10A | no. | 1 |  |  |
| 118 | Circuit breaker 8A | no. | 1 |  |  |
| 119 | Wall plug | m | 2 |  |  |
|  | Painting |  |  |  |  |
| 120 | Pink primer 4 ltrs | tins | 7 |  |  |
| 121 | Undercoat 4 litres | tins | 12 |  |  |
| 122 | H/gloss 4 ltrs | tins | 10 |  |  |
| 123 | Acrylic 4 ltrs | tins | 12 |  |  |
| 124 | Tray complete with roller and sleeve | no | 3 |  |  |
| 125 | 4" paint brush | no | 4 |  |  |
| 126 | 3" paint brush | no | 4 |  |  |
| 127 | 2" paint brush | no | 5 |  |  |
| 128 | 1" paint brush | no | 6 |  |  |
|  | Nails , Screws & Bolts |  |  |  |  |
| 129 | 4" galvanised nail | kg | 25 |  |  |
| 130 | 3" galvanised nail | kg | 25 |  |  |
| 131 | 2 1/2" galvanised nail | kg | 15 |  |  |
| 132 | 2" galvanised nail flat head | kg | 15 |  |  |
| 133 | 2 1/2" twisted roof nail | kg | 20 |  |  |
| 134 | 12mm dia. Bolts & nuts | no. | 50 |  |  |
|  | Exterior Element |  |  |  |  |
|  | Water Services |  |  |  |  |
| 135 | Water tank 5000 liters | no. | 1 |  |  |
| 136 | Polythene tank 1200 liters | no. | 1 |  |  |
|  | Rainwater Tanks / Header Tank |  |  |  |  |
|  | Rainwater Concrete Base: |  |  |  |  |
| 137 | Cement 40kg | bags | 17 |  |  |
| 138 | F62 fabric mesh wire 6mx2.4m/sheet | sht | 1 |  |  |
| 139 | Rod 12mm diameter 6m | leng | 3 |  |  |
| 140 | Rod 6mm diameter 6m | leng | 2 |  |  |
| 141 | 200x25mm timber formwork | leng | 2 |  |  |
| 142 | 100x50mm formwork frames | leng | 2 |  |  |
|  | Overhead Tank Stand: |  |  |  |  |
| 143 | Cement 40kg | bags | 28 |  |  |
| 144 | F62 fabric mesh wire 6mx2.4m/sheet | sht | 1 |  |  |
| 145 | Rod 12mm diameter 6m | leng | 6 |  |  |
| 146 | 200x25mm timber formwork | leng | 2 |  |  |
| 147 | Formwork plasply boarding | sht | 12 |  |  |
| 148 | 100x50mm formwork frames | leng | 4 |  |  |
| 149 | Davey water pump | no | 1 |  |  |
|  | Septic Tank and Soakaway Pit |  |  |  |  |
|  | Septic Tanks: |  |  |  |  |
| 150 | Cement 40kg | bags | 40 |  |  |
| 151 | F62 fabric mesh wire 6mx2.4m/sheet | sht | 3 |  |  |
| 152 | Rod 16mm diameter 6m | leng | 11 |  |  |
| 153 | Rod 12mm diameter 6m | leng | 10 |  |  |
| 154 | Rod 6mm diameter 6m | leng | 2 |  |  |
| 155 | 200x25mm timber formwork | leng | 2 |  |  |
| 156 | Formwork plasply boarding | sht | 8 |  |  |
| 157 | 100x50mm formwork frames | leng | 4 |  |  |
|  | Soakaway Pit |  |  |  |  |
| 158 | Cement 40kg | bags | 16 |  |  |
| 159 | F62 fabric mesh wire 6mx2.4m/sheet | sht | 1 |  |  |
|  | Drainage |  |  |  |  |
| 160 | 40mm dia pvc pipe 6m in length for drainage | length | 5 |  |  |
| 161 | 40mm diameter pvc pipe bend | no | 5 |  |  |
| 162 | 40mm diameter pvc tee | no | 2 |  |  |
| 163 | 100mm dia pvc pipe 6m in length for drainage | length | 3 |  |  |
| 164 | 100mm dia pvc bend | no. | 2 |  |  |
| 165 | 100mm dia pvc tee with inpection cap | no. | 1 |  |  |
| 166 | 100mm dia pvc tee | no. | 4 |  |  |
|  | Furnitures |  |  |  |  |
| 167 | Counter with Seat | item | 1 |  |  |