BREAKDOWN OF MATERIALS - KPA DOUBLE STOREY OFFICE

| 1.0 |  | PRELIMINARIES |  |  |  |  | Total = |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1.1 | Hiring Plant for aggregate | 1 | item |  |  |  |  |
|  | 1.2 | Allow for setting out materials | 1 | item |  |  |  |  |
| 2.0 CONCRETE WORK |  |  |  |  |  |  | Total = |  |
|  | 2.1 | Portland cement 40kg | 232 | bag |  |  |  |  |
|  | 2.2 | Formply 2.4mx1.2mx12mm | 55 | sheet |  |  |  |  |
| 3.0 CONCRETE BLOCK |  |  |  |  |  |  | Total = |  |
|  | 3.1 | External block 200mmx200mmx400mm | 1,260 | no |  |  |  |  |
|  | 3.2 | Internal block 200mmx150mmx400 | 1,200 | no |  |  |  |  |
|  | 3.3 | Portland cement 40kg for grouting/mortaring | 75 | bag |  |  |  |  |
| 4.0 REINFORCING STEEL |  |  |  |  |  |  | Total = |  |
|  | 4.1 | Deformed rod 20mm dia x 6m | 83 | lens |  |  |  |  |
|  | 4.2 | Deformed rod 12mm dia x 6m | 190 | lens |  |  |  |  |
|  | 4.3 | Rod plain 6mm dia x 6m - stirrup | 59 | lens |  |  |  |  |
|  | 4.4 | Mesh wire 150mm 6mx2.4m | 10 | sheet |  |  |  |  |
|  | 4.5 | 150 microns polythene 30mx1.8m | 90 | m |  |  |  |  |
|  | 4.6 | Tie wire 50m/1kg | 6 | kg |  |  |  |  |
| 5.0 CARPENTRY |  |  |  |  |  |  | Total = |  |
|  | 5.1 | Radiata pine 6mx100mmx100mm treated | 12 | lens |  |  |  |  |
|  | 5.2 | Radiata pine 6mx300mmx100mm treated | 3 | lens |  |  |  |  |
|  | 5.3 | Radiata pine 6mx150mmx50mm treated | 43 | lens |  |  |  |  |
|  | 5.4 | Radiate pine 6mx100mmx50mm treated | 408 | lens |  |  |  |  |
|  | 5.5 | Radiata pine 6mx75mmx50mm treated | 39 | lens |  |  |  |  |
|  | 5.6 | Radiata pine 6mx50mmx50mm treated | 122 | lens |  |  |  |  |
|  | 5.7 | Radiata pine 6mx150mmx50mm treated batt | 66 | lens |  |  |  |  |
|  | 5.8 | Wood glue 750ml | 6 | no |  |  |  |  |
|  | 5.9 | Marine plywood 3/4" 2.4mx1.2 - fooring, Str, | 60 | sheet |  |  |  |  |
|  | 5.10 | Marine plywood 1/2" 2.4mx1.2 - gusset | 10 | sheet |  |  |  |  |
|  | 5.11 | Marine plywood 1/4" 2.4mx1.2m - exterior lini | 45 | sheet |  |  |  |  |
|  | 5.12 | Hardboard 1/4" 2.44mx1.22m - Interior lining | 130 | sheet |  |  |  |  |
|  | 5.13 | Perspex 2.4mx1.2mx5mm | 3 | sheet |  |  |  |  |
|  | 5.14 | Bolt & nut galv ms hex 8"x3/4" | 110 | no |  |  |  |  |
|  | 5.15 | Security mesh - window cover | 11 | sheet |  |  |  |  |
| 6.0 ROOFING SHEETING |  |  |  |  |  |  | Total = |  |
|  | 6.1 | Silicone sealant 310 ml | 1 | no |  |  |  |  |
|  | 6.2 | 24 gauge standard guttering 2.4m | 17 | sheet |  |  |  |  |
|  | 6.3 | 24 gauge standard ridge cap 2.4m | 9 | sheet |  |  |  |  |

|  | 6.4 | Silicone gun |  | 1 |  | no |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 6.5 | Zincalume roofing 15' |  | 72 |  | sheet |  |  |  |  |  |  |  |  |
|  | 6.6 | Flashing edge 2.4m |  | 8 |  | no |  |  |  |  |  |  |  |  |
|  | 6.7 | Straps 30m stainless |  | 3 |  | spool |  |  |  |  |  |  |  |  |
| 7.0 JOINERY |  |  |  |  |  |  |  |  |  |  |  | Total = |  |  |
|  | 7.1 | Entrance lock c/w keys | 18 |  |  |  | no |  |  |  |  |  |  |  |
|  | 7.2 | But hinges brass 4" w/screws | 18 |  |  |  | pr |  |  |  |  |  |  |  |
|  | 7.3 | Barrel bolt 100mm | 6 |  |  |  | no |  |  |  |  |  |  |  |
|  | 7.4 | Louvre frame 8 blades | 80 |  |  |  | pr |  |  |  |  |  |  |  |
|  | 7.5 | Louvre frame 4 blades | 6 |  |  |  | pr |  |  |  |  |  |  |  |
|  | 7.6 | Clear louvre frame glass 152mmx650mm | 694 |  |  |  | no |  |  |  |  |  |  |  |
|  |  | Hollow core panel door |  |  |  |  |  |  |  |  |  |  | Total = |  |
|  | 7.7 | Radiata pine 6mx100mmx50mm | 2 |  |  |  | lens |  |  |  |  |  |  |  |
|  | 0.1 | Radiata pine 6mx150mmx50mm | 1 |  |  |  | lens |  |  |  |  |  |  |  |
|  | 0.1 | Marine plywood 12mm 2.4mx1.2m | 1 |  |  |  | sheet |  |  |  |  |  |  |  |
|  | 7.8 | Galv nail 3" (75mm) | 1 |  |  |  | kg |  |  |  |  |  |  |  |
|  | 0.2 | Galv nail 2" (50mm) | 1 |  |  |  | kg |  |  |  |  |  |  |  |
|  | 0.2 | Multiplied by number of panel door | 19 |  |  |  | no |  |  |  |  |  |  |  |
| 8.0 PAINTING |  |  |  |  |  |  |  |  |  |  |  | Total = |  |  |
|  | 8.1 | Paint pink primer 4ltr |  |  | 31 |  | tin |  |  |  |  |  |  |  |
|  | 8.2 | Marine undercoat 4ltr |  |  | 32 |  | tin |  |  |  |  |  |  |  |
|  | 8.3 | Marine enamel white 4ltr |  |  | 40 |  | tin |  |  |  |  |  |  |  |
|  | 8.4 | Roller brush + tray |  |  | 4 |  | set |  |  |  |  |  |  |  |
|  | 8.5 | Paint brush 4" |  |  | 12 |  | no |  |  |  |  |  |  |  |
| 9.0 PLUMBING 13,853.39 |  |  |  |  |  |  |  |  |  |  |  | Total = |  |  |
|  |  | Rainwater Tank Stand 2.15mx2.15m |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 9.1 | Portland cement 40kg |  |  | 22 |  | bag |  |  |  |  |  |  |  |
|  | 9.2 | Block 200mmx200mmx400mm |  |  | 130 |  | no |  |  |  |  |  |  |  |
|  | 9.3 | Deformed rod 12mm dia - footing & wall |  |  | 10 |  | lens |  |  |  |  |  |  |  |
|  | 9.4 | Rod plain 6mm dia stirrup |  |  | 4 |  | lens |  |  |  |  |  |  |  |
|  | 9.5 | Reinforced meshwire 6mx2.4m |  |  | 1 |  | sheet |  |  |  |  |  |  |  |
|  | 9.6 | 150 microns polythene 50mx1.8m |  |  | 8 |  | m |  |  |  |  |  |  |  |
|  | 9.7 | Tie wire 50m/kg |  |  | 1 |  | spool |  |  |  |  |  |  |  |
|  | 9.8 | Rainwater tank 6000ltr set with tap |  |  | 2 |  | no |  |  |  |  |  |  |  |
|  | 9.9 | W/PVC male 25mm |  |  | 7 |  | no |  |  |  |  |  |  |  |
|  | 9.10 | W/PVC pipe 25mm dia |  |  | 3 |  | lens |  |  |  |  |  |  |  |
|  | 9.11 | Gate valve 25mm |  |  | 3 |  | no |  |  |  |  |  |  |  |
|  | 9.12 | W/PVC elbow 25mm dia |  |  | 7 |  | no |  |  |  |  |  |  |  |
|  | 9.13 | W/PVC tee 25mm dia |  |  | 2 |  | no |  |  |  |  |  |  |  |
|  | 9.14 | W/PVC reducer 25mm - 20mm dia |  |  | 2 |  | no |  |  |  |  |  |  |  |
|  | 9.15 | W/PVC reducer 20mm - 15mm dia |  |  | 2 |  | no |  |  |  |  |  |  |  |
|  | 9.16 | W/PVC pipe 20mm dia |  |  | 1 |  | lens |  |  |  |  |  |  |  |

|  | 9.17 | W/PVC pipe 15mm dia | 1 | lens |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 9.18 | W/PVC female adaptor 15mm dia | 5 | no |  |  |  |  |
|  | 9.19 | Brass tap male 15mm dia | 2 | no |  |  |  |  |
|  | 9.20 | W/PVC pipe 4" dia | 6 | lens |  |  |  |  |
|  | 9.21 | W/PVC bend 4" dia | 15 | no |  |  |  |  |
|  | 9.22 | PVC clip 4" dia | 10 | no |  |  |  |  |
|  | 9.23 | Tapping screw | 20 | no |  |  |  |  |
|  | 9.24 | Wall plug - dial | 1 | m |  |  |  |  |
|  | 9.25 | Strap | 1 | spool |  |  |  |  |
|  | 9.26 | Thread tape | 1 | no |  |  |  |  |
|  | 9.27 | PVC glue 500ml | 1 | tin |  |  |  |  |
|  |  | W C Pan |  |  |  |  | Total = |  |
|  | 9.28 | WC pan P-trap | 4 | no |  |  |  |  |
|  | 9.29 | Pan collar | 4 | no |  |  |  |  |
|  | 9.30 | Cisten | 4 | no |  |  |  |  |
|  | 9.31 | Pan seat | 4 | no |  |  |  |  |
|  | 9.32 | W/PVC Square junction 100mm dia | 2 | no |  |  |  |  |
|  | 9.33 | W/PVC Y-junction 100mm dia | 8 | no |  |  |  |  |
|  | 9.34 | W/PVC Vent cowl 100mm | 2 | no |  |  |  |  |
|  | 9.35 | W/PVC bend 90deg 100mm | 8 | no |  |  |  |  |
|  | 9.36 | W/PVC bend 45deg 100mm | 8 | no |  |  |  |  |
|  | 9.37 | I-O 100mm dia | 3 | no |  |  |  |  |
|  | 9.38 | Cleaning fluid | 2 | tin |  |  |  |  |
|  | 9.39 | Gate valve 1/2" | 4 | no |  |  |  |  |
|  | 9.40 | W/PVC female adaptor 1/2" | 8 | no |  |  |  |  |
|  | 9.41 | W/PVC male adaptor 1/2" | 8 | no |  |  |  |  |
|  | 9.42 | W/PVC union 1/2" | 4 | no |  |  |  |  |
|  | 9.43 | W/PVC pipe 4" | 8 | lens |  |  |  |  |
|  | 9.44 | WlElbow 1/2" | 32 | no |  |  |  |  |
|  | 9.45 | W/Union 1/2" | 8 | no |  |  |  |  |
|  | 9.46 | Portland cement 40kg | 1 | bag |  |  |  |  |
|  | 9.47 | Thread tape | 4 | no |  |  |  |  |
|  | 9.48 | W/PVC pipe 1/2" | 4 | lens |  |  |  |  |
|  |  | Wash hand basin |  |  |  |  | Total = |  |
|  | 9.49 | Wash hand basin with basin complete | 2 | set |  |  |  |  |
|  | 9.50 | W/P trap 11/2" | 2 | no |  |  |  |  |
|  | 9.51 | Pillar tap 1/2" | 2 | no |  |  |  |  |
|  | 9.52 | W/PVC female connector 1/2" | 2 | no |  |  |  |  |
|  | 9.53 | W/PVC female elbow 1/2" | 6 | no |  |  |  |  |
|  | 9.54 | W/PVC reducer 3/4"-1/2" | 2 | no |  |  |  |  |
|  | 9.55 | W/PVC reducer 1"-3/4" | 2 | no |  |  |  |  |
|  | 9.56 | W/PVC reducer 2"-11/2" | 2 | no |  |  |  |  |
|  | 9.57 | W/PVC bend 11/2" | 4 | no |  |  |  |  |
|  | 9.58 | W/Gate valve 1/2" | 2 | no |  |  |  |  |

|  | 9.59 | W/PVC tee 1" |  | 3 | no |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 9.60 | W/PVC male adaptor 1/2" |  | 4 | no |  |  |  |  |  |  |  |  |
|  | 9.61 | Wood srew 1/2"x6g |  | 2 | tens |  |  |  |  |  |  |  |  |
|  | 9.62 | Gully trap |  | 2 | no |  |  |  |  |  |  |  |  |
|  | 9.63 | W/PVC bend 4" |  | 2 | no |  |  |  |  |  |  |  |  |
|  | 9.64 | Plug & waste 11/2" |  | 2 | no |  |  |  |  |  |  |  |  |
|  | 9.65 | W/PVC union 1/2" |  | 2 | no |  |  |  |  |  |  |  |  |
|  | 9.66 | W/PVC pipe 1/2" |  | 1 | lens |  |  |  |  |  |  |  |  |
|  | 9.67 | W/PVC pipe 3/4" |  | 2 | lens |  |  |  |  |  |  |  |  |
|  | 9.68 | W/PVC pipe 11/2" |  | 3 | lens |  |  |  |  |  |  |  |  |
|  | 9.69 | W/PVC pipe 4" |  | 1 | lens |  |  |  |  |  |  |  |  |
|  |  | Septic Tank Type 4 |  |  |  |  |  |  |  |  |  | Total = |  |
|  | 9.70 | Portland cement 40kg |  | 14 | bag |  |  |  |  |  |  |  |  |
|  | 9.71 | External concrete block 400x150x200mm |  | 220 | no |  |  |  |  |  |  |  |  |
|  | 0.01 | Deformed rod 12mm dia |  | 10 | lens |  |  |  |  |  |  |  |  |
|  | 9.71 | Rod plain 6mm dia x 6m |  | 4 | lens |  |  |  |  |  |  |  |  |
|  | 9.72 | 665 BRC Fabric mesh 6mx2.4m |  | 1 | sheet |  |  |  |  |  |  |  |  |
|  | 0.02 | 150 microns polythene 30mx1.8m |  | 10 | m |  |  |  |  |  |  |  |  |
|  | 9.72 | Tie wire |  | 1 | spool |  |  |  |  |  |  |  |  |
|  | 9.73 | Radiata pine 6mx100mmx50mm |  | 3 | lens |  |  |  |  |  |  |  |  |
|  | 9.74 | Galv nail 4" |  | 2 | kg |  |  |  |  |  |  |  |  |
| 10.0 ELECTRICAL |  |  |  |  |  |  |  |  |  |  | Total = |  |  |
|  | 10.1 | KWH Meter | 1 |  |  | no |  |  |  |  |  |  |  |
|  | 10.2 | Switchboard 1ftx1ft | 1 |  |  | no |  |  |  |  |  |  |  |
|  | 10.3 | Circuit breaker Mounting and cover double | 4 |  |  | no |  |  |  |  |  |  |  |
|  | 10.4 | CIrcuit breaker 20 amp main circuit (CCT) | 2 |  |  | no |  |  |  |  |  |  |  |
|  | 10.5 | Circuit breaker 10amp | 2 |  |  | no |  |  |  |  |  |  |  |
|  | 10.6 | Circuit breaker 6amp | 2 |  |  | no |  |  |  |  |  |  |  |
|  | 10.7 | Main cable 6mm2 | 100 |  |  | m |  |  |  |  |  |  |  |
|  | 10.8 | Switch wire 6mm2 | 50 |  |  | m |  |  |  |  |  |  |  |
|  | 10.9 | Earthing cable 4mm2 | 6 |  |  | m |  |  |  |  |  |  |  |
|  | 10.10 | Cable lclip no.1 | 2 |  |  | pkt |  |  |  |  |  |  |  |
|  | 10.11 | Cable lclip no.2 | 4 |  |  | pkt |  |  |  |  |  |  |  |
|  | 10.12 | Junction box | 10 |  |  | no |  |  |  |  |  |  |  |
|  | 10.13 | PVC pipe 20mm dia | 18 |  |  | lens |  |  |  |  |  |  |  |
|  | 10.14 | PVC pipe 20mm dia | 2 |  |  | lens |  |  |  |  |  |  |  |
|  | 10.15 | Galvanised pipe 1/2" (copper) | 1 |  |  | lens |  |  |  |  |  |  |  |
|  | 10.16 | Stainless clip 1/2" for pipe - Main earth clip | 1 |  |  | no |  |  |  |  |  |  |  |
|  | 10.17 | Cable 2.5mm2 | 90 |  |  | m |  |  |  |  |  |  |  |
|  | 10.18 | Cable 1.5mm2 | 120 |  |  | m |  |  |  |  |  |  |  |
|  | 10.19 | Single switch | 10 |  |  | no |  |  |  |  |  |  |  |
|  | 10.20 | Switch mounting | 10 |  |  | no |  |  |  |  |  |  |  |
|  | 10.21 | Power point mounting | 11 |  |  | no |  |  |  |  |  |  |  |
|  | 10.22 | Double Power point 10amp | 11 |  |  | no |  |  |  |  |  |  |  |

|  | 10.23 | Tapping screw |  | 130 |  | no |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 10.24 | Wall plug (dial) |  | 6 |  | m |  |  |  |  |  |  |  |  |  |
|  | 10.25 | Bulb holder |  | 5 |  | no |  |  |  |  |  |  |  |  |  |
|  | 10.26 | Bulb light |  | 5 |  | no |  |  |  |  |  |  |  |  |  |
|  | 10.27 | Complete fitting flourescent light 2' |  | 2 |  | no |  |  |  |  |  |  |  |  |  |
|  | 10.28 | Complete fitting flourescent light 4' |  | 10 |  | no |  |  |  |  |  |  |  |  |  |
| 11.0 NAILS |  |  |  |  |  |  |  |  |  |  |  |  | Total = |  |  |
|  | 11.1 | Galv nail jolt head 4" |  |  | 75 |  | kg |  |  |  |  |  |  |  |  |
|  | 11.2 | Galv nail jolt head 3" |  |  | 75 |  | kg |  |  |  |  |  |  |  |  |
|  | 11.3 | Galv nail jolt head 2" |  |  | 30 |  | kg |  |  |  |  |  |  |  |  |
|  | 11.4 | Galv nail flat head 1" |  |  | 25 |  | kg |  |  |  |  |  |  |  |  |
|  | 11.5 | Galv u-nail 1" |  |  | 6 |  | kg |  |  |  |  |  |  |  |  |
|  | 11.6 | Perspex nail |  |  | 2 |  | kg |  |  |  |  |  |  |  |  |
|  | 11.7 | Roofing nail |  |  | 25 |  | kg |  |  |  |  |  |  |  |  |
| 12.0 TILE |  |  |  |  |  |  |  |  |  |  |  |  | Total = |  |  |
|  | 12.1 | Vinyl tile 300mmx300mmx2mm | 53 |  |  |  | box |  |  |  |  |  |  |  |  |
|  | 12.2 | Adhesive for vinyl tile 4ltr | 19 |  |  |  | tin |  |  |  |  |  |  |  |  |
|  | 12.3 | Ceremic tile for floor 300mmx300mm | 130 |  |  |  | pcs |  |  |  |  |  |  |  |  |
|  | 12.4 | Ceremic tile for wall 150mmx150mmx6mm | 1,900 |  |  |  | pcs |  |  |  |  |  |  |  |  |
|  | 12.5 | Adhesive cement 40kg | 26 |  |  |  | bag |  |  |  |  |  |  |  |  |