REQUEST FOR PROPOSAL
SPECIFICATION OF WORKS

Procurement No:	23-W004-26

## Specification

### Background

The main objective of building the fence at Tebwanimaneka School is to provide a safe, secure, and suitable environment for students, teachers, and school staff. The fence will help control access to the school grounds, protect school property, prevent animals and unauthorized persons from entering, and improve the overall safety of the school community.

### Requirements

- Cover Letter

- Recently certified copy of Business Registration

- Valid Operational License from Island Council BTC or TUC.

- Signed Compliance Form

- Recent Tax Clearance Letter from Tax Office indicating no tax outstanding OR instalment plans if there are tax outstanding.

- Technical Components

- Financial Components

### Related services

- Tree cutting and excavation to site

- Demolition of existing fence works.

- Supply of building materials and storage point to school

- Construction of block wall as per design stated in the Annex A – design and specifications.

### Project Time & Final Delivery

The contractor shall complete the block wall fence within the agreed construction period stated in the contract.

- Commencement of work: The contractor shall commence work upon receipt of the official instruction or notice to proceed.

- Construction period: The block wall fence should be completed within the agreed timeframe, subject to the approved work schedule.

- Work schedule: The contractor shall provide a detailed work programme showing the planned activities, estimated duration, and completion date.

- Progress monitoring: The contractor shall provide regular progress updates to the school or project representative throughout the construction period.

- Delays: Any delay caused by unforeseen circumstances shall be reported to the school immediately, with reasons and proposed solutions.

- Quality completion: All works must be completed according to the approved drawings, specifications, and required quality standards.

- Site restoration: The contractor shall remove all construction waste, surplus materials, and equipment and leave the school site clean and safe.

- Final inspection: A final inspection shall be carried out by the school/project representative before acceptance of the works.

- Defects: The contractor shall correct any defects or incomplete works identified during the final inspection.

- Final delivery and handover: The completed blockwall fence shall be formally handed over to the school after satisfactory inspection and completion of all outstanding works.

- Completion documentation: The contractor shall provide any required completion records, warranties, or maintenance information at the time of handover

## Description of the Works

Here, list all items to be Tendered

(This part may be replaced by a Procuring Entity or proprietary Contractor description)- scope of works from MOE

| Pos. | Description | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- |
| 1 | Site preparation – Clear and prepare the proposed fence line, including removal of existing fence, vegetation, trees, rubbish, and obstructions. |  |  |
| 2 | Setting out – Accurately measure and mark the fence alignment, corners, levels, foundation lines, and gate locations. |  |  |
| 3 | Excavation – Excavate trenches and footing holes to the required dimensions and depth for the fence foundations and reinforced concrete columns. |  |  |
| 4 | Foundation works – Construct reinforced concrete foundations suitable for supporting the block wall, including placement of reinforcement steel and concrete. |  |  |
| 5 | Block wall construction – Supply and lay concrete blocks using approved cement mortar, maintaining the required line, level, thickness, height, and alignment. |  |  |
| 6 | Reinforced concrete columns and beams – Provide reinforced concrete posts/columns and top beams where required to strengthen and support the block wall. |  |  |
| 7 | Drainage and ground reinstatement – Ensure appropriate drainage around the fence and reinstate disturbed ground following completion of the works. |  |  |
| 8 | Cleaning and waste removal – Remove all construction debris, surplus materials, and equipment and leave the school premises clean and safe. |  |  |
| 9 | Final inspection and handover – Inspect the completed fence with FMU representative, rectify any defects, and formally hand over the completed works. |  |  |

## Tenderer’s References

### Relevant similar deliveries carried out in the last five years

Please, provide information on each delivery for which your firm/entity, either individually as a corporate entity or as one of the major companies within an association, was legally contracted.

| Works delivered | Reference | Contact details | Value |
| --- | --- | --- | --- |